## Sheet1
8700 SCPI commands as of 21-09-2017
*CLS | Clear Status Command
*IDN? | Identification query. The responce includes the PLC version as well as the parser version.
*OPC | Operation Complete Command
*OPC? | Operation Complete Query
*RST | Reset Command
*STB? | Read Status Byte Query
*WAI | Wait-to-Continue Command
SYSTem:ERRor[:NEXT]? | Returns the top entry of the status queue for the parsing of the commands in the format "error#, error text". Errror# 0 means no error. When the command is issued the entry is removed from the queue and next entry is brought to teh top of the queue.
SYSTem:VERSion? | Returns the software release number
STATus? | Returns the Status register bits as a decimal number. What the bits represents is explained in the programmers guide.
STATus:OPERation? | Returns the Status:Operations register bits as a decimal number. What the bits represents is explained in the programmers guide.
STATus:OPERation:REG1? | Returns the Status:operations:REG1 register bits as a decimal number. These are the warning/interlock bit, but the exact mapping is explained in the programmers guide.
STATus:OPERation:REG2? | Returns the Status:operations:REG2 register bits as a decimal number. These are the warning/interlock bit, but the exact mapping is explained in the programmers guide.
STATus:OPERation:REG3? | Returns the Status:operations:REG3 register bits as a decimal number. These are the warning/interlock bit, but the exact mapping is explained in the programmers guide.
[:SOURce]:CURRent[:LEVel][:IMMediate][:AMPLitude] {<level (A)>¦MINimum¦MAXimum¦UP¦DOWN} | Sets the current
[:SOURce]:CURRent[:LEVel][:IMMediate][:AMPLitude]? [MINimum¦MAXimum] | Returns the set current
[:SOURce]:VOLTage[:LEVel][:IMMediate][:AMPLitude] {<level (V)>¦MINimum¦MAXimum¦UP¦DOWN} | Sets the voltage
[:SOURce]:VOLTage[:LEVel][:IMMediate][:AMPLitude]? [MINimum¦MAXimum] | Returns the set voltage
OUTPut:RELay[:STATe] {0¦1¦2¦STB¦ON¦OFF} | On/off/standby. 0 = STB, 1 = ON, 2 = OFF
OUTPut:RELay[:STATe]? | A combination of the two signals must be returned
MEASure[:SCALar]:VOLTage[:DC]? | Returns the read voltage
MEASure[:SCALar]:CURRent[:DC]? | Returns the read current
SYSTem:DATE? <yyyy>-<mm>-<dd>-<hh>:<mm>:<ss>.<ms> | Returns the date and time yyyy-mm-dd-hh:mm:ss.mmm
SYSTem:LOCK:OWNer? | This query returns what mode the system is currently in. 0 = Local, 1 = Remote, 2 = Local locked, 3 = Remote locked
SYSTem:LOCK:RELease | This event releases the sysrem from the Remote Locked Mode. If the system is not in the remote locked modek, this command has no effect. This command has no query form.
SYSTem:LOCK:REQuest? | This event is only implemented as a query. It attempts to set the system in remote mode and returns 1 if successful and 0 if it fails.
SYSTem:TIME? | Returns the date and time yyyy-mm-dd-hh:mm:ss.mmm
[:SOURce]:FREQency[:LEVel] {<level (A)>¦MINimum¦MAXimum¦UP¦DOWN} | Sets the switching frequency
[:SOURce]:FREQency[:LEVel]? [MINimum¦MAXimum] | Returns the switching frequency