## Slide 1: FLUCO FLUids incl. gases, vapors and COmplex fluids - H. Schneider -
Ideas and thoughts from the Workshop on Gases and Chemical Reaction
May 2nd/May 3rd, 2018 Sanbjerg,DK, by Mogens Christensen, head of the HEIMDAL project:
In-situ growth / thin film / chemical reactions , FLUCO
  Electro chemistry, catalyst materials, batteries, fuelcells
  Chemical reactions
  Thin film growth/analysis
Furnaces / temperature control , TEFI
Mechanical processing , PREMP
Notes: Disolve this slide or use as summary; link to SAC comments
Needs to specifc what it want from the pool and what they build for their instrument.
Instrumet team takes team during construction (and potentially in operation)

## Slide 2: FLUCO FLUids incl. gases, vapors and COmplex fluids - H. Schneider -
Some devices , procured/planned , selected items
  Solartron 1255 , HF Frequency Response Analyzer
  Solartron 1286A , Potentiostat
  Open bath circulators
  H2 Gas manifold
Planned
    Test cells
    Lab. furnaces , modular electro chemistry measurement devices, in collaboration with SULF
    Gas manifolds for corrosive gases
    Development of test cells
    DLS/SLS in situ
Notes: Disolve this slide or use as summary; link to SAC comments
Needs to specifc what it want from the pool and what they build for their instrument.
Instrumet team takes team during construction (and potentially in operation)

## Slide 3: FLUCO FLUids incl. gases, vapors and COmplex fluids - H. Schneider -
Different experimental setup’s , using special customer cells/chambers
Sample environment is strongly user focused
FLUCO acts as a toolbox to provide physical standard parameter
  Gases/Temperature/mechanical movement/humidity/light(laser)/..
Toolbox capability for individual setup’s
Notes: Disolve this slide or use as summary; link to SAC comments
Needs to specifc what it want from the pool and what they build for their instrument.
Instrumet team takes team during construction (and potentially in operation)

## Slide 4: FLUCO FLUids incl. gases, vapors and COmplex fluids - H. Schneider -
Pool
Equipment
WP | Partner | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Gas-processing-system | U.Tartu(EE) |  |  |  |  |  |  |  |  |  | 
Laser Pump Probe | U.Tartu(EE) |  |  |  |  |  |  |  |  |  | 
Laser Pump Probe2 | U.Tartu(EE) |  |  |  |  |  |  |  |  |  | 
Stopped-flow-Cell | U.Tartu(EE) |  |  |  |  |  |  |  |  |  | 
Humidity Chamber | U.Tartu(EE) |  |  |  |  |  |  |  |  |  | 
Rheometer | FZJ ,(Ge) |  |  |  |  |  |  |  |  |  | 
Light scattering | FlexiProb |  |  |  |  |  |  |  |  |  | 
5x SANS Peltier | RUC, (DK) |  |  |  |  |  |  |  |  |  | 
Rotating cells | ESS |  |  |  |  |  |  |  |  |  | 
Thermalizing Bl. | FZJ ,(Ge) |  |  |  |  |  |  |  |  |  | 
Chem. Cell | ESS |  |  |  |  |  |  |  |  |  | 
Cells/solid-liquid | ESS |  |  |  |  |  |  |  |  |  | 
Lab Equipment | ESS |  |  |  |  |  |  |  |  |  | 
El. Chem.Dev./Cell | ESS |  |  |  |  |  |  |  |  |  | 
Lab building available
Hot commissioning
first instruments
Equipment
available
Testet/integrated
Technicians trained
Ready to run
at instruments
In house / Cash
In Kind Started/Start at
Started, ongoing
External collaboration
In Kind Planned
FINISHED
FINISHED
Notes: Disolve this slide or use as summary; link to SAC comments
Needs to specifc what it want from the pool and what they build for their instrument.
Instrumet team takes team during construction (and potentially in operation)

## Slide 5: FLUCO FLUids incl. gases, vapors and COmplex fluids - H. Schneider -
Nice example for future experiments@ESS
In situ X-ray diffraction environments for high pressure
reactions , Torben Rene Jensen
Done at PETRA III , GE
70 bar H2 at 293 K
1370 bar H2 at 473 K
- Could be a kind of “conventional H-Bomb”
Notes: Disolve this slide or use as summary; link to SAC comments
Needs to specifc what it want from the pool and what they build for their instrument.
Instrumet team takes team during construction (and potentially in operation)