## Slide 1
ESS, Lund, 12 July, 2018
ESS nBLM: Detector design review
Thomas Papaevangelou
IRFU, CEA, Université Paris - Saclay

## Slide 2: The nBLM chambers
FAST
SLOW
Moderator + absorber
Assembly of a fast and a slow detector
size ≈ 20 × 25 × 25 cm3 (~14 kg)
Proposed integration at ESS DTLs

## Slide 3: Detector Assembly

## Slide 4: Chamber Components

## Slide 5: Chamber

## Slide 6: Chamber

## Slide 7: Chamber tightness
Molded silicon joint (+vacuum grease?)
Threaded SS tube + Loctite

## Slide 8: Chamber components

## Slide 11: Detector

## Slide 12: Neutron moderator & shielding

## Slide 13: Micromegas board

## Slide 14: FEE and HV cards

## Slide 15: FEE and HV cards

## Slide 17: Connection to gas system

## Slide 18: Points to clarify
HV connections through screws
  We will test them up to > 2000 V. Operational voltage max 1000 V
Gas tightness
  Fast connectors are specified as “leak tight”
  We have not observed leak > 0.06 l/h (sensitivity limit). We will investigate further.
  Alternative: Swagelok vanes at detector exit
Borflex as neutron absorber
A “fabrication ID” document for each bulk detector
A “fabrication & test ID” document for each FEE & HV card
A “QA” document for each detector (mounting + testing)
Specification documents for acquired components
Long gas tubes (Plastic? Cooper?)