Critical Design Review (CDR-2 and CDR-3) for Quadrupole and Dipole Power Converters - LWU Quadrupole Power Converters type PCQ5, PCQ6, PCQ7 - Quadrupole Power Converters type PCQ8 and Dipole Power Converter type PCD1 20 Sept. 2018 Charge for the CDR

Meeting place:  Elettra, Trieste, Italy and ESS office, Lund, Sweden (via videoconference)

References:

- SCHEDULE AIK 17.2 - POWER CONVERTERS FOR MAGNETS TO THE ESS LINAC (VERSION 2) TO THE TRILATERAL IN-KIND CONTRIBUTION AGREEMENT SIGNED BETWEEN EUROPEAN SPALLATION SOURCE ERIC, ISTITUTO NAZIONALE DI FISICA NUCLEARE AND ELETTRA – SINCROTRONE TRIESTE S.C.P.A. – ESS-0053408_2017.07.14)

- IKC AIK 17.2 - Technical Requirements, Power Converters to Magnets for the ESS Linac – ESS-0055341, rev. 3

- Technical specification of the DC Power Converters for Quadrupole Magnets Q5, Q6, Q7, Q8, and Dipole Magnets D1 (PCQ5, PCQ6, PCQ7, PCQ8, and PCD1) –  E-ST ESS PC TSD 001, rev. 1.6

Purpose of this CDR

A CDR is scheduled as a milestone event for approving the transition from detailed design to manufacture, or to material or component procurement, or to software coding, or to assembly and construction. At this milestone, the outputs of design such as CAD models, supporting calculations and analysis reports, and procurement and manufacturing specifications are compared and reviewed against the inputs of design, including technical and interface requirements or input specifications.

A successful CDR gives confidence that the proposed design will meet all technical requirements and that its interfaces with all relevant accelerator subsystems are understood and defined. The completion of a CDR freezes the Baseline design of the system(s) or component(s) being reviewed.

The purpose of this CDR is to confirm that the design for the power converter type PCQ5, PCQ6, PCQ7 (LWU quadrupole magnets), PCQ8 (A2T quadrupole magnets) and PCD1 (dogleg vertical dipole magnets), referred as “Scope of Work” (SoW) in [A], is likely to meet all requirements and is specified in sufficient detail for production (including material purchase for manufacture, procurement of manufacture services and in-house manufacture) and assembly. It is understood that this procurement and manufacture will be managed by INFN and Elettra Sincrotrone Trieste with series production from the companies Energy Technology and CAEN.

The CDR should confirm that the detailed design outputs for the Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 are traceable to design inputs from ESS. It is important to confirm that requirements and specifications have been received, understood and agreed by Energy Technology and CAEN. The design for these Power Converters should demonstrate that these agreed design inputs have been used and fulfilled or achieved, that is that these requirements are verified by the design. The inputs for detailed design may include the following, where applicable and agreed by ESS, Elettra and INFN:

- the scope of work described in the Schedule AIK 17.2 [A] for Magnet Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 and its technical appendix [B];

- any conceptual or preliminary design descriptions or other inputs provided during previous reviews(PDR2 in March 2017 and PDR3 in June 2017) or other technical meetings that have been agreed and accepted as applicable input to detailed design for the Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1;

- the Technical Specifications [C] that were integral part of the Call for Tender documentation and accepted by the Contractor.

In general terms, the expected outputs of detailed design that should be presented and reviewed in the CDR are:

- CAD models, prototypes, mock-ups and simulations;

- specifications and other descriptions resulting from detailed design activities;

- reports from calculations, analysis, simulation, prototype testing and other design verification activities

The specific information that should be reviewed in the CDR is listed as Deliverables. See Appendix 1.

Charge to the Committee

The Review Committee is composed of the Chairman and members as identified in Appendix 2. This list also shows reviewers, who provide comments and review but are not on the formal committee,  presenters, and observers.

In the context of the Scope of Works, Reference [A], the Review Committee is asked to:

1.	REVIEW:  Scrutinize and assess the deliverables listed in Appendix 1 and presented via the talks at the CDR. Note that the presentations themselves are means of communication only, and it is the design that must be reviewed.

2.	ANSWER:  Answer each question listed in Appendix 3.

3.	DECIDE:  The Review Committee is to deliberate and deliver at the conclusion of this CDR, a clear recommendation to ESS, to Elettra, to INFN and to the companies Energy Technology and CAEN about proceeding with material procurement for manufacture, procurement of manufacture services, and the manufacturing itself of the Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1. Suggested forms for the decision are:

- Approved, without qualifying comments or further actions.

- Approved, but with recommendations and/or actions to be completed.

- Not approved, but with recommendations, actions, further inputs and activities required, and a proposal for a follow-on review.

- 4.	REPORT:  The Review Committee is to document in a short report to be delivered as soon as possible after the CDR, its recommendation and any specific actions for Work Package (WP) for Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 identifying any further design necessary, and other guidance for assisting planning and future success of the WP in for its scope and deliverables.

Appendix 1 Scope and Deliverables for Review

Scope for Work Package

ACCSYS WBS 11.17.12.2 (DC Power converters for the quadrupoles PCQ5, PCQ6, PCQ7) and 11.17.12.4 (DC power converters for the HEBT Dogleg vertical dipole PCD1 and the A2T quadrupoles PCQ8) Work Units (WU) are led by Roberto Visintini of Elettra.

The WP17 Power Converters is led by Carlos Martins from ESS and is responsible for the ESS project for the following scope relevant for this CDR

- detailed design

- prototyping

- procurement

- the construction, assembly, testing and other verification, and delivery of a complete set of Magnet Power Converters types PCQ5, PCQ6, PCQ7, PCQ8 and PCD1

Deliverables for CDR - Information to be reviewed

1.	Technical Data Package

Elettra is requested to deliver a technical data package consisting of the following documents and data to the Chairman for distribution to the Review Committee no later than 5 working days prior to the CDR.

- Requirements and specifications.  The Technical Specifications [C] were prepared in agreement and shared with ESS, according to [A] and [B], before the Call for Tender (October 2017). The Technical Construction File (point 3.3.5 in [C]) prepared by the Contractor is part of the documentation for this CDR. The proposed design under review will be cross checked with the requirements set down in the Technical Specifications

- The Technical Construction File should contain:

  - Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 engineering design report;

  - CAD.  3D CAD model, or 2D CAD files of the mechanical layouts of the Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1;

  - Verification Planning.  Factory Acceptance Test (FAT) plans and other planning for verifying the Power Converters types PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 meet requirements, specifications and design.

2.	CDR Presentation

Elettra, with the support from INFN and the contractor companies Energy Technology and CAEN, is requested to organize the preparation and presentation at CDR, with pdf documents and data hand-outs, of the technical proposal by the Contractor. These presentations should address the following:

- Functional description and description of the equipment: provide a general description of the individual systems and equipment as well as its breakdown into sub-systems.

- Summarise and highlight key points from the deliverables of the Technical Data Package;

- Safety:- internal interlocks management;

- Description of the QA/QC plans;

- Reliability, Availability, Maintainability, Inspectability (RAMI); see below

- MPS:- List of signals and their functionality;

- Integrated Control Systems (ICS):- remote control port specification

Elettra is requested to deliver an advanced draft of the CDR presentation(s) to the Chairman for distribution to the Review Committee, as soon as available, prior to the CDR.

RAMI

Random failures

List the most frequent failures during normal operation (steady state operation). Related maintenance actions, times to repair and to restart the system should be provided.

Lifetime issues

List the components for which wear-out or degradation to failure will occur within 25 years of operation of the machine.  For these components please provide maintenance actions, times-to-repair (hours) and the actions needed for restarting after repair.

Appendix 2 Review Committee and other Reviewers, Presenters and Observers

List to be finalised and names confirmed prior to CDR

| Name | Organisation | Appointment for PDR |
| --- | --- | --- |
| John Weisend II | ESS, ACCSYS Deputy Project Leader | Chairman of the Review Committee |
| Edgar Sargsyan | ESS, ACCSYS LWU magnets | Review Committee member |
| Carlos Martins | ESS, ACCSYS Power Converters section leader | Reviewer |
| Roberto Petrocelli | External Expert ALBA | Review Committee member |
| Dana McKenzie | ESS, ACCSYS Power Converters section | Reviewer |
| Kent Wigren | ESS, ACCSYS QA | Review Committee member |
| Frithiof Jensen | ESS, ACCSYS Conventional Power work package leader | Review Committee member |
| Timo Korhonen | ESS, ICS Chief Engineer | Review Committee member |
| Annika Nordt | ESS, ICS Machine Protection Systems group leader | Review Committee member |
| Roberto Visintini | Elettra, Head of Power Supplies and WU 17.2 Coordinator for Elettra | Reviewer and presenter |
| Marco Cautero | Elettra, Magnet Power Supplies group | Reviewer |
| Taha Gucin | Elettra, Magnet Power Supplies group | Reviewer |
| Davide Castronovo | Elettra, Magnet Design group | Observer |
| Riccardo Fabris | Elettra, Magnet Design group | Observer |
| Rodolfo Laghi | Elettra, Magnet Design group | Observer |
| Mario Sedita | INFN, RUP purchasing responsible | Reviewer |
| Giuseppe Torrisi | INFN-LNS | Observer |
| Filippo Burini | Energy Technology, Engineer | Presenter |
| Roberto Donato | Energy Technology, Engineer | Presenter |
| Riccardo Morici | Energy Technology, Engineer | Presenter |
| Enrico Braidotti | CAEN, Engineer | Presenter |
| Denis Molaro | CAEN, Engineer | Presenter |
| Giorgio Salvadori | CAEN, Engineer | Presenter |

The CDR Committee conducts this review of design with the authority of ACCSYS Project Leader, Mats Lindroos, and ESS Chief Executive Officer, John Womersley.

The Committee serves in an advisory capacity to:

- the ACCSYS WP17 (Power Converters) Leader, and

- the ACCSYS management team.

Appendix 3 Questions

- Has design and supporting activity for Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 progressed and reached a level of technical maturity in accordance with the activities and milestones for this Work Unit recorded in the ESS ACCSYS Project and been documented sufficiently and presented in a suitable format to enable review at this CDR?

- Are all or a sufficient coverage of requirements and specifications for the Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1, including for its interfaces with other systems, documented by ESS, communicated to and understood by the Contractor?

- Does the design meet these requirements and specifications?

- Have safety issues and technical risks been identified and eliminated or otherwise mitigated for in the detailed design or identified for managing for manufacture, assembly, installation or operation?

- What quality assurance and quality control activities have been planned and how will these be conducted and documented or reported?

- Are there sufficient staff resources assigned to the Work Unit team at ESS and by its parent Elettra to allow to progress with work in accordance with activities, durations and milestone dates shown in the ESS ACCSYS Project plan?

- Is the design information and information on procedures required for the operation of the Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 delivered and presented at CDR sufficient to define the controls interfaces and allow the start of the controls system design?

- Are the strategy, policies and regulations for procurement, manufacture and assembly sufficiently identified, defined, documented and understood by the Work Unit team or its parent Elettra, including supplier source(s) and pre-procurement activities and progressed to a sufficient stage?

- Is the schedule for delivery of materials, components and for the manufacture of Power Converters type PCQ5, PCQ6, PCQ7, PCQ8 and PCD1 sufficiently understood and in accordance with activities, durations and milestone dates shown in the ACCSYS project plan?

- Does the work unit team or its parent Elettra and the contractors require additional input from ESS or its other partners, or seek additional review, decision or approval from ESS to proceed with all work planed?

- Are there any outstanding agreements to be made or other actions necessary to allow the work unit to achieve the Plan?