## Slide 1: Interfacing Geant4, Garfield++ and Degrad for the Simulation of Gaseous Detectors
Dorothea Pfeiffer1,2, Lennert De Keukeleere3, Carlos Azevedo4, Francesca Belloni5, Stephen Biagi6, Vladimir Grichine7, Leendert Hayen3, Andrei R. Hanu8, Ivana Hřivnáčová9, Vladimir Ivanchenko2,10, Vladyslav Krylov11,12, Heinrich Schindler2, Rob Veenhof2,13
1European Spallation Source (ESS AB),P.O. Box 176, SE-22100 Lund, Sweden
2CERN, CH-1211 Geneva 23, Switzerland
3Instituut voor Kern- en Stralingsfysica, KU Leuven, Belgium
4I3N - Physics Department, University of Aveiro, 3810-193 Aveiro, Portugal
5CEA Saclay, 91191 Gif-sur-Yvette, France
6Department of Physics, University of Liverpool, UK
7Lebedev Physical Institute of RAS, Moscow, Russia
8NASA Goddard Space Flight Center, Greenbelt, Maryland 20771, USA
9Institut de Physique Nucléaire, Université Paris-Sud, CNRS-IN2P3, Orsay, France
10Tomsk State University, Tomsk, Russia
11Laboratoire de l'Accélérateur Linéaire (LAL), Université Paris-Sud XI, CNRS/IN2P3, 91898 Orsay, France
12Taras Shevchenko National University of Kyiv (TSNUK), Kyiv, Ukraine
13Uludag University, 16059 Nülufer-Bursa, Turkey
2018 IEEE Nuclear Science Symposium and Medical Imaging Conference 10-17 November 2018, International Convention Centre, Sydney, Australia
This work was partially funded by the EU Horizon 2020 framework, BrightnESS project 676548

## Slide 2: Short Reminder: Which software packages are used ?
Geant4 (GEometry ANd Tracking):
  object oriented C++ toolkit for simulation of passage of particles through matter
  most common software package for Monte Carlo simulations in particle physics
  more recently extended to include low energy applications
Garfield++ (C++ version of Fortran program Garfield)
  dedicated to simulation of gaseous detectors
  calculates drift and avalanche processes, using analytical fields and field maps
  includes interfaces to Magboltz (electron transport properties), Heed (PAI model implementation) and SRIM (Stopping and Range of Ions in Matter)
Degrad (Fortran program)
  includes accurate Auger cascade model for interaction of photons, electrons and ionizing particles with gas mixtures in electric and magnetic fields
  for X-rays, simulates shell absorption by photoelectric effect, Compton scattering or pair-production and the subsequent Auger, Coster-Kronig, Shake-off and fluorescence emission. Bremsstrahlung emissions by secondary electrons are also included

## Slide 3: Why interfacing Geant4, Garfield++ and Degrad ?
To simulate a complete gaseous detector, the following five steps are relevant:
  Interaction of primary particle with surroundings and non-gaseous detector material
  Forming of ionization electron/ion pairs in gas
  Drift of ionization electrons to amplification stage
  Creation of additional ionization via avalanche in amplification stage
  Forming of electronic signal at read out
neutron
scattering
Neutron capture
conversion electron
Strip signals
Example: Triple GEM detector with Ar/CO2 70/30
(Gd-GEM neutron detector for NMX instrument at ESS)
Geant4, Garfield++ or Degrad standalone are not sufficient

## Slide 4: General Simulation Structure: Division of Tasks
Complete gas detector simulation consists of three parts
Geant4 is always responsible for surroundings, detector geometry and physics in non-gaseous materials
Garfield++ is always responsible for drift, amplification or signal creation in gas region
Interface part (read rectangle): Different options exist for the creation of electron/ion pairs in the gas regions of the detector

## Slide 5: Example for Simulation Geometry: Gd-GEM
NMX:
3 detectors
Gd-Cathode with support
GEM with frame and spacers
Detector with VMM3 ASICS
Surrounding of detector and all mechanical parts of the detector modelled in Geant4
Geant4/Garfield++ interface used in light blue gas region
Drawing by Patrik Thuiner

## Slide 6: Why not Geant4 standalone ?
Challenge: Correct number and position of electron-ion pairs needed, not deposited energy
Two possibilities:
  Production of electron/ions pairs
  Sampling of electron/ion pairs
Production of electron/ion pairs depends on tuning of lower production cut and lowest electron energy limit
Sampling is independent of these parameters, uses energy deposition in each step (Geant4 validates deposited energy)
User has to write own code to transfer the electron/hole pairs to Garfield++

## Slide 7: Lower production cut and lowest electron energy limit
Lowest electron energy limit
Kinetic energy limit below which electron is not tracked anymore => independent of material, full energy is deposited in step
PAI model in very large
volume of He/isobutane 70/30:
Mean number of electron-ion pairs produced by 10 keV e-
Variance of electron-ion pair distribution
Lower production cut
Minimum energy transfer required to produce new particle => creation of secondary particles not possible if transferred energy is lower than lower production cut

## Slide 8: W value and Fano factor for e- in Ar/CO2 70/30
W value: mean energy needed to create electron-ion pair in gas
Fano factor F: ratio of variance and mean of electron-ion pair distribution

## Slide 9: Geant4 Parametrization feature
Tuning of lower production cut and lowest electron energy limit time consuming, not guaranteed to work for all particle types and energies
Fano factor cannot be reproduced with Geant4 standalone
The best option for the interface part is to use the Geant4 physics parameterization capabilities (G4VFastSimulationModel)
General idea of parameterization in Geant4 is to create a region, where the user can provide her own implementation of the physics and the detector response, based Garfield++ (including Heed and SRIM interfaces) or Degrad
Example code that illustrates all possibilities can be found in the GitHub repository (still under development) https://github.com/lennertdekeukeleere/Geant4GarfieldDegradInterface

## Slide 10: Options for photons and ions

## Slide 11: Options for charged particles
For relativistic charged particles, complete physics of Heed can be used (equivalent to the option for photons)
For non-relativistic charged particles, Geant4 PAI model has to be used in conjunction with Heed PAI model
Below a certain energy threshold, primary ionization electrons are stopped in Geant4 and send to Heed where they are treated as delta electrons
Lower production cut in Geant4 and transfer threshold to Heed have to be optimized
Verification needed, following slides show Geant4/Heed PAI model interface results

## Slide 12: Lower production cut: 10keV e- in He/isobutane 70/30
Optimal lower production cut 19 eV, transfer threshold 2 keV
W value can be reproduced, Fano factor slightly too high but better than Geant4
W value
Fano factor

## Slide 13: Lower production cut: different particles and energies
Optimal lower production cut stable on percent level for different particle types and kinetic energies in the same gas mixture (here Ar/CO2 70/30)

## Slide 14: Optimal lower production cut for gas mixtures?
Lowest electron energy threshold kept at 100 eV (default of Livermoore EM physics)
Optimal lower production cut for gas mixtures derived from value for pure gases
Ar/CO2
He/isobutane

## Slide 15: Deposited energy spectra
Comparison Edep and N*w (differential W value) in 1 cm of Ar/CO2 70/30
Green curve Geant4/Heed PAI model interface reproduces correct deposited energy
1 GeV alpha particle
100 keV electron

## Slide 16: Spatial distribution of electron-ion pairs
1 GeV electron
He/isobutane 70/30
100 keV electron
Ar/CO2 70/30
Red curve Geant4/Heed PAI model interface agrees with Geant4 in shape
Blue curve Geant4: Without optimizing lowest electron energy limit, Geant4 underproduces
Green curve: Heed misses Coulomb scattering of primary, intended for relativistic particles

## Slide 17: Conclusion
Complete simulation of gaseous detector possible
Geant4 difficult to tune to produce enough electron-ion pairs
Interface options for photons, ions or relativistic charged particles just use physics model of one software (Heed or Degrad, respectively)
For non-relativistic charged particles only Geant4/Heed PAI model interface possible
Verification shows that simulation results (N*w vs deposited energy, spatial distribution of electron-ion pairs) are comparable to results obtained with standalone packages

## Slide 18: Thanks for your attention !
Complete visualization in Geant4 possible: Detector geometry, primary particle trajectory, Garfield++ electron-ions pairs and drift lines
Paper submitted to NIM A
https://arxiv.org/abs/1806.05880