## Slide 1: Installation Quality Regulations Quality Control Receiving Inspection
Cecilia Lowe
Quality Control Officer
European Spallation Source ERIC
6 February, 2019

## Slide 2
What does ESS need?
High reliability and availability
Producing world class science for society
This require generically applied ways of working That is well documented and traceable
How do we jointly achieve this?
Remember - There is a life after installation!

## Slide 3: Engineering phase (high level)
Electrical Design
Mechanical Design
Controls
Plant&Process
Design
Pre- study
SRS
Contr
Prod.
FAT
SAT
Manufact./Prefab. & Prepare Installation
Installation
Request
Procurement
Detailed Design
System Design
Req
Requirements & Analysis
Hand- over to Operations
CDR
PDR
Prep.
EDS
System Design Procedure
Symbols:
Review
Documents for Manufacturing and Installation
Plant & Piping Design Procedure
Detailed Plant & Piping Doc
Test & Verific.
Commissioning
Detailed Design
Detailed Documentation
TRR
SAR
ORR
Func. Review
IRR
Requirement fulfilment is key

## Slide 4: Directive, Regulations, Standards and Norms
Manufacturing
Installation and operation / maintenance
ESS Rules for Quality Regulation – Mechanical Equipment (ESS-0047989)
MQC4
Safety Related SSC
Or
Non-Safety
(Industrial standard)
ESS requirements
Installation of couplings
Installation of expander bolt
Welding certificate, quality level and Oxidation level after welding of stainless steel
Cleanliness inside pressure vessels / pipe system
Documentation according to cat II-IV
Vacuum Handbook
Part 1 - General requirements for the ESS technical Vacuum system
Part 2 – Vacuum equipment Standardization
Part 3 – ESS Vacuum Design & Fabrication
Part 4 – Helium Leak Test
PED 2014/68/EU
AFS 2016:1
EN 13445, EN 13480
AFS 2017:3
PED 2014/68/EU AFS 2016:1
EN 13445, EN 13480
Mechnical Equipment

## Slide 5: Quality Control Phases
Installation Binder
EIP-ESS Inspection Points

## Slide 6: Directive, Regulations, Standards and Norms
Manufacturing
Installation and operation / maintenance
EN 1090 Execution of steel structures and aluminum structures
EN 1090-1 Requirements for conformity assessment of structural components
EN 1090-2 Technical requirements for steel structure
EN 1090-3 Technical requirements for aluminum structures
Steel/Aluminium structure

## Slide 7: Conclusion
Requirements
Design
Install
Test and verification
Commissioning
Handover
Acceptance
Document and baseline the information

## Slide 8: Translated regualtions from the Swedish Work Environment Authority
Translated regulations from the Swedish Work Environment Authority
Reg No | Titel | CHESS No
AFS 2017:3 | Use and Inspection of Pressurised Devices | ESS-0177972
AFS 2006:8 | Testing with overpressure or underpressure | ESS-0507641

## Slide 9: Receiving inspection

## Slide 10: Receiving Inspection
What is the purpose with the Receiving inspection?
Act as a independent reviewer of incoming goods
Secure that the requirements set by internal and external stakeholders are met.
Capture important technical documentation.
If the agreement with in-kind or other contractor’s states that they are responsible for delivery of the supplied material/components to site, a procedure shall be approved by ESS Quality Department on how to secure delivered goods.
ESS procedure for Receiving inspection, ESS-0102301
  Mandatory for Safety systems
  Performed jointly
  ESS apply graded approach

## Slide 11: Workflow – Receiving Inspection
Logistics
ESS-0042154
WPM /
Goods Receiver
Quality
ESS-0102301
Security /
Dangerous Goods
ESS-0122078
Classification
Physical quality inspection
Document Review
Receiving Inspection
Approved
Blocked Goods
To Projects
To Storage
Dialog WPM/QI
Item Control
Document Control
Damage Control
Content Control
Security Control
Dangerous Goods Control
Address control
Goods Handover
Issue NCR
Contact WPM
Report issuing and filing
Corrective Action
Receiving inspection approved
Receiver Notification
N
Y
N
Y
Start
End

## Slide 13: Thank you for your time!