## Slide 1
Cave and Sample Handling MIRACLES
IKON-16 (Feb-2019)

## Slide 2
Sample management procedures: ESS-0024107, ESS-0024109, ESS-0024112
ESS-0038078 - ESS Sample Environment Mechanical Interfaces for Instruments
ESS-0038163 - ESS Sample Environment Utility Supplies Reference Document for WBS 13.6.X.5.6
ESS-0038165 - Sample Environment Control System Reference
Boundary conditions
Science case & Sample environment equipment
Experience (past experiments)
Design
Ergonomics and comfortability
ESS documentation
Simplicity, Clarice

## Slide 3
Sample environment equipment MIRACLES

## Slide 4
ESS-0038078
Chart: Mass (kg)
| 20 | 20 | 20 | 30 | 1000 | 50 | 40 | 100 | 650 | 2000 | 350 | 5 | 6 | 10 | 15 | 70 | 100 | 100
largest dimension (mm) | 600 | 600 | 600 | 600 | 1000 | 1000 | 0 | 1400 | 400 | 1700 | 1800 | 2200 | 1241 | 150 | 200 | 200 | 200 | 300 | 800 | 1400
Sample environment equipment MIRACLES

## Slide 5
ESS-0024112  “Around the sample will be a controlled area called “sample location” […] it might include the sample environment equipment […] contain the sample within this area using appropriate boundaries and safety devices. This is a flexible boundary.”
Controlled area “around” the sample: defining “around”

## Slide 6: MIRACLES: Cave and SPAs
Sample loading area – Hatch
(if sliding slab: Controlled area 25 mSv/h)
Next-experiment preparation area
Sample mounting area
Control room
Fluid storage area (l-N2, l-He, O2, H2)
Storage area (activated S, SEE)
(PSS’ed w/ shutter)

## Slide 7: Instrument Specific Laboratories (IS labs)
IS lab = Area on each instrument used for handling samples
Experiment
Sample mounting area
Next-experiment preparation area
Storage
Sample storage area (standard, non-activated)
Sample storage area (solvents, flammable, toxic, nanoparticles,…)
Sample storage room (activated samples)
Documentation: MSDS, likely in the Control Room bookshelf
Double container (tray, chamber, double bottle,…)
Dessicator?
Own room, besides ESS room
Shielded cabinets
Inventory
Gas Outlets
Patch panels
Cryogenics?
Fume hood or Laminar flow (bio)?

## Slide 8
He
Utility Supply Set
ESS-0038163
Box_1 – 2 x [5 x 25 mm2] & 4 x Cat.6 Ethernet
Box_2 – 2 x [5 x 25 mm2]
Box_3 – 1 x [5 x 10 mm2]
Boxes including RCD (30mA) and cut out switches :
Box 1 : MENNEKES 950004
Box 2 : MENNEKES 940018
Box 3 : MENNEKES 920003
All boxes are regarding IP44 class.
Cold outlet to SES device (Pin)
Warm inlet from SES device (Socket)
Ball valves , 1 each
Electrical power
Cooling water
Supply | Tubing material | Flow/ pressure | Over- Pressure Valve | Purity | Number of independent Extraction points | Supply | Meter
Argon (Ar) | Stainless Steel | <= 8 bar | Y | 4.6 | 2 | Centrally supplied | y
Nitrogen (N2) | Stainless Steel | <= 8 bar | Y | 4.6 | 2 | Centrally supplied | y
Helium (He) | Stainless Steel | <= 8 bar | Y | 4.6 | 2 | Centrally supplied | y
Compressed air | Stainless Steel | <= 8 bar | Y | Water free | 3 | Centrally supplied | Processing unit
Exhaust | Stainless Steel |  | Y |  | 2 | Centrally supplied | 
Helium recovery | Stainless Steel >= KF25 |  | Y |  | 3 | Centrally supplied | 
Gases

## Slide 9
SPAs & Utility Supplies
Next-Experiment
Preparation Area
(~1,75x4 m2)
Sample Mounting Area
(~1,75x4 m2)
Workshop (long tables)
Ancillary, Spares
Cabinets and Drawers
Workshop (long tables)
Ancillary, Spares
Cabinets and Drawers
Control room
Lift to storage area (activated)
Lift to fluid storage area
Power
N2
C. Air
Ar
He
He -rec
Hanging connectors
Power
N2
C. Air
Ar
He
He -rec
Exh.
Water
Power
Data
Service chicanes

## Slide 10: Gas handling, cryogenics
SEE Controls
& Power Rack
Vacuum Rack:
Rough pump
TM pump
Electronics
Lift to the Fluid Storage Area (l-N2, l-He, O2, H2)
SEE Controls
& Power Rack
Vacuum Rack:
Rough pump
TM pump
Electronics
Gas Handling System
Gas Handling System

## Slide 11
ESS-0038078
Transport corridor

## Slide 12
Transport Corridor
Next-Experiment
Preparation Area
(~1,75x4 m2)
Sample Mounting Area
(~1,75x4 m2)
Control room
2,5 m
1,5 m
1,5 m

## Slide 13
Next-Experiment
Preparation Area
(~1,75x4 m2)
Sample Mounting Area
(~1,75x4 m2)
Control room
Lift to storage area (activated)
2,5 m
1,5 m
1,5 m
Corridor: the guy/girl with the trolley check

## Slide 14
To step down to the hatch (loading) we need hands free. So, comfortable stairs.
Changing sample stick
Filling cryogenics
Multiple connections
Hatch: loading area

## Slide 15
Thank you!