## Slide 1: Spatial Integration for Instruments
Fabien Rey
European Spallation Source ERIC
13 02 2019

## Slide 2
Some chronological aspects
2017
EIS Division
Creation of MES group
Machine Engineering Service Group
Survey, Alignment and Metrology
Spatial Integration
Manufacturing
EIS Division
Integration Group
Integration activities coordinated independently in each sub project.
Accelerator
Front End Building
Task Force
We commonly realized how crucial was to align our ways of designing, integrating and documenting.
Facility Documentation Management
ESS Ways of Working
SSM Regulations
ESS Technical Board
Introduction to Spatial Integration
ESS Technical Board
Spatial Integration – Real Plans
2018
ACC and ICS DIVISIONS
JOINS CENTRAL
SPATIAL INTEGRATION SECTION

## Slide 3
Some chronological aspects
2018
Accelerator
Front End Building
Task Force
Facility Documentation Management
ESS Ways of Working
SSM Regulations
IKON 16
Introduction to Spatial Integration
2019
NSS DIVISION
JOINS CENTRAL
SPATIAL INTEGRATION SECTION
Spatial Integration
Section
TARGET DIVISION
JOINS CENTRAL
SPATIAL INTEGRATION SECTION
Spatial Integration REQUESTS
Accelerator
Infrastructure Project
VIRTUAL REALITY
Accelerator
Installation and Commissioning
Levels of Maturity

## Slide 4
Spatial Integration Section
    What is it?
    How do we work?
    How do we communicate?
Application for Instruments
    CAD Structure in CATIA v6
    CHESS structure for Facility Breakdown Structure FBS
    Review/Approval Process
    How we move on….
Outline

## Slide 5
5
CONFIGURATION MANAGEMENT OF THE SPACE AVAILABLE
Process for establishing and maintaining consistency of a product's physical attributes with its requirements, design, and operational information throughout its life
ONLY MANAGE VOLUMES AND 3D INTERFACES
- NOT DETAILED DESIGN -
Our inputs parameters :
Massive flow of 3D models
ESS Handbook for Engineering Management
  (ESS-0092276)
1 CAD tool : CatiaV6
Plant Lifecycle Management System : CHESS
ESS Breakdown Structures
Facility Breakdown Structure
Location Breakdown Structure
What is Spatial Integration?

## Slide 6
6
Configuration Management for
volume allocations and 3D interfaces
  Capture Lifecycle of CAD representations
  Place 3D data under configuration control
  Perform Integration and Clash Analysis
  Conduct Spatial Integration Meeting
  and submit unresolved clash to upper management
Our mandate
System owner of the integrated
3D Master model (ESS Plant Layout)
ESS-0500000

## Slide 7
ESS Plant Layout (EPL) ESS-0016885
Configuration Management
Communication
Missing clear Breakdown Structure
Very heavy models
Very little data released
3D data not connected to the PLM
What are we exporting/showing ?
Collaborators – Inkinds- Manufacturers
Swedish Nuclear Authority (SSM)
CF models
Facility Documentation Management
1.5 year ago….
Challenges around our 3D data

## Slide 8
Following ESS Breakdown Structures
naming and connection to CHESS (PLM)
Based on Light Versions
Lighter to open and work on it
Possibility to load full detailed models
Showing only Released Data ( with level of maturity)
Reliable information understanding design maturity
Source for Exports
Other platforms - External users - Partners
REBUILT THE ESS Plant Layout (EPL) ESS-0500000
Redefine central rules and interactions with sub projects
Implementation of Spatial Integration REQUEST
  in Confluence
Note: ESS-0016885 becomes ESS Conceptual Assembly
Spatial Integration Configuration Management
New rules in order to enter in the EPL
Actions

## Slide 9
Spatial Integration Configuration Management
Release Models
with Level Of Maturity
Installation
Operation
Remote Handling
Maintenance
V3: 23-10-2018
A
Issued for
System Design
Production Phase
Mechanical Design
Electrical
Process Piping
Design
B
C
D
P
R
ASB
ASC
Issued for
Detailled Design
Detailed design
Issued for Quotation
Issued for Construction
Development Phase
CHESS
Release
Issued for Installation
As-Built
As-Scanned
Work Package/ Project Leader
Including Space Reservation for
Designer
Central Support
Model Management
Integrate design in ESS Plant Layout: ESS-0500000 Produce light model Connect to CHESS: Facility Breakdown Structure Location Breakdown Structure
Analysis
Integration with: Other Systems Conventional Facility Models Point clouds – Laser Scanning Model Quality Check Interface Simulation Clash Analysis
Communication
Confluence Page for each Work-Package Status Integration Report on Clash Analysis Single point of truth for Exported Models In-Kind Partner and other disciplines Navisworks Coordination Visualization Rendering and Captures Virtual Reality Room
Sub Project
Spatial Integration Request
TG 1
TG 2
TG 3
TG 4
TG 5
TG 6

## Slide 10: Spatial Integration Lifecycle
Ion Source - LEBT
8 - As-built - Test Readiness Review- May 2018
7- Installation Readiness Review - Sept 2017
6- Critical Design Review - Feb 2016
5- Issued for Quotation - Nov 2015
10 – As-Scanned Coloured 3D Point Clouds - Jan 2019
4- Detailed Design - Oct 2015
2- Functional Review - Sept 2014
3- Preliminary Design Review - Feb 2015
9 – As-Scanned Intensity 3D Point Clouds - Jan 2019
1- Initial Space Claim - Oct 2013

## Slide 12
How do we communicate?
In confluence
Description and General Information about the Section
Spatial Integration Request
A dedicated page for your system with:
    Status description of the maturity of the system
    Illustrations and notifications of changes
    Clash analysis

## Slide 13
How do we communicate?
Spatial Integration Section main page

## Slide 14
How do we communicate?
Spatial Integration Request page

## Slide 15
How do we communicate?
Spatial Integration Request

## Slide 16
How do we communicate?
Page created by the request

## Slide 17
How do we communicate?
System Description

## Slide 18
How do we communicate?
Clash Analysis and Communication

## Slide 19
Application for Instruments
We have to work together on :
The CAD structure of your instrument
Assembly and Skeleton
The breakdown structure of your instrument in CHESS
“The ESS facility breakdown structure is a functional-based hierarchical tree structure to be used for systems and components for the purpose of design, procurement, logistics, installation, commissioning, operations,
maintenance and decommissioning.”- ESS-0036752
Review/Release Process
Communication

## Slide 20
Application for Instruments
CAD Structure our proposal

## Slide 21
Application for Instruments
Skeleton

## Slide 22
Application for Instruments
Facility Breakdown Structure
To be developed at your convenience
NMX as a good illustration

## Slide 23: Spatial Integration 3D Model Workflow
Partners using Catia V6
Import
Review
Integrate
Communicate
Partner
Spatial Integration
Spatial Integration Request
My design is released, integrate my design in the EPL FBS tag information
Review and release with
Level of Maturity
Create Light Version
Attach to EPL
ESS-0500000
Connect to FBS
Integration
Clash Analysis
vs
Other systems
CF models
3D Scans
Communicate
Communication in Confluence
Integration report on Clash Analysis Information provided to all affected stakeholder

## Slide 24: Spatial Integration 3D Model Workflow
Partners not designing in Catia V6
(using .step file) (but we know that you have licences)
Import
Review
Integrate
Communicate
Spatial Integration
Partner
NSS Integration
Spatial Integration Request
I need to import (indicate Level of Maturity)
Import
Transfer ownership
Spatial Integration
Review and release with
Level of Maturity
Create Light Version
Attach to EPL
ESS-0500000
Connect to FBS
Integration
Clash Analysis
vs
Other systems
CF models
3D Scans
Communicate
Communication in Confluence
Integration report on Clash Analysis
Review and release with
Level of Maturity
Spatial Integration Request
My design is released, integrate my design in the EPL FBS tag information

## Slide 25
Application for Instruments
In the immediate future
Identify for each instrument 2 responsible contacts:
CAD (Design Engineer)
Approver (Lead Engineer)
Rearrange your top assembly according to instructions
Declare your skeleton
Work on FBS
Spatial Integration Request to integrate your systems

## Slide 26
Conclusion
We must demonstrate a better level of Configuration Management of our CAD data
We are ready to receive and integrate your design.
Spatial Integration in Confluence
https://confluence.esss.lu.se/display/EIS/Spatial+Integration+Section
Spatial Integration Request
https://confluence.esss.lu.se/display/EIS/Spatial+Integration+Request
Spatial Integration Instrument Page
https://confluence.esss.lu.se/display/EIS/Spatial+Integration+Instrument
Handbook for Engineering Management, ESS-0092276
Engineering Graphical Workflow, ESS-0093443
Facility Breakdown Structure
https://chess.esss.lu.se/enovia/link/21308.51166.47073.2921
Location Breakdown Structure
https://chess.esss.lu.se/enovia/link/21308.51166.47073.2921

## Slide 27
BACK UP SLIDES

## Slide 28
28
28
Raw data Acquisition
P30
Concentric Spheres
Analysis in Cyclone
Data Cleaning
Orientation of Scans ( registration)
Geometries created on demand
V6
For Reverse Engineering and Integration
Non CAD users
Visualization/Simple measurments
Focus on 3D Scans
---- Laser Scanning----

## Slide 29
---- Laser Scanning----

## Slide 30
30
---- Laser Scanning----

## Slide 31
---- Laser Scanning----

## Slide 32
---- Laser Scanning----

## Slide 33
3D
Construction
Clear 3D model representation of what :
CF is planning to built
CF is building
CF has finally built
CF model
Iterative 3D Design
2D
2D Detail design starts for Production Drawings
Construction
Changes in 2D not reflected in 3D
Drawings sent for Construction
Construction finished
As built data sent to Detail design team
As built drawings
Building Handover
How it works today:
Update of 3D model too long or non existing!!
CF Models

## Slide 34
3D
Construction
2D
Building not handed over
2D Detail design starts for Production Drawings
Changes in 2D reflected in 3D
Drawings sent for Construction
Construction finished
As built data sent to Detail design team
As built drawings
Building Handover
Iterative 3D Design
V1.3
V1.4
V2
V3
V4
and communicated to S-I
Changes communicated to S-I
Production
Construction
As-built
Spatial Integration Model (FBS)
How we should try to work from now:
CF Models

## Slide 35
35
CF MODELS
https://confluence.esss.lu.se/display/EIS/CF+Models
Huge effort to provide :
Overview of CF design lifecycle
Understanding of changes ( new vs old) via captures
Only produced for Target Systems
Complete overview of changes along Design Process
CF Models

## Slide 36: Connect part and LESS to FBS node
FBS
Spatial Integration
Assemble
Create LESS
SIS Request
Part: Connect part
Find system in FBS in CHESS Connect Part
Connect Reference Documents

## Slide 37: Connect part and LESS to FBS node
FBS
Spatial Integration
Assemble
Create LESS
SIS Request
Reference Documents: Connect as specification the LESS model Physical Product

## Slide 38
VR at ESS
Spatial Integration Section
Since mid September

## Slide 39
VR at ESS
Cinema Screen
Tracking System
Projector
wide angle lens
Computers
Tracking
System
Monitor
Immersive Helmet
Tracking area
ESS
Virtual Reality Room

## Slide 40
VR at ESS

## Slide 41
VR at ESS
Spatial Integration Section

## Slide 42
VR at ESS
Spatial Integration Section

## Slide 43
VR at ESS
Spatial Integration Section
Live Visualization of CAD models
Projector
Rendering Computer
Master Computer
Catia V6
Engineering 3D Aveva
Naviswork
OpenGL 3D data
TechVIZ
Graphic CARD
Wouuuu !!!
In our data we trust!!

## Slide 44
VR at ESS
Spatial Integration Section
Different applications:
Immersive Helmet
Power Wall
Engineering Design
Spatial Integration
Communication
Engineering Design
Confined/ complex Area
Safety / Training
Collective Experience
One man Experience
Safety / Training

## Slide 45
VR at ESS
Spatial Integration Section
In the last month …….
many engineering visualization with design teams
Spatial Integration Meeting
REVIEWS
Many external visits
Communication
SSM