## Slide 1: DTL FC assets overview
DTL FC CDR
Johan Norin
www.europeanspallationsource.se
13 dec 2018

## Slide 2: Diagnostic systems
Description | ESS Name | FBS
Faraday Cups (FC) | - | =ESS.ACC.B01.B04
FC-01 - PBI control group | - | =ESS.ACC.B01.B04.B01
PBI FC-01 - LEBT FC diagnostic system | LEBT-010:PBI-FC-001 | =ESS.ACC.B01.B04.B01.B01
PBI FC-01 - LEBT CT FC diagnostic system | LEBT-020:PBI-FC-001 | =ESS.ACC.B01.B04.B01.B02
PBI FC-01 - MEBT FC diagnostic system | MEBT-010:PBI-FC-001 | =ESS.ACC.B01.B04.B01.B03
PBI FC-01 - DTL1 FC diagnostic system | DTL-010:PBI-FC-001 | =ESS.ACC.B01.B04.B01.B04
PBI FC-01 - DTL2 FC diagnostic system | DTL-020:PBI-FC-001 | =ESS.ACC.B01.B04.B01.B05
PBI FC-01 - DTL4 FC diagnostic system | DTL-040:PBI-FC-001 | =ESS.ACC.B01.B04.B01.B06
PBI FC-01 - Control System | - | =ESS.ACC.B01.B04.B01.K01

## Slide 3: Faraday cup Beam Line Elements (one system)
Description | ESS Name | FBS
PBI FC-01 - DTL2 FC diagnostic system | DTL-020:PBI-FC-001 | =ESS.ACC.B01.B04.B01.B05
PBI FC-01 - DTL2 FC beamline device | DTL-010:PBI-FCD-001 | =ESS.ACC.B01.B04.B01.B05.B01
PBI FC-01 - DTL2 FC actuator | DTL-020:PBI-FCA-001 | =ESS.ACC.B01.B04.B01.B05.M01
PBI FC-01 - DTL2 FC analog front end unit | DTL-020:PBI-FCFE-001 | =ESS.ACC.B01.B04.B01.B05.KF01
PBI FC-01 - DTL2 FC water flow sensor | DTL-020:PBI-FS-001 | =ESS.ACC.B01.B04.B01.B05.BF01
PBI FC-01 - DTL2 FC water temp sensor | DTL-020:PBI-TE-001 | =ESS.ACC.B01.B04.B01.B05.BT01
PBI FC-01 - DTL2 FC patch panel | DTL-020:PBI-FCPP-001 | =ESS.ACC.B01.B04.B01.B05.tbd

## Slide 4: Faraday cup control system
Description | ESS Name | FBS
PBI FC-01 - Control System | - | =ESS.ACC.B01.B04.B01.K01
PBI FC-01 - MicroTCA Control System PBI FC-01 - FC uTCA crate PBI FC-01 - FC AMC PBI FC-01 - FC RTM | FEB-030Row:PBI-MTCA-030 FEB-030Row:PBI-AMC-031 FEB-030Row:PBI-RTM-031 | =ESS.ACC.B01.B04.B01.K01.K01 =ESS.ACC.B01.B04.B01.K01.K01.K01 =ESS.ACC.B01.B04.B01.K01.K01.KF02 =ESS.ACC.B01.B04.B01.K01.K01.KF03
PBI FC-01 - Ethercat control system PBI FC-01 – FC Ethercat crate PBI FC-01 - FC Ethercat coupler PBI FC-01 - FC Ethercat I/O module x | - FEB-030Row:PBI-ECAT-080 FEB-030Row:PBI-ECATC-080 FEB-030Row:PBI-ECATIO-tbd | =ESS.ACC.B01.B04.B01.K01.K02 =ESS.ACC.B01.B04.B01.K01.K02.tbd =ESS.ACC.B01.B04.B01.K01.K02.tbd =ESS.ACC.B01.B04.B01.K01.K02.tbd
PBI FC-01 - LEBT FC back end | FEB-030Row:PBI-FCBE-001 | =ESS.ACC.B01.B04.B01.K01.KF01
PBI FC-01 - MEBT FC back end | FEB-030Row:PBI-FCBE-002 | =ESS.ACC.B01.B04.B01.K01.KF02
PBI FC-01 - DTL2 FC back end | FEB-030Row:PBI-FCBE-003 | =ESS.ACC.B01.B04.B01.K01.KF03
PBI FC-01 - DTL4 FC back end | FEB-030Row:PBI-FCBE-004 | =ESS.ACC.B01.B04.B01.K01.KF04
PBI FC-01 - LEBT FC HV supply | FEB-030Row:PBI-HV-006 | =ESS.ACC.B01.B04.B01.K01.TA01
PBI FC-01 - DTL FC HV supply | FEB-030Row:PBI-HV-007 | =ESS.ACC.B01.B04.B01.K01.TA02
PBI FC-01 - Patch panel | FEB-030Row:PBI-PP-002 | =ESS.ACC.B01.B04.B01.K01.tbd
PBI FC-01 - MEBT FC PLC | FEB-030Row:PBI-PLC-002 | =ESS.ACC.B01.B04.B01.K01.KF09

## Slide 5: Rack overview
Description
PBI FC-01 - Control System
PBI FC-01 - MicroTCA Control System PBI FC-01 - FC uTCA crate PBI FC-01 - FC AMC PBI FC-01 - FC RTM
PBI FC-01 - Ethercat control system PBI FC-01 – FC Ethercat crate PBI FC-01 - FC Ethercat coupler PBI FC-01 - FC Ethercat I/O module x
PBI FC-01 - LEBT FC back end
PBI FC-01 - MEBT FC back end
PBI FC-01 - DTL2 FC back end
PBI FC-01 - DTL4 FC back end
PBI FC-01 - LEBT FC HV supply
PBI FC-01 - DTL FC HV supply
PBI FC-01 - Patch panel
PBI FC-01 - MEBT FC PLC
Rack information
Name: FEB-030Row:CnPw-U-007
FBS: =ESS.ACC.B01.UH01.UH14
LBS: +ESS.G01.090.5005.102.007

## Slide 6: Cable list
Cable name | User label
22B033596 | DTL-010:PBI-FC-001 HV Bias
22C033598 | DTL-010:PBI-FC-001 motion control
22B033597 | DTL-010:PBI-FC-001 Signal
22B033599 | DTL-010:PBI-FC-001 Signal
22B033589 | DTL-010:PBI-FC-001 water flow
22B033590 | DTL-010:PBI-FC-001 water temp
22B008059 | DTL-020:PBI-FC-001 HV Bias
22C008061 | DTL-020:PBI-FC-001 motion control
22B010784 | DTL-020:PBI-FC-001 Signal
22B033583 | DTL-020:PBI-FC-001 Signal
22B033592 | DTL-020:PBI-FC-001 water flow
22B033593 | DTL-020:PBI-FC-001 water temp
22B008062 | DTL-040:PBI-FC-001 HV Bias
22C008064 | DTL-040:PBI-FC-001 motion control
22B010785 | DTL-040:PBI-FC-001 Signal
22B033591 | DTL-040:PBI-FC-001 Signal
22B033594 | DTL-040:PBI-FC-001 water flow
22B033595 | DTL-040:PBI-FC-001 water temp
DTL-010
DTL-020
DTL-040
Cable lengths ≈ 38 m
Cable lengths ≈ 46 m
Cable lengths ≈ 62 m

## Slide 7: Cable overview (one system)
These cables and connectors are included in the cdb 1.2(NCL) freeze 2018-12-05.
µTCA
FCD
(BLE)
ECAT
SHV-5 Hueber Suhner
FCA
(Actuator)
Motion control - 4P19IOSHFRH
Souriau UT06128SH female
Souriau UT06128PH male
SHV-5 Hueber Suhner
Water temp - 4C22OSHF
HV
Tunnel
FEB90
TE
(Cooling water temp sensor)
FS
(Cooling water flow sensor)
FCBE
HV Bias - 1C20RG-58HV
Water flow - 2C19OSHF HeluKabel
BNC Crimp Plug Amphenol RF
FGG.2B.303.CYBD92
BNC Crimp Plug Amphenol RF
FGG.2B.303.CYBD92
Signal alt A - 1C20RG-58HV
Signal alt B - 2C22DW_Twinaxial
FCPP
(Parking patch panel)
PP
Endpoint A
Endpoint B

## Slide 8
Thank you!