## Slide 1: Experimenting with extreme cold: from fundamental science to innovative technology
ECD Oct 2019
Rich Haley

## Slide 2: Outline
Lancaster University
& Physics Department
Facilities for ULT Quantum
Science & Technology
  Clean room and nanofabrication
  Ultra low temperatures
  IsoLab
European Microkelvin Platform (EMP)
Superfluid helium-3
ULT nanoelectronics & electron thermometry
Cryofree quantum sensors & the G-SQUID

## Slide 3: Department of Physics
Founded 1964
~ 50 academics
~ 50 postdocs
~ 100 grad students
~ 500 undergraduates
Recently undergone
major refurbishment

## Slide 4: Research - major groups

## Slide 5: Research - activities

## Slide 6: Quantum Technology Centre
Superconducting quantum circuits
Semiconductor nanostructures and devices
Quantum information & cryptography
NanoElectroMechanics
2D materials
Low & ultra low T characterisation
Scanning probe microscopy
www.lancaster.ac.uk/quantum-technology
Atomic resolution on graphite in IsoLab

## Slide 7: Clean Room Nanofabrication
Class 1000 and class 100 cleanrooms
Dedicated electron-beam writer
Plasma processing
Thin-film deposition

## Slide 8: Ultra Low Temperatures Custom microkelvin “wet” refrigerators
Condensates/superfluidity
Fundamental phase transitions
Quantum fluid analogues
Nano-scale devices at ULT
Novel instrumentation
Cooling technology

## Slide 9: Ultra Low Temperatures Commercial cryo-free “dry” refrigerators

## Slide 10: IsoLab ultra-isolated lab environments
Wolfson Foundation
Garfield Weston
JP Moulton
EPSRC
LU

## Slide 11: IsoLab ultra-isolated lab environments
1. Three concrete “bunkers” sit inside a concrete “tank” (not shown) sunk into the ground.
2. The inner surfaces of the “bunkers” are covered with electrical/anechoic shielding to minimise E-M fields and air-borne vibrations.
3. 50 tonne concrete block added to each volume supported by air springs to give further vibration isolation.
4. Modular experimental floor gives access to block, but does not touch.
Unprecedented isolation from external influence
Ideal for characterising quantum-enhanced and nanoscale materials & systems
Open access for collaboration with academic and industrial partners

## Slide 12
Facilities available at
Aalto University
Basel University
CNRS Grenoble
Heidelberg University
Lancaster University
Royal Holloway UL
SAS Košice
TU Vienna
8 EMP Institutions
3 Technology Partners
6 Industrial Partners

## Slide 13: EMP Institutions
Aalto University
Heidelberg University
Basel University
Technical
University
Vienna
CNRS Genoble
Lancaster University
Slovak Academy
of Sciences
Royal Holloway
Physicalisch Technische
Bundesanstalt
Technical Research Centre of Finland
Chalmers Technical University
Industrial Partners
Technology Partners

## Slide 14
Research Overview

## Slide 15
Become a User:
www.emplatform.eu
Available Cryostats / Sample Environment:
15 Microkelvin demagnetisation refrigerators
30 dilution refrigerators (dry & wet)
Rotating cryostats, high frequencies, strong magnetic fields, clean rooms, …
User Access to EMP
Access to EMP facilities free of charge
Travel and local expenses are covered
Logistical and technical support
About EMP
Provide access to low temperatures across communities
Drive forward inter-related areas of quantum materials, nanoscience, and quantum technology
Generate knowledge, applications, and commercial opportunities

## Slide 16: Superfluid helium-3 below 1 mK - fridges & demag stages

## Slide 17: Superfluid helium-3 below 1 mK - properties and probes
Fermionic BCS condensate
Frictionless, extremely pure, “perfect liquid”
Exotic multi-phased magnetic liquid crystal
Well-understood single quantum state
Quantized superfluid circulation
Quantum phase transitions
Cosmic simulations, Kibble-Zurek, branes…
1 cm

## Slide 18: Superfluid helium-3 below 1 mK - phase transitions & cosmology

## Slide 19: Superfluid helium-3 below 1 mK - quantum turbulence

## Slide 20: Superfluid helium-3 below 1 mK - supercritical flow
Flow speeds exceeding the Landau critical velocity
AC vs DC flow
DC flow breaks the “superfluid speed limit”!?
Implications for superconductors?
?

## Slide 21: Primary thermometry of nanoelectronic devices
How does one cool a nanoelectronic sample and measure Te?

## Slide 22: Primary thermometry of nanoelectronic devices
The Coulomb Blockade Thermometer (CBT)
Current through island blocked at low T by finite charging energy.
For current to flow, either T or bias voltage V must increase.

## Slide 23: Primary thermometry of nanoelectronic devices
The Coulomb Blockade Thermometer (CBT)

## Slide 24: Primary thermometry of nanoelectronic devices
Breaking the “4 mK barrier”

## Slide 25: Primary thermometry of nanoelectronic devices
Can we get colder?
Yes! Exploit adiabatic demagnetisation of copper…

## Slide 26: Primary thermometry of nanoelectronic devices
Below 1.3mK for almost 1,000 seconds

## Slide 27
Platform
  User-friendly, adjustable, portable instrument for QT sensors
  Use new Cryofree “dry” dilution fridge push-button technology
  New materials and devices to exploit colder environment
G-SQUID
Sensors
  Low temperature QT-enhanced devices, eg. qubits, sensors
  Sensors for medical diagnostics, eg. MEG, low field MRI
  Sensors for geo-imaging, eg. oil/gas exploration, utility location
  Superconductor-based quantum information processing
CUEQS Cryofree Ultra low temperature Environment for Quantum Sensors

## Slide 28
SQUID
Sensor challenge: exploit new platform to outperform traditional magnetometers
CUEQS Cryofree Ultra low temperature Environment for Quantum Sensors

## Slide 29
Sensor challenge: exploit new platform to outperform traditional magnetometers
G-SQUID
SQUID
CUEQS Cryofree Ultra low temperature Environment for Quantum Sensors
Graphene SQUID (DC) - magnetometry
Square loop ~ 12.5 μm x 12.5 μm
Gated SGS Josephson junctions
Monolayer graphene encapsulated by boron nitride
Nb for superconducting leads
Quartz substrate

## Slide 30
9 μT ~ 230 μm2 , actual 212 μm2
Ic flux modulation
Flux modulation of voltage
620 μT ~ 3.3 μm2
Junction Fraunhofer pattern
CUEQS Cryofree Ultra low temperature Environment for Quantum Sensors

## Slide 31
Graphene-based tunable SQUIDs
APL: 10.1063/1.4981904
Changing asymmetry in Ic
Square loop ~ 50 μm x 50 μm
Asymmetric arm lengths
Gates alter Ic – can create asymmetry in Ic to counteract asymmetry in L
Change device from asymmetric to symmetric
CUEQS Cryofree Ultra low temperature Environment for Quantum Sensors

## Slide 32
Cold electronics for enhanced low noise measurements
Noise problem in measurement chain
Demand for commercial cryogenic low noise electronics
Low-frequency performance dominated by 1/f noise of amplifier second stage
Long-term plan to optimise input noise using custom fabricated FETs
 | Target | Current status
Bandwidth | DC – MHz | DC – MHz
Gain | 40 dB | ≈ 38 dB
Broadband noise (above ≈ 1 kHz) | 1 nV/√Hz | 10 nV/√Hz
1/f noise | 100 nV/√Hz @ 1 Hz | 1 µV/√Hz @ 1 Hz
 | Target | Current status
Bandwidth | DC – MHz | DC – MHz
Gain | 40 dB | ≈ 38 dB
Broadband noise (above ≈ 1 kHz) |  | 
1/f noise |  | 
CUEQS Cryofree Ultra low temperature Environment for Quantum Sensors

## Slide 33: Thank you!
Rich Haley ECD Oct 2019

## Slide 34
Become a User:
www.emplatform.eu
Available Cryostats / Sample Environment:
15 Microkelvin demagnetisation refrigerators
30 dilution refrigerators (dry & wet)
Rotating cryostats, high frequencies, strong magnetic fields, clean rooms, …
User Access to EMP
Access to EMP facilities free of charge
Travel and local expenses are covered
Logistical and technical support
About EMP
Provide access to low temperatures across communities
Drive forward inter-related areas of quantum materials, nanoscience, and quantum technology
Generate knowledge, applications, and commercial opportunities