## Slide 1: Analytics for Cold Hydrogen Isotopologues at the Tritium Laboratory Karlsruhe
Robin Größle, Bennet Krasch, Alexander Kraus, Sebastian Mirz, Florian Priester, Marco Röllig, Stefan Welte
robin.groessle@kit.edu
Spectrum taken with a DVD spectrometer
and mobile phone camera
Photo from a multiphase mixture of Neon and D2

## Slide 2: Outline
The Tritium Laboratory Karlsruhe
Cryogenic distillation for isotope separation
Direct ortho-para measurement for distillation and catalyst investigation
IR absorption spectroscopy of liquid Hydrogen isotopologues
New challenges at UCN Sources
Tritium trace detection and monitoring

## Slide 3: The Tritium Laboratory Karlsruhe

## Slide 4: Three isotopes of hydrogen
Hydrogen (H)
Deuterium (D)
Tritium (T)
stable
unstable
(radioactive)
stable
H2
T2
D2
HD
HT
DT
n
p+
n
p+
n
p+
ortho/para
ortho/para

## Slide 5
Tritium Laboratory Karlsruhe (TLK)
Tritium Laboratory Karlsruhe
Commissioning 1993
~50 persons
Licensed for 40 g of tritium
Actual R&D focus on:
  Tritium fuel cycle for fusion reactors
  KATRIN Experiment
Karlsruhe Institute of Technology Campus North

## Slide 6
The KATRIN Experiment
Tritium throughput 40g /day

## Slide 7
Fusion power using tritium
Iter.org
Fusion reactor ITER
T ~ 100 Mio. °C
Tritium throughput in a power plant >10 kg /day

## Slide 8: Tritium Handling Basics
Tritium is:
“highly reactive”,
radio active and
expensive.
closed tritium cycle
This means:
high vacuum leak tight,
full metal,
tritium recovery and
isotope separation
systems.
And everything in a second barrier.

## Slide 9: R&D topics at the TLK
Tritium and Hydrogen analytics
Interaction of Tritium with other materials:
  Ad-, physi- and chemisorption on the surface
  Diffusion through the material
  De-solving in the bulk
  Chemical and ortho para catalysis
Tritium cycle systems
  Water detritiation by liquid phase catalytic exchange
  Isotope separation by gaschromatography or cryogenic distillation
  Tritium extraction from Lithium Lead (basics and technology)
  Tritium and Hydrogen traps and storage (metal hydrides,…)
  Tritium diffusion through first barriers (heat exchanger,…)

## Slide 10: cryogenic distillation for isotope separtion

## Slide 11: Isotope separtion by cryogenic distillation
condenser
2
3
4
reboiler
R&D activities include test of different column geometries, packing materials and analytic systems.
~20 K
~25 K
reboiler
condenser
column
cold box
molecular composition measured with QMS

## Slide 12: Producing HD samples above the thermal equilibrium
HD distillation (example)
  80% H and 20% D
  Maximum HD concentration by catalysis: 32 %
  Maximum HD concentration in CD column: >94 %
  HD concentration in 10 mol sample: 82 %
Samples used for cross calibration of
  QMS
  IR on liquid phase (~20 K)
  Raman in gas phase (~293 K)

## Slide 13: Direct ortho-para measurement for distillation and catalyst Investigation

## Slide 14: Raman spectroscopy on hydrogen isotopologues
Raman
Linear (gas):
intensity:
position:
process:
Raman scattering

## Slide 15: Producing D2 para samples above the thermal equilibrium by distillation
Recent measurements:
First test measurements of D2 distillation (example):
Feed n-D2 with 33% para
Para concentration:
  Feed: 33%
  Top: 27%
  Bottom: 41%
Highest para concentration yet 49.9%
Preliminary
BA Daniel Kurz
Raman spectroscopy ideal for molecular composition and direct ortho para measurement.
Four systems in operation, two of them in 24/7 operation
Main molecular composition diagnostic tool for KATRIN
Ortho para catalyst kinetics under investigation
spectra shifted for visualization

## Slide 16: Efficient hydrogen liquefaction
Ortho-para catalyst
Heat exchanger
Cooling agent
n-H2
e-H2
He, Ne…
temperature
[Wilhelmson2018]

## Slide 17: Experimental characterisation of o-p-catalysts
pressure
temperature
flow
material
Notes: KLÄREN: Was können wir messen, was macht die Simulation
Am besten hier schon anbringen

## Slide 18: Ortho-para-conversion kinetics of H2 on Fe2O3 (77K and 300K)
time (h)
0
25
50
75
100
125
Ortho-para fraction (1)
0.3
0.4
0.5
0.6
0.7
ortho
para
65
65.5
66
66.5
67
0.3
0.4
0.5
0.6
0.7
Notes: GG adsoprtion desorption (T, p_part)
Sorption and conversion not visible
Reaktion 1. Ordnung für Fe2O3

## Slide 19: IR absorption spectroscopy of liquid Hydrogen isotopologues

## Slide 20: FTIR-absorption spectroscopy on liquid hydrogen isotpologues
precision: 0.01 cm-1
resolution: 0.4 cm-1
spectral range:
~2000 to ~10000 cm-1
TApIR

## Slide 21: IR-spectroscopy for o-p-conversion investigation in liquid hydrogen
IR-spectrometer
detector
cryo cell
He
Q2
Saphire windows
cryo cell

## Slide 22: IR Absorption on dense Hydrogen isotopologues
Collision induced excitation:
rotational (J) and vibrational (v)
excitation
Dimer formation:
rotational (JA, JB), vibrational (vA, vB) and dimer rotation (L) excitation
Chrystal lattice (hcp):
Phonon excitation (v:P)
Single molecule:
Due to symmetry
very weak transitional matrix elements
and no IR absorption
IR absorption spectra of dense hydrogen is dominated by molecular interactions.
due to symmetry constrain
nuclear spin is coupled
to rotation
-> excludes ∆J = ±1
|↑↓⟩ + |↓↑⟩
|↑↓⟩ − |↓↑⟩
|↑↑⟩
|↓↓⟩
ortho para H2, T2 (D2 quite similar):
symmetric | antisymmetric
odd J even J

## Slide 23
IR absorption spectrum 82 % HD (liquid, ~20 K)

## Slide 24: IR absorbance spectrum of a D2-HD-H2 mixture

## Slide 25: Calibration for H2, D2 and HD concentration
absolute calibration better than 5%
limited due to natural ortho-para-conversion
HD calibration limited at 50% of HD (equilibrium)
Goal: calibration against all six isotopologues and three ortho para ratios
 |  |  | a2,Q2 | a1,Q2
 | (cm-1) | (cm-1) | (cm-1) | (cm-1)
D2 | 3006 | 3120 | 61.+/-7 | 131.+/-6
HD | 3964 | 4050 | 172.+/-24 | 82.+/-10
H2 | 4654 | 5037 | 177.+/-29 | 215.+/-21
 |  |  | a2,Q2 | a1,Q2
 | (cm-1) | (cm-1) | (cm-1) | (cm-1)
D2 | 3006 | 3120 | 61.+/-7 | 131.+/-6
HD | 3964 | 4050 | 172.+/-24 | 82.+/-10
H2 | 4654 | 5037 | 177.+/-29 | 215.+/-21

## Slide 26: IR-spectroscopy for o-p-conversion investigation in liquid hydrogen
He
Natural ortho-para-conversion in liquid H2: t1/2 ~days

## Slide 27: IR-spectroscopy
IR spectroscopy of liquid, solid and gaseous hydrogen isotopologues has a high potential for very different applications
The challenge is the complex calibration since IR spectroscopy is sensitive on al kind of interactions
Our goal is a full calibration against all six hydrogen isotopologues and ortho para ratios

## Slide 28: New challenges at UCN Sources

## Slide 29
Bulk and surface properties of the D2 crystal
Accurate measurement of impurities (mainly HD and DT)
Crosscheck total cold neutron flux models by tritium production rate
Further isotopic purification?

## Slide 30: Tritium trace detection and monitoring

## Slide 32: Oxidation and Liquid Scintillation Counting
A: sample with tritium
B: break through control
stack
“air”
A
B
reactor
T2
HTO
H2O
T2
T2
T2
T2
T2
T2
H2O
H2O
H2O
H2O
Pro: Very low level of detection
Con: high effort for each measurement
Main challenge: building up a reproduce able process from oxidation to extraction
Sample A and B transferred to the LSC-system
Oven for bake out
sample
A
B

## Slide 33: BIXS Beta Induced Xray Spectroscopy
Benefits:
In-line measurement
No waste production
Low noise silicion drift detector (SDD)
Detector volume
Au-coated be-window
Sample volume

## Slide 34: BIXS Beta Induced Xray Spectroscopy
Integral count rate is linear over total pressure
characteristic peaks in spectrum
Several systems in operation: TRACE, Triade, KATRIN WGTS monitoring
New development: optimization for tritium traces in D2

## Slide 35: Conclusion
Raman: monitoring of molecular composition and ortho para ratio
IR: samples with high density, sample composition and studies beyond the sample composition
BIXS: inline monitoring of absolut Tritium content in gas or on/in surfaces
Ox and LSC: offline system to measure traces of tritium in gas, solid and liquid sample

## Slide 36: Thank You for Your Attention!
KIT IKP-TLK
Acknowledgements to the whole TLK team

## Slide 37
IR Spectroscopy
Mirz, S. et al. Fusion Science and Technology, 71(3):375–380, 2017.
Mirz, S., Größle, R ., Kraus, A., Analyst, 144:4281-4287, 2019.
Mirz, S. Investigation of Van-der-Waals Clusters of Liquid and Gaseous Hydrogen Isotopologues via Infrared Absorption Spectroscopy, Disstertation, Karlsruhe, 2019,
DOI: 10.5445/IR/1000097484
T. M. James et al. Applied Spectroscopy. 67:8 (2013).
Raman Spectroscopy
Fischer, S. Commissioning of the KATRIN Raman system and durability studies of optical coatings in glove box and tritium atmospheres. PhD thesis: Karlsruhe Institute of Technology, 2014.
Rupp, S. Development of a highly sensitive hollow waveguide based Raman system for the compositional analysis of the KATRIN tritium source gas. PhD thesis: Karlsruhe Institute of Technology, 2016.
M. Schlösser et al. Fusion Science and Technology. 67:3 (2015).
First Calibration of an IR Absorption Spectroscopy System for the Measurement of H2, D2, and HD Concentration in the Liquid PhaseR Größle, A Kraus, S Mirz, S Wozniewski
Fusion Science and Technology 71 (3), 369-374
Cryogenic Distillation
Review of the TLK Activities Related to Water Detritiation, Isotope Separation Based on Cryogenic Distillation and Development of Barriers Against Tritium PermeationI Cristescu, A Bükki-Deme, R Carr, N Gramlich, R Groessle, C Melzer, ...
Fusion Science and Technology 71 (3), 225-230
BIXS
M. Röllig, F. Priester, M. Babutzka, J. Bonn, B. Bornschein, G. Drexlin, S. Ebenhöch, E.W. Otten, M. Steidl, M. Sturm, Activity monitoring of a gaseous tritium source by beta induced X-ray spectrometry, Proceedings of the 27th Symposium On Fusion Technology (SOFT-27); Liège, Belgium, September 24-28, 2012, Fusion Engineering and Design, Vol. 88, Issue 6-8, Pages 1263-1266 (2013), available online (in press), http://dx.doi.org/10.1016/j.fusengdes.2012.11.001
S. Ebenhöch, S. Niemes, F. Priester, M. Röllig, Investigations of the applicability of a new accountancy tool in a closed tritium loop, ISFNT 2015, Fusion Engineering and Design
M. Röllig, S. Ebenhöch, S. Niemes, F. Priester, M. Sturm, Development of a compact tritium activity monitor and first tritium measurements, Fusion Engineering and Design
M. Röllig, F. Priester, Galet - Benchmark of a Geant4 based application for the simulation and design of Beta Induced X-ray Spectrometry Systems, Fusion Engineering and Design, 109–111 (2016) 684–687