## Slide 1: Sample Environment Workshops
Sample Environment STAP
2 April 2019

## Slide 2: Buildings hand-over (Labs & Workshops)
D04 | 04-May-20
D07 (Basement) | 15/Aug/19
D08 | 26/Feb/21
D04
D08
D07
E03
E04
E03 | 16/Dec/19
E04 | 02/Dec/19
E buildings (Labs)
D buildings (Labs)
18.01.2021
03.06.2021
15.08.2019
10.05.2021
Sample environment workshops

## Slide 3: Organisation of Workshops
SAD2CF – CF contact (Monika)
BR – Building Responsible
AR – Area Responsible
SME – Subject Matter Experts
E03 – Alex Holmes
D04 – Harald Schneider
D08 – Malcolm Guthrie

## Slide 4: E03

## Slide 5: Questions for STAP
Layout reasonable?
Utility supplies, enough?
Cranes
  Beam vs XY, investment priorities

## Slide 6: Use cases E03 100
Sample environment system preparation
Cryomagnet testing (requires non-magnetic area)
Cryogen filling
Furnace testing and maintenance
Alignment
Pumping and leak checking
Wiring and soldering
Welding and brazing

## Slide 7
Non-magnetic floor + 2 columns

## Slide 8
2 cranes installed

## Slide 9: Use cases E03 110
Mechatronics development
Soldering (hot work)
Pressure assembly & testing
Storage
Destructive testing
Mechanical workshop

## Slide 12: E03 - MESI

## Slide 13: E03 - MESI

## Slide 14: D04
Harald Schneider

## Slide 15
D04.100.2021 SE lab
58 m2
Main entrance
Crane beam
Outside LN2 tank with filling station for dewars
The FLUCO habitat

## Slide 16
Lost space, due to
LN2 transport
Crane beam
Fume hood cabinet,
e.g. Exploris type
Gas cylinder
Storage 3,4 cyl.
3 workplaces : 2 w. chemical benches , 1 for office work
“Island” bench for “standing”work, w. furnaces,spin coater,
Electro chem. Testcells,balances,temporary. setups. Height 900mm
Window front/bench,heater elements
Test area with laser protection curtain, class 3a/3b

## Slide 17
To extraction
2 x Media supply,[D]
Sink,tap water cold/warm, drain
3 workplaces : 2 w. chemical benches , 1 for office work
With bench top media supply [C]2x
Media supply column from top [A]
Media supply bench top [B], both sides
from media supply column [A]
To mobile extraction
Media supply,[E]
Office/IT
Main electrical supply box
Media supply,[F]
Protected corners
For 10l gas cyl.
Temporary sp. gases
To mobile extraction

## Slide 18
Use cases:
Electrochemistry measurements, Island
Calibration measurements with moveable test rack
Cell development, tests. Island & workbenches
Prototyping & mounting of Liquid-Solid/Liquid-Liquid/user cells. Island
Ashering of old samples , Muffel oven. Island
Troughs/Longmuir troughs development, tests. Island
Standard setup for SANS, Euro-palette – tests/calibration/development – Laser curtain test area
Preparation/calibration/of gas handling systems and gas manifolds. Island
Preparation of gas stream devices. Island
Testing and risc analysis of user devices and cells/chambers. Island
Development/test of ortho-para-generator – Laser curtain test area
Method development DLS/SLS/DWS/WLS/RAMAN/FIR… - Laser curtain area
Characterizing updating LPP. Laser curtain area
Installing, testing, calibrating, prototyping of modules for SANS mag. Laser curtain area
Preparing special sample cells with desktop laser. Moveable desk
Various measurements/devices-balance/ovens/stirrer/spin coater/autoclaves/HPLC..Island
………

## Slide 19
Sink/tap water
Mains el.
supply
Test field with laser
Protection curtain
Three workplaces

## Slide 20: B02
Anders Pettersson

## Slide 21: B02 building. SE Workshop.
B02, SAD-SE 170sqm

## Slide 22: B02 SE workshop
Additional SE workshop area
Mainly intended for development and long term testing
Includes a non-magnetic area
Close to main workshop
170 sqm
Estimated access in Q1 2021

## Slide 23: B02 building overview