## Slide 1
Accepted for publication JINST, September 2019

## Slide 2: HEIMDAL@ESS
HEIMDAL
Thermal powder diffractometer for chemistry, crystallography and material science studies

## Slide 3: The HEIMDAL powder diffraction (PD) detector
Requirements for the powder diffraction detectors:
Position resolution: ~3 mm (H) x 7 mm (V)
High-rate capability
Efficiency > 50% at 1.8 Å
HEIMDAL CTV document, courtesy Dan Mannix
Powder Diffraction detector
beam
Jalousie technology selected for the PD detectors.
Neutron detectors for the ESS diffractometers
I. Stefanescu et al., JINST 12 P01019, 2017.

## Slide 4: The HEIMDAL PD detector
r = 80 cm
Powder sample
52 cm
64 cm
(Voxalized) active area
Readout, B4C shielding
HEIMDAL Jalousie segment
200+ detector segments required for the full scope

## Slide 5: The HEIMDAL Jalousie detector
5
~ 52 cm
Common segmented cathode
10 nominal interactions of the incoming neutron with the 10B4C layer  ε>50% at 1.8 Å.
10B4C lining

## Slide 6: Spatial resolution of the HEIMDAL detector in the scattering plane (θ)
6

## Slide 7: Spatial resolution of a MWPC
7
Anode wires, > 1 kV
10B4C-lined cathode plane, 0 V
Cathode plane, 0 V
Field wires, 0 V
neutron
⦵
⨁
⨁
⦵
Spatial resolution of a gas detector is determined by the geometry of the counter (wire pitch, strip size, anode-to-cathode distance, etc.), voltage, physical and chemical properties of the gas  interface GEANT4 - Garfield needed

## Slide 8: The gas-voxel model for the Jalousie detector
voxeli
voxeli+1
o
o
o
o
n + 10B  7Li + α
Simulation strategy: model the active area of the detector as a collection of trapezoidal gas voxels that resemble in shape and position the readout voxels in the real detector.
voxeli = interaction voxel
rc, θc, φc
2 (counters) x 32 (wires) x (64 (strips) = 4096 voxels/detector segment
Data analysis with

## Slide 9: Validation of the simulation strategy
Gas-voxel model validated with data obtained in experimental tests with collimated beam and an early prototype of the Jalousie segment.
beam
Scans along X-axis = strips  2θ resolution
Scans along Y-axis = wires  TOF resolution

## Slide 10: Validation of the simulation strategy
Experimental data from G. Modzel, PhD thesis, Univ. of Heidelberg, 2014, and M. Henske et al., NIMA 686(2012) 151.
FWHM = 6.4 mm
FWHM = 6.31(9) mm
FWHM = 11.9 mm
FWHM = 12.06(3) mm

## Slide 11: Spatial resolution of the HEIMDAL detector in the scattering plane (θ)
FWHM = 2.74(4) mm
Requirement: 3 mm

## Slide 12: GEANT4 simulations for the Jalousie detector for HEIMDAL
Δd/d = instrumental resolution
(resolution function)
Δd
NaCaAlF diffraction pattern
At spallation sources: Δd/d = Sample ⊗ Instrumentation
moderator, beamline components, size of the detector pixel
Goal of this simulation work is to create the detector model that can be used to investigate the performance of the detector in a virtual physics experiment and understand the detector contribution to the instrumental resolution function.

## Slide 13: Investigation of the detector contribution to the instrumental resolution function
n
ISIS TS2 Moderator
Slit
NaCaAlF sample
Lms
Lsd
~ 41 m
Used the Vitess model for WISH@ISIS to simulate a generic diffraction instrument and the trajectories of incident neutrons scattered by a NaCaAlF sample.
 Use the Vitess trajectories as input file for GEANT4 to simulate the diffraction spectra for the HEIMDAL-Jalousie detector, DREAM-Jalousie detector and a WISH-like detector consisting of pressurized He-3 tubes with Φ=8 mm.

## Slide 14: Investigation of the detector contribution to the resolution function
GEANT4 for the HEIMDAL-Jalousie detector
GEANT4 for the WISH-like detector
sample = Vitess trajectories for NaCaAlF

## Slide 15
Vitess trajectories + WISH-like GEANT4 detector model (2 m)
NaCaAlF experimental (WISH)
Study of the contribution of the detector contribution to the resolution function

## Slide 16
Vitess trajectories + WISH-like GEANT4 detector model (80 cm)
Vitess trajectories + HEIMDAL Jalousie GEANT4 detector model (80 cm)
Study of the contribution of the detector contribution to the resolution function

## Slide 17
WISH-like
(3He-tube, 8 mm diameter)
HEIMDAL
(Jalousie technology)
Study of the contribution of the detector contribution to the resolution function

## Slide 18
WISH-like
(3He-tube, 8 mm diameter)
HEIMDAL
(Jalousie technology)
Study of the contribution of the detector contribution to the resolution function
results support the choice of the Jalousie detector technology for HEIMDAL

## Slide 19: Done and will do
This project was triggered by my personal interest in the Jalousie technology. The simulations results show that, indeed, the concept works and the proposed baseline design for the HEIMDAL detector is close to the optimal one.
The MAGIC instrument will also use the Jalousie detector technology to collect the Bragg peak from single-crystals, these results also apply to the MAGIC detector.
investigate the efficiency of the HEIMDAL Jalousie, add more beamline components and investigate the background due to scattering, etc.

## Slide 20: The Jalousie technology for HEIMDAL
HEIMDAL PD detectors
beam
beam
Jalousie technology (same as for DREAM and MAGIC) selected for the PD detector.
The detector will be delivered by the company CDT from Heidelberg, Germany.
CTV for the detector system initiated in May 2019.