## Slide 1: Change: Level 1 SEE floor mount dimension
XL exclusion
volume
500mm
BEAM
600mm
L1 Flange mount (ø1000)
ø800 mm
L1 floor mount (ø800)
Sample-environment
equipment
Some large equipment will have both floor and flange mounts permanently installed.
Instrument design must accommodate both
CSPEC collimator clashes with ø800mm “Level 1” floor mount flange
So, propose to change interface:
Will reduce size to < ø700mm
this one!