## Slide 1: Electrical/Network/Services/Utilities IKON 17
Gabor Laszlo
NSS Lead Instrument Engineer
www.europeanspallationsource.se

## Slide 2: Utilities outside instrument envelope
ESS installs all the racks
Chopper
Power distribution
Detector/Beam monitor
Motion Control
v
s
Cooling skid
Pumps
Reference document: ESS-0403282
Schematic picture!
s
v
v

## Slide 3: Utilities outside instrument envelope
Power substation
ESS installs Power distribution network
Cable trays
Routing and connection with Distribution cabinets, pumps, skids
v
v
s
Reference document: ESS-0403282
Connection between racks and Distribution cabinet

## Slide 4: Utilities outside instrument envelope
Power substation
ESS installs cooling pipes to skid(s) and cave connector
v
v
s
s
ESS Cooling
Reference document: ESS-0403282

## Slide 5: Utilities outside instrument envelope
Power substation
ESS installs and connects Networks
EPICS
Detector
Diagnostics
Sample environment (?)
v
v
s
s
ESS Cooling
ESS Networks
Reference document: ESS-0403282
ESS Compressed Air
ESS installs compressed air connectors
Timing
PSS
LAN

## Slide 6: Utilities outside instrument envelope
Power substation
ESS installs In-bunker infrastructure
Cable trays, consoles
Routing cables and pipes with overhead connectors
v
v
s
s
Reference document: ESS-0403282
ESS Networks
ESS Compressed Air

## Slide 7: Utilities outside instrument envelope
Power substation
ESS installs cave utility connections
Containment ventilation
Fume hoods
v
v
s
s
Reference document: ESS-0403282
ESS Networks
ESS Compressed Air
Containment
Ventilation
Helium recovery
Fume hoods
Sprinkler system
Helium recovery
Sprinkler water,
(Evacuation signal)
ESS Cooling

## Slide 8: Utilities inside the instrument envelope
Power substation
ESS installs
PSS
Lighting and power points
Power and signal cables for vacuum
v
v
s
s
Reference document: ESS-0403282
ESS Networks
ESS Compressed Air
Containment
Ventilation
Helium recovery
Fume hoods
ESS Cooling
Sprinkler water,
(Evacuation signal)
Vacuum gauges and hoses
Grounding bars

## Slide 9: In bunker infrastructure
The detailed model for all the instruments is being developed.
The first version for iteration will be shared during the next month.
The number of the model is LESS-0047079
Reference document: ESS-0403282

## Slide 10: Questions?

## Slide 11
Thank you!

## Slide 13: ESS Facility Infrastructure and utilities 1.
Relevant models, drawings, reference documents
Conduits
Floor penetrations
ESS-0346214

## Slide 14: ESS Facility Infrastructure and utilities 2.
Standard ESS racks (To be detailed…)
Conventional Power
E01 connections
E02 connections
D03 connections

## Slide 15: ESS Facility Infrastructure and utilities 3.
Instrument Power
Ventilation System
  Conventional
  Containment (Rad.waste)
  Fume hoods (Chemical waste)

## Slide 16: ESS Facility Infrastructure and utilities 5.
Cooling water system
Deionized water
Compressed air
Nitrogen
Deionized
  water (d25)
Cooling
  water (d40)
Nitrogen (d25)
Comp. Air (d25)
Klinger ball valve, Type KHA-SL

## Slide 17: ESS Facility Infrastructure and utilities 6.
Argon gas
Liquid Helium
Helium gas
Hydrogen
Vacuum
Sprinkler system
LAN and ICS Networks