## Slide 1: Remote Handling Update
Erik Nilsson
Mechanical Engineer, Chopper Group
European Spallation Source ERIC
2019-09-10

## Slide 2: Overall Status
Several instruments have had IDR and sub-TG3 showing good design considerations for RH systems.
Updated/Clarified information on
  Bolts
  Pneumatic connectors
  https://confluence.esss.lu.se/display/SD/NSS+Remote+handling+Homepage
Slow/no progress on tooling.

## Slide 3: Developments
Development over number of iterations with supplier and ESS Vacuum group.
  Special thanks to Ralf Huber for handling most of the contacts.
Model available in ESS-0407102.
Seal and basic mechanics tested.
Contact details to supplier provided upon request.
Remote Handling Flange

## Slide 4: Developments
Work in progress.
Generic design to adapted for each situation.
Mounted on cable ladder
More information to be released shorty on confluence.
Connection plate

## Slide 5: Developments
Work platform
Movable platform concept
Bridgewalker concept
Bridge concept
Preliminary design performed during spring.
PDR May 22nd.
PDR report available in ESS-1158238.
Three main concepts evaluated.
Conclusions
Movable platform concept is the preferred long time solution. However, to many interfaces, rules and operational requirements are unclear to motivate the investment at this stage.
A simpler bridge concept will be deployed during the early period of ESS to evaluate the operational methods and feed into the design of the movable platform.

## Slide 6: Worked Examples
ESTIA
LOKI

## Slide 7: Thank you for your attention https://confluence.esss.lu.se/display/SD/NSS+Remote+handling+Homepage Questions?
Notes: Add extra slides on what we are looking at.