## Slide 1: TSS V&V
Atefeh Sadeghzadeh
Control engineer – Target safety and control
www.europeanspallationsource.se
19-04-05

## Slide 2: Outline
Purpose
Verification
Validation
Standards and ESS frameworks

## Slide 3: Purpose
A base for further detailed verification and validation activities
Templates standards and platforms identified

## Slide 4: Verification
The aim of verification activities is to inform managers, testers, and developers about some key issues of the testing process and to demonstrate that systems perform as expected.
Software test: verifies that all TSS software meets the specific functional requirements.
    Software simulation
    Software integration
Factory Acceptance Test (FAT): verifies that the TSS manufactured equipment meets the specified design. The FAT may be performed by the Manufacturer or ESS as applicable.
Factory Integration test (FIT): integration of TSS hardware and software will be verified. Verifies that the TSS equipment approved during FAT, including downloaded software, can be integrated and perform the TSS functional requirements. The FIT is performed off the site.

## Slide 5: Validation
During this phase, the TSS will be validated through inspection and testing to assure that the installed and commissioned TSS meets all requirements.
Site Acceptance Test (SAT): validates that the TSS can perform its functional requirements in its operational environment. SAT of installation shall be performed of installer and is a pre-requisite for further SAT. The SAT shall be performed by ESS on the site.
Site Integration Test (SIT): validates that TSS system and the interfaced systems work when integrated on the site.

## Slide 6: Standards and Frameworks
IEC 61511-1:2016, Functional safety – Safety instrumented systems for the process industry sector – Part 1: Framework, definitions, system, hardware and software requirements
SS-EN62381, Automation systems in the process industry-Factory acceptance test (FAT), site acceptance test (SAT), and site integration test (SIT)
ESS-0117128, ESS handbook for system verification
ESS-0094204, ESS Guideline for FAT and SAT
ESS-0113711, Site Acceptance Test (SAT)
ESS-0113710, Factory Acceptance Test (FAT)
ESS-0015433, ESS Rules for electrical design
ESS-0145268, Target Safety System Configuration Management plan