## Slide 1: ESS Quality aspects
Mattias Skafar
Head of Quality Division
European Spallation Source ERIC
2019-10-14

## Slide 2
ESS expectations
Consequences
Execution of quality activities
Delivery

## Slide 3: Fundamental questions
Do we want to be compliant with applicable laws?
  National and European legislation, standards and directives
Do we want to have a facility that we can up-date and repair with high availability?
  Drawings, P&ID, material certificates, test/inspection reports, manuals etc.
Do we want to have a safe and reliable high quality user program?
  Safety/risk assessment including mitigations
CE marking
Requirements
Technical file
Safety file

## Slide 4: Quality Control

## Slide 5: ESS Expectations
ESS is the end customer and plant owner
  This result in expectations
These expectations are applicable for all:
  ESS
  IK partners
  Sub contracted scope, ESS or IK direct procurement

## Slide 6: ESS Expectations
ESS expect the delivering organisation to take full responsibility of any delivered item
  during all phases of its lifecycle up to delivery and final acceptance
All deliveries have manufacturing requirements and demands on documentation
  To demonstrate compliance
  Even SEP “Sound engineering practice” equals a set of requirements
ESS is available for any questions or support

## Slide 7: Consequences – if not fulfilled
If the delivered system/ component/ part doesn't meet
  relevant standards and quality/safety requirement,
  and is delivered with relevant documentation
The consequences can have a dramatic impact on:
  Time
  Cost
Any additional and unplanned work will overload the organisation and resources
  which then can not focus on planed tasks

## Slide 8: Execution of Quality work
ESS expectations is that the partner:
  Plan Quality assurance
  Perform planed Quality assurance
  Demonstrate performed quality work
First Science 2023
Plan
Perform
Demonstrate
8

## Slide 9: Execution of Quality work
Plan Quality assurance
  Prepare Project Quality Plan (PQP)
    Define all aspect to reach an acceptable deliverable
    Processes/Inspections plans/etc….
    Reviews and test programs
  List of applicable requirements and standards
  Agree with ESS up front
Plan

## Slide 10: Execution of Quality work
Perform planned Quality assurance activities
  Planned Verification & Validations
  Planned Whiteness points, ESS invited as optional
  Planned Integrated System Verification(ISV) and FAT
  Ensure compliance towards functional specification
Demonstrate performed quality assurance by quality records
  Inspection reports, Non Destructive Testing, etc.
  Non conformity reports (deviation from requirement shall be listed)
  Defined quality acceptance criteria is met
  Summarising document including Compliance statement from the partner
Perform
Demonstrate

## Slide 11: Information flow
From ESS stakeholders to External Providers
IKC LQR
ESS LQR
ESS QA/QC
External provider
QAC
IP
Info
Info
Info
Technical annex
Requirements
Project Quality Plan
Quality Acceptance Criteria
Contract
Requirements
Standards
Inspection plan
LQR – Local Quality Representative IP – Inspection Plan (securing QAC), third party body
QAC – Quality Acceptance Criteria, based on key requirements ESSMS – ESS Management System
ESSMS
Methods
Ways of Working
Requirements
Stake-holders

## Slide 12: Information flow
Maint.
Operations
Archiving
Config.
Mngr.
External providers to ESS stakeholders
IKC LQR
ESS LQR
External provider
LQR – Local Quality Representative IR – Inspection Report (securing QAC), third party body
QAC – Quality Acceptance Criteria, based on key requirements DoC – Declaration of Conformity
IR
Info
Info
Info
Verification & validation
Inspection reports
NCR´s
Technical documentation
DoC
Complete Technical file
Instructions
NCR´s
Declaration of Conformity
Final doc.
Content Mngr.
ESS QA/QC

## Slide 13: Before Delivery
All quality documentation shall be sent to ESS
  In a reviewed and approved state
  Summary document including your statement of compliance and your assessment of approved doc.’s
  Summary of NCR (non conformity reports) including justification for acceptance
  Include and send all manufacturing documentation
ESS will review the documentation and, if OK, authorise shipment of deliveries.
  If any re-work is required prior to shipment it is more efficient to do it before delivery at ESS.
The key success factor is Interaction

## Slide 14: Declaration of Conformity vs. Intellectual Property
Option 1. CE-mark, IKC as Manufacturer
Option 2. “As if”, ESS as Manufacturer
Hard ware
Technical file, access on demand
Risk assessment
Manual
Declaration of Conformity *
IKC
ESS
Technical file, all tech. doc.
Risk assessment
Manual
Compliance statement from IKC
Declaration of Conformity**
ESS
* Signed by IKC, Responsibility and Intellectual Property resides with IKC
** Signed by ESS, Responsibility and Intellectual Property resides with ESS
Hard ware
Notes: Include analysis/simulations of magnets

## Slide 15: Quality Program – Current situation
Interaction with ESS organisation and In-Kind collaborators
IKC QA/QC
SEC QA/QC
IKC QA/QC
IKC QA/QC
IKC QA/QC
IKC QA/QC
ACC. QAC
TD QAC
ICS QAC
NSS QAC
CF QAC
ESS QA/QC
Situation today:
Unclear requirements
Project Quality plan, no details
Limited interaction with WPM
Low or no contact with IKC
No contact with Ext. Providers
Limited insight in tech. doc.
Low focus on Inspection plan
No witness points
No Inspection reports
Poor welding results
No traceability on material
Unknown Welder qualif.
Visual FAT
No Pre-shipment insp.
Few receiving inspections
Insufficient Installation insp.
No centralised NDT
Incomplete Final doc.
Centralise Budget and resources
Q-co-ord.
QC-mech. co-ord.
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
Quality Division - Little or no interaction
Limited interaction
INFRA QAC

## Slide 16: Quality Program – Future
IKC QAC
SEC QAC
IKC QAC
IKC QAC
IKC QAC
IKC QAC
ESS QAC
Quality Control Actions:
Allocate requirements
Project Quality plan
Inspection plan
Witness points
Inspection reports
Review tech. doc.
WPQR/WPS
Base Material cert.
Filler material cert.
Welder qualification
Weld lists
NDT
FAT
Installation inspections
Review of final doc.
Pre-shipment insp.
Receiving inspections
SAT
PMT
Q-Co-ord.
QC-mech. Co-ord.
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
External provider
ACC. QAC
TD QAC
ICS QAC
NSS QAC
CF QAC
INFRA QAC
QAC
EPQR

## Slide 17: CE marking at ESS
As of today two performed CE markings at ESS
Ion Source & LEBT
STUBlift

## Slide 18: Requirements hierarchy
1. Directive
Directives that stipulates legal demands on a product. These must be followed completely. Do note that these most often a pure legal documents with little technical description as such.
2. Laws & Regulation
The laws and regulations are built on the stipulated directives by each country or region that has the legislative right. These documents are usually still quite legal but with different levels of technical scope. Example is the Swedish AFS system which’s regulations is based on the European Directives.
3. Codes & Standards
Codes and standards are technical documents that consists of technical definitions and guidelines that function as instructions for designers/manufacturers and operators/users of equipment. A code is a standard that has been adopted by one or more governmental bodies and is enforceable by law.
4. Contract Requirements
It must be clearly stated that any client can require special demands that far
exceeds normal requirement, but they cannot be in conflict with the laws and regulations and therefore not always fully applicable.

## Slide 19: Thank You for your time!