## Slide 1: Downstream of the Readout Master
Morten Jagd Christensen
Data Management and Software Centre
Experiment Control and Data Curation

## Slide 2: Event Formation Unit
nexus file writer
file writing
live reduction +
visualisation
daquiri
visualisation
commisioning
visualisation
readout
Kafka
event formation
DG
raw data
EFU receives readouts
EFU transmits events {t, pixelid}

## Slide 3: EFU Input / Output
+
=
... {tn, pn}, {tn+1, pn+1} ...
Readout Data
Algorithms
Neutron Events

## Slide 4
Instrument
Mapping

## Slide 6: Instrument Mapping
Readout Backend
R0
R1
R2
R3
R4
R5
R6
R7
R8
R9
R10
R11
bank 1 vert 1200 R – 128 tubes
bank 1 vert 1200 L – 128 tubes
bank 1 horiz 1200 T – 80 tubes
bank 1 horiz 1200 B- 80 tubes
bank 2 vert 500 R – 48 tubes
bank 2 vert 500 L – 48 tubes
bank 2 horiz 500 T - 64 tubes
bank 2 horiz 500 B – 64 tubes
bank 3 – 1 of 2 – 128 tubes
bank 3 – 2 of 2- 96 tubes
Suggestion
Each detector bank goes on separate rings. The biggest bank uses two rings.
For each CAEN digitizer there are
4 front end nodes each capable of processing 8 tubes
This requires 29 CAEN modules which is 2 more than the theoretical minimum requires.

## Slide 7: What we get
Also covers Diagnostic Mode noise
Readout data format
RingId identifies detector bank
FENId identifies sub bank (group of 32 tubes?)
FPGA identifies group of subsub bank (8 tubes?)
TUBE identifies tube within subsub bank
Amp A-D encodes straw and position along straw

## Slide 8: What we get
Your detector
your
detector
here
{
{
Common header and data headers for all detectors
Detector specific readout fields must be defined

## Slide 9
Reference
Data

## Slide 10
”a reference dataset is a collection of digitized data from a detector readout which has a well defined interpretation”

## Slide 11
”we need reference datasets in order to deliver software for event processing”

## Slide 12: Algorithms
Algorithm Description
Email, paper, report, whiteboard walk-through
Prototype implementation
C/C++, Python
Analyzed reference data
Text/binary files, wireshark captures, C or C++ arrays

## Slide 13
Speed Up

## Slide 14: System scalability
”With high flux comes high data rates. Multiple EFUs will be needed for most instru-ments . We need to consider how to speed up processing by parallelisation”

## Slide 15
Integration
Readiness
Assessment

## Slide 16: Glasgow Coma Scale
Dialogue Meetings, agreed decisions 4
Initial meeting/discussion 3
Interest in meeting/discussion 2
No contact established 1
Integration Defined, understood, agreed 4 Model IM Intention stated 3
IM Undecided 2
Implicit/unspecified 1
Logical Agreed (Inst/ECDC/DRAM) 4 Geometry Under negociation 3
Acknowledged 2
Unspecified 1
Digital Documented revision control 4 Mappings Being defined 3
Aware 2
Not started 1
FEATURE STATE SCORE
Total score: Best response 16
Comatose 11 or less
Totally unresponsive 4
Detector Coma Scale

## Slide 17: Example - LoKI
Dialogue Meetings, agreed decisions 4
Initial meeting/discussion 3
Interest in meeting/discussion 2
No contact established 1
Integration Defined, understood, agreed 4 Model IM Intention stated 3
IM Undecided 2
Implicit/unspecified 1
Logical Agreed (Inst/ECDC/DRAM) 4 Geometry Under negociation 3
Acknowledged 2
Unspecified 1
Digital Documented revision control 4 Mappings Being defined 3
Aware 2
Not started 1
FEATURE STATE SCORE
Total score: Best response 16
Comatose 11 or less
Totally unresponsive 4
Detector Coma Scale
Discussions among DMSC (ECDC + DRAM), Instrument Scientist, Detector Group, In-Kind partner
4
Integration Model B decided
4
Logical geometry defined and agreed
4
Detector Readout Data format specified
Details of detector mappings still being refined
3
15
Not quite, but nearly ready for integration

## Slide 18
Talk to

## Slide 19: DMSC
Experiment Control and Data Curation
Tobias Richter
Provides software for
Instrument and readout control
Readout data reception and parsing
Event Formation calculations
Fast sample environment
Data aggregation
Nexus file writing
Detector commissioning tools
Live detector statistics
DRAM
Data Reduction Analysis and Modelling
Thomas Holm Rod
Provides software for
Mantid
SasView
SpinW
BornAgain
McStas
....
Detector commissioning tools

## Slide 20
There is a lot of stuff to specify/do downstream the Readout Master
That stuff should go in a Interface Specification (ICD)
The ICD is the ‘contract’ that helps all parties moving forward most efficiently
Use the Detector Coma Scale to assess and progress integration readiness

## Slide 21: The End
The End
ECDC’s
HOLISTIC SOFTWARE AGENCY