## Slide 1: PROPOSAL: Instrument Electrical integration
Clara Lopez
Senior engineer- Integration engineer
European Spallation Source ERIC
Date

## Slide 2: NSS - Technical Projects Group High Level Scope of Work
Electrical Integration
NSS Electrical Integration
Load list
Cable list
Cable containments
E3D
Cabinet location
Grounding
NSS - Technical Projects Group
Electrical Design
in E-Plan
Rack distribution
P&ID
Power needs
(lights, cave,
crane, hutch,
HVAC, etc)
Electrical installation
needs in bunker
Finalise NSS Grounding/Earthing Strategy
NSS Instrument Mains Power Design. E buildings
NSS Instrument Mains Power Containment Aveva 3d.
NSS Instrument Mains Power Installation and commissioning.
NSS Instrument Mains Power design Eplan
NSS Instrument Mains Power Design. D buildings
NSS Instrument Mains Power Design. Bunker areas
Agree NSS Grounding/Earthing Zones
Finalise Grounding/Earthing Documentation
CF
Fire systems
Security systems
HVAC
ESH & Q
Electrical Safety
CE Marking
EIS
Drawing standardisation
HW standardisation
Cross Division
NSS Instrument Mains Power Documentation.

## Slide 3: Electrical engineering on Instruments projects
Organisational structure & Interfaces (Electrical design phase),
Lead Instrument Engineer
NSS Electrical
Engineer
Load list
Cable list
Cable containments
E3D
Cabinet location
Grounding
Grounding Zones
Electrical Design
in E-Plan
Rack distribution
P&ID
Power needs
(lights, cave,
crane, hutch,
HVAC, etc)
Electrical installation
needs in bunker
Motion Control
Design
Chopper Control
Design
Detector Control
Design
Sample environment
Control Design
Vacuum group
PSS
… etc.
E-Plan
Package
Load
Amount of cabinets
Cabling
Electrical Design
E-plan
Support
Support
Support
Support
Support
Contact person/ Instrument
Lead Instrument Engineer
Motion Control
Design
Chopper Control
Design
Sample environment
Control Design
…etc.
Instrument team
Detector control
Design
Integrated strategy for electrical design package
Motion Control
Design
Chopper Control
Design
Detector Control
Design
Sample environment
Control Design
Vacuum group
PSS
… etc.
ELECTRICAL INTEGRATION
Electrical contact in TG
MCA
Thomas Gahl
CHOPPERS
Markus Olsson
DETECTORS
TBD- Richard Hall-Wilton
SAMPLE ENV.
Harald Schneider
VACUUM
Hilko Spoelstra
PSS
Morteza Mansouri
Technical Groups
NSS
INSTRUMENTS

## Slide 4: Electrical engineering on Instruments projects
Organisational structure & Interfaces (Electrical design phase),
Substation, Main Switch Gear
Instruments power distribution panels
Instruments control racks
CF
NSS
Instruments teams
Detectors and
Beam monitors
Components
Motion Control
Chopper
Assemblies
Vacuum
Equipment
PSS
etc
Electrical Design
Procurement
Installation
Commissioning
Review process

## Slide 5: Electrical engineering on Instruments projects
Organisational structure & Interfaces (Electrical design phase),