## Slide 1
ESS Spoke Cryomodule
Cryogenic distribution
CNRS/IN2P3/ IPNO – Paris-Sud University

## Slide 2
  Process and Instrumentation Diagrams
  Mechanical aspects
  Cold box
Contents

## Slide 3
Cryodistribution: Spoke PID
Helium supply T.L (19.5 bar, 40K)
Helium return T.L (19.0 bar, 50K)
Helium supply HP (3 bar, 4.5K)
Helium Return VLP (~31 mbar)
Helium Return LP (1.05 bar)
Cryogenic Transfer Line (CTL)
Pumping line
Valve Box
jumper
Spoke cryomodule
He conditionning line - (1.5bar, 300K)
Helium Return Coupleur (1.05bar, 300K)
LT
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
PT
808
TT
808
PT
808
PT
808
PT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
ADT
808
ADT
808
TT
808
TT
808
RFT
808
RFT
808
TT
808
TT
808
23/10/2013

## Slide 4
Cryodistribution
    Why placing the heat exchanger and the cryogenic valves in the cryomodule ?

## Slide 5
Cryodistribution: Spoke PID 2
Helium Return Coupleur (1.05bar, 300K)
Helium supply T.L (19.5 bar, 40K)
Helium return T.L (19.0 bar, 50K)
Helium supply HP (3 bar, 4.5K)
Helium Return VLP (~31 mbar)
Helium Return LP (1.05 bar)
Cryogenic Transfer Line (CTL)
Pumping line
Cold Box
jumper
Spoke cryomodule
He conditionning line - (1.5bar, 300K)
LT
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
PT
808
TT
808
PT
808
PT
808
PT
808
PT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
ADT
808
ADT
808
TT
808
TT
808
RFT
808
RFT
808
TT
808
TT
808
05/04/2013
(updated 19/11/2013)

## Slide 6
Cryodistribution

## Slide 7
Cryodistribution: cryo valves
JT valve
Cool-down valve
Valves are mounted after
the cryostating step
Valves are placed at the cryomodule extremities to get access, allowing:
to connect the cryolines (by welding or via fittings);
to achieve leak test.
Jumper connection

## Slide 8
Cryodistribution
JT valve
Cool-down valve
Heat exchanger (in the jumper)
JT
L=2.565 m
L= 1.678 m
L= 2.545 m
Distance from this plane
(heat exchanger flange)

## Slide 9
Cryodistribution
Heat exchanger and valves placed in the valve box
Fill-in line (from JT valve) – L= 2.620 mm
Cool down line – L= 2.480 mm

## Slide 10
Pipe lengths
Helium supply T.L (19.5 bar, 40K)
Helium return T.L (19.0 bar, 50K)
Helium supply HP (3 bar, 4.5K)
Helium Return VLP (~31 mbar)
Helium Return LP (1.05 bar)
Cryogenic Transfer Line (CTL)
Pumping line
Valve Box
jumper
Spoke cryomodule
He conditionning line - (1.5bar, 300K)
Helium Return Coupleur (1.05bar, 300K)
LT
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
PT
808
TT
808
PT
808
PT
808
PT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
ADT
808
ADT
808
TT
808
TT
808
RFT
808
RFT
808
TT
808
TT
808
L = 1678 mm
L = 2565 mm
L = 1889 mm
L = 5205 mm
L = 1291 mm
L = 910 mm
L = 2620 mm

## Slide 11
Pipe lengths
Helium Return Coupleur (1.05bar, 300K)
Helium supply T.L (19.5 bar, 40K)
Helium return T.L (19.0 bar, 50K)
Helium supply HP (3 bar, 4.5K)
Helium Return VLP (~31 mbar)
Helium Return LP (1.05 bar)
Cryogenic Transfer Line (CTL)
Pumping line
Cold Box
jumper
Spoke cryomodule
He conditionning line - (1.5bar, 300K)
LT
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
PT
808
TT
808
PT
808
PT
808
PT
808
PT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
TT
808
ADT
808
ADT
808
TT
808
TT
808
RFT
808
RFT
808
TT
808
TT
808
L = 2620 mm
L = 200 mm ?
L = 4340 mm
L = 2680 mm
L = 800 mm ?
L = 200 mm ?
L = 200 mm ?

## Slide 12
Pipe lengths sum-up
Placing the cryogenic valves and the heat exchanger in the valve box would:
Position of the cryogenic valves and the heat exchanger: |  | in the cryomodule | in the valve box
 |  | Lengths (mm) | Lengths (mm)
Fill-in line | From CTL to HEx | 2620 | 200 ?
 | From HEx to JT valve | 2565 | 800?
 | From JT valve to bi-phase pipe | 1678 | 2620
 | Total | 6863 | 3620
Pumping line | From bi-phase pipe to HEx | 910 | 2680
 | From Hex to CTL GRP | 1889 | 200 ?
 | Total | 2799 | 2880
Cool-down line | From CTL to cryo valve | 5205 | 200 ?
 | From Cryo valve to cavities | 1291 | 4340
 | Total | 6496 | 4540

## Slide 13
Conclusion
Placing the cryogenic valves and the heat exchanger in the valve box would:
    simplify the cryogenic distribution (number of interfaces, number of valves, piping lengths) (and not only within the cryomodule);
    reduce the jumper diameter;
    allow to (leak) test all the cryogenic distribution before cryostating  the jumper interface would be the only element to be tested after cryostating;
    ease the cryomodule assembly.

## Slide 14
Valve box
Interaction with the wave guides
Lack of space between valve box and cryomodule

## Slide 15
Upgrade of SM18 Infrastructure at CERN
P. Maesen Dec 2012

## Slide 16
  Thank you for your attention