## Slide 1: Integrating hardware, databases and applications into a control system
Timo Korhonen
Controls Division Chief Engineer
www.europeanspallationsource.se
April 3, 2014

## Slide 2: Introduction
This talk attempts to describe (from controls’ point of view):
  What does one need to build and operate the facility
  What work is going on at ICS to fulfill these needs
  How do those things hang together
To illustrate priorities for the work so that we get the right things done in right time
  Even within work packages there are priorities
  This talk can only scratch the surface – any of the items that I am going to touch could be one talk
  Disclaimer: I am still new to the project so I may have missed something...

## Slide 3: Control System urgency scale
Bare necessities
  Absolute minimum things to get going
Tools for operation
  Needed to become an operational user facility
Tools for sustainable high performance
  a facility can be built without (some of) these – has happened in the past – but not recommended to do so
  Lack of these costs – in the long term
An overall design has to contain all these components
  Numbering above does not mean order of development – more about that later
  May dictate priorities, though

## Slide 4: Bare necessities
What things are absolutely needed, on “day 1” or before
  Hardware, connected to subsystems
    i.e., control boxes (IOCs), cabling
  Network and servers infrastructure
    Relates also to planning of building infrastructure
  Global systems: timing, MPS, PSS
    These also need infrastructure planning
  Working base software (EPICS)
    Software development and deployment infrastructure
    EPICS records, properly named
  Set of generic, low-level tools for device control
    GUI tools, trending display tools, etc.

## Slide 5: Tools for operation
When machine components are running as single units, commissioning can start
  Control room applications, beam modeling tools
  Data archiving and retrieval tools
  Alarm systems
  Operational procedures
    How to ramp up beam power, repetition rate, etc.
  Machine protection in complete configuration, with post-mortem analysis tools
  Optimization tools
    Beam synchronous data handling
    Pulse-to-pulse feedbacks, and -forwards

## Slide 6: Tools for sustainable high performance
After first neutrons, or even before, maintenance starts
  Some of these tools are needed early in the building phase to be successful!
Configuration management
  Things start changing as soon as they are built
  Need to capture when building
Logistics procedures
  Hardware maintenance procedures, support
  Software configuration maintenance tools (patches, version upgrades,rollbacks)
Continuous improvement tools and procedures
  Whom should users contact when there is a problem?

## Slide 7: Absolute necessities 1: hardware
Hardware platform selection to be done by September
  Prototype systems on cPCI, microTCA
  PLCs will be used extensively
What criteria to select platforms?
  Cover the whole range of requirements
    Need to understand those well
  One size does not fit all (i.e., not a single platform)
  Roadmap for future development and growth
  Development model - distribution of work
    Controls integration vs. Subsystem development
  Cost issues
    Think of total cost rather than component prices

## Slide 8: Absolute necessities 2: network and servers infrastructure
Initial steps are just been taken
  Affects many things in system design
  Capacity planning important
    Needs clear top-level requirements of what is required for operation, plus arithmetic (data flow)
    e.g. What should be archived, at what frequency, how long has the data to be kept,...
  Ties to the building and infrastructure
    Not to be taken lightly – requires special know-how
No need to fix technology, yet, but decisions that have long impact should be done relatively soon

## Slide 9: Absolute necessities 3: global systems
Timing system
  Use proven but still evolving technology
    Event system from Micro-Research Finland
    Wide user community, potential for application sharing
  Design elaboration underway
Machine Protection System
  Conceptual design and architecture proposal exists
  Design principles based on best practices
  Reviews are planned for later this year
  Collaboration with other institutes are being set up
    CERN, etc.

## Slide 10: Absolute necessities 4: base software
EPICS
  Collaboration encourages “software stealing”
    Copy first, contribute when you can
    Many things can be “just” taken – get involved
  Need to develop internal knowledge
    Only a few internal people know EPICS well, yet
      Trainings planned, need to build further
        Also for upcoming hires
    We also need to get our hands dirty
      WP managers need to know at least the basics, even if not working directly with EPICS
  Development strategy still needs a closer look
    maturity of ITER tools, suitability for general use

## Slide 11: Tools for operation 1: beam modeling
Selection of modeling environment
  First version of tools (OpenXAL) soon ready to be handed over to users for evaluation
  However, there is still ample time before this is really needed – no hurry.
  Try to give the users (beam physicists) what is the best match for their needs

## Slide 12: Tools for operation 2: Archiving
The “bread and butter” tool for machine operation
  Capacity vs. usage
    Applications for retrieval
  Configuration
    Workflow and policy for changes
  Data retention policy
    Which data needs to be archivd, and how long?
  Capacity planning
    Archiving can heavily stress the network and storage

## Slide 13: Tools for operation 3: Alarm strategy
Proper use of alarm facilities is crucial for high availability
  Setting up proper structures is difficult
  Proper setup can save from a lot of trouble
  Balance between completeness and simplicity
    Capture everything that is important
    Show only what is necessary
    Provide good management tools
Work is underway to define the strategy
EPICS provides good tools to achieve these goals
  But the hard work still has to be done by the user

## Slide 14: Tools for sustainability 1: Configuration management
Control system configration database(s)
  Capture system configuration
    As-planned, as-built
  Only change is permanent!
Machines have been built without having these tools
  Excel sheets, anybody?
  This is a hard problem to do correctly
  There is no unified opinion of what is the best way
  But there are succesful implementations that solve at least part of the problem
Best bet is to join the forces with other labs and projects
  Many share the same problem
  DISCS collaboration (part of EPICS version 4 initiative)

## Slide 15: Tools for sustainability 2: Logistics procedures (and tools)
This starts already in construction – and never ends
  As long as the facility exists, that is.
How to:
  Procure and distribute hardware to users?
    Centrally or each user individually
    Cost and standardization issue
  Organize maintenance?
    Spares policy, replacement, repairs, etc.
  Minimize faults?
    Testing equipment and procedures

## Slide 16: Tools for sustainability 3: Software configuration management
Software evolves continuously
  New versions, security patches, bugfixes,...
Management of hundreds of computers is a difficult task
  And systems are very diverse
    Special purpose setups, different operating systems (try to minimize – but usually resistance is futile)
  Virtualization strategy
    Helps a lot – but needs careful design and experience
  Management tools (e.g., puppet)
    Scheduled updates
Testing procedures

## Slide 17: Control System WBS
Control system core components
Applications
Hardware core components
Integration support
Physics
Control system infrastructure
Each work package has components and issues in each urgency class
  Keep the categories in mind to prioritize work
  All categories are equally important but not equally urgent

## Slide 18: SUMMARY
Control system is a complicated entity
  Many things are not visible before they fail or are missing when needed
Classification helps (myself) to prioritize things within work packages
  In time and in importance
Upcoming hires are of critical importance
  But we seem to be getting good candidates
There is a lot of work ahead
  But this is a unique and exciting chance!

## Slide 19
Questions?