## Slide 1: TAC 9 Active Cells Update
Magnus Göhran
Work Package Manager
www.europeanspallationsource.se
April 2, 2014

## Slide 2: Outline
WP6 Project plan – Current situation
Active Cells internal review
Current areas of developments
  Confinement, static & dynamic barriers
  Modes of operation
  Technical development of systems
  Logistics & interfaces
  Novel hot cell concept
Next few months

## Slide 3: WP6 Project plan – Current situation

## Slide 4: Active Cells internal review
Schedule: 25th April 2014
Purpose:
  Review the current design options to complete the design basis for the active cells.
Goal:
  Get a confirmation on that we are on the correct path for the active cells scope, function, layout and design and to have expert input on where we need to re-think.
Review charge:
  Will the design meet identified requirements and fulfill functions?
  Will the planned logistics meet the identified requirements and functions?
  Cost/Schedule (Less focus)

## Slide 5: Current areas of development - Confinement, static & dynamic barriers
Static Barrier – Tight enclosure
Dynamic Barrier – Pressure cascade

## Slide 6: Current areas of development - Modes of operation
Operational Mode
  Logistics & Transport
Process Mode
  Processing on materials
Maintenance Mode
  Equipment maintenance
Storage Mode
  Interim storage
Shipment Mode
  Off-site shipment

## Slide 7: Current areas of development - Logistics & interfaces

## Slide 8: Current areas of development - Technical developments of systems
Floor valves
Sliding shielding
Drive Mechanism

## Slide 9: Current areas of development - Technical developments of systems
Intra bay shielded door
Folding function
Drive mechanism
Folding shielding door
Sliding shielding door

## Slide 10: Current areas of development - Technical developments of systems
Storage pit lids
Waste drum storage
Shielding and ventilation
Tightness

## Slide 11: Current areas of development - Technical developments of systems
Transfer hatch
Tightness
Shielding
Shipment Cask
Docked Shipment Cask

## Slide 12: Current areas of development - Novel hot cell concept
MSM´s
Cameras
Lead Glasses
Operator Interfaces
In-cell lights
Layout modularity
ISO-View
Top-View
Side-View

## Slide 13: Next few months
Internal review – 25th April 2014
Start of the conceptual phase of the activity “Confinement” – May 2014
Engage in total 4 resources – 2014
Preliminary Design Review of the conceptual phase of the activity “Confinement” – November 2014