## Slide 1: Shielding Analysis Process
Günter Muhrer
Group Leader Target Physics
www.europeanspallationsource.se
April 2, 2014

## Slide 2: Background
Background:
  No ESS wide shielding group
  Independent shielding efforts in accelerators, target and science
  Individuals are responsible for more than just shielding
Recommendation:
  Form one shielding group for ESS

## Slide 3: Shielding design coordinator
Shield design coordinator
Accelerator: Beam instrumentation group
Target: Target physics group
Science: Shielding and Beamline Optics group
ES&H

## Slide 4: Roles and Responsibilities (Part: communication)
Role:
  The SDC is the point of contact at ESS for internal and external questions regarding shielding.
Responsibilities:
  The SDC will coordinate the shielding efforts throughout ESS.
  The SDC will insure proper communication in the area of shielding throughout ESS.
  The SDC is responsible for assuring that all shield design calculations are adequately peer reviewed.
  The SDC is expected to understand the different requirements for shielding by the different branches of the ESS.

## Slide 5: Roles and Responsibilities (Part: methodology)
Responsibilities:
  ESS SMEs in coordination with the SDC, define shielding standards and recommend these standards to the SAG for endorsement and approval by ESS management.
  ESS SMEs in coordination with the SDC define the methodologies for shielding design and the SDC ensures their implementation by the ESS staff and in-kind partners.
  The SDC reviews shielding designs performed by ESS staff and in-kind partners.

## Slide 6: Examples coordination:
Bi-weekly shielding coordination meetings
“standard” materials composition
SSM requirements

## Slide 7: Examples methodology:
Flux to dose conversion factors
Safety factors
Codes benchmarking
Neutron flux to dose conversion factors
(ICRP 116)

## Slide 8: Cross organizational collaboration: Accelerator front end
MEBT chopper dump
RFQ
MEBT chopper
accelerating cavity DTL

## Slide 9: MCNPX: RFQ
Cu
H2O
Pencil loss, 1 Watt in the Cu tips of the RFQ
(simulated at different positions)
Maximum neutron dose in dummy cells, in the side room, with 40 cm concrete wall
0.03 uSv/h (1 Watt, 3.6 MeV protons)

## Slide 10: MCNPX: MEBT
collimator
chopper dump
chopper dump (detail)
protons on chopper dump
Cu
Graphite (2 mm)
Collimator in MEBT

## Slide 11: Latest front end layout

## Slide 12: Accelerator beam dump (layout)

## Slide 13: Accelerator beam dump (results)
Criterion:
  According to Sullivan the prompt dose at 1m from a unshielded beam line component that is exposed to 1 W/m loss at 2 GeV is about 400 mSv/h.
  Huddersfield calculated about 1 Sv/h prompt radiation in the tunnel at 2 GeV
  Goal: prompt dose of 100 mSv/h at the outer surface of the concrete floor above the beam dump
  Assuming 12.5 KW @ 2 GeV
beam dump thickness
  Case 1
    3 m between the beam centerline and the floor level of the tunnel
    Core: Cu, radius 15 cm
    Steel: 135 cm of cast iron (~2.6 a% C)
    Gap: 80 cm from the cast iron to the bottom of the concrete ceiling
    Tunnel floor thickness: 70 cm Ordinary “LANL” concrete 2.34 g/cm3
    Prompt neutron dose rate at the floor level of the tunnel: 75 mSv/h
    Prompt gamma dose rate at the floor level of the tunnel: 3.5 mSv/h
  Case 2
    2.2m are between the beam centerline and the floor level of the tunnel
    Some combination as above, but without the gap.
    Prompt neutron dose rate at the floor level of the tunnel: 140 mSv/h
    Prompt gamma dose rate at the floor level of the tunnel: 4 mSv/h
Main question: cooling of the Cu core (Bilbao as in-kind).

## Slide 14: Summary
Shielding coordinator has been appointed
Roles and responsibilities have been defined
Implementation is in progress