## Slide 1: Status report on ICS interfaces (Accelerator, Target, NSS, CF) and related activities
Miha Reščič
Deputy Project Manager, ICS
www.europeanspallationsource.se
April 3, 2014

## Slide 2: Overview
NSS
Target
Accelerator
CF

## Slide 3: NSS, overview

## Slide 4: NSS, interface description
Control Box <-> Choppers
  NSS
    Mechanical design and procurement of devices
    Design and implementation of local protection for devices
    Design and implementation of local control for devices
    Definition of control, synchronization and data flow requirements for devices
    Definition of functional specifications for devices
  ICS
    Definition of requirements for CB
    Procurement and installation of CB
    Integration of devices into EPICS
    Definition and implementation of device specific logic in EPICS
    Definition and implementation of user interfaces and applications
  Joint Responsibility
    Definition and requirements for mechanical interfaces
    Definition and requirements for logical interfaces

## Slide 5: NSS, interface description
Control Box <-> Motion control
  NSS
    Mechanical design and procurement of devices
    Design and implementation of local protection for devices
    Definition of control, synchronization and data flow requirements for devices
    Definition of functional specifications for devices
  ICS
    Definition of requirements for Control Box (CB)
    Procurement and installation of CB
  Joint Responsibility
    Definition and requirements for mechanical interfaces
    Definition and requirements for logical interfaces
    Integration of devices into EPICS
    Definition and implementation of device specific logic in EPICS
    Definition and implementation of user interfaces and applications

## Slide 6: Target, overview
Target systems
Monolith systems
Fluid systems
Active Cells and Casks
Control box
EPICS
Diagnostic user interface
Central service (cool and vac)
PSS Local
CCDM
Timing system
Data storage Lund
PSS global
Data Collection
Target systems
MPS Local
MPS global
Beam Dump
Instrumentation – Proton Beam and Target
TSS
Acc
Expert user interface
HMI
(ICS GUIs)
Control room, mobile devices, etc.
Lund server room

## Slide 7: Target, notes
Boxes
    Yellow – Target,
    Red – Accelerator,
    Blue – ICS,
    Light Blue – also ICS
    Green – DMSC
New/modified lines
  Purple – MPS
  Teal – TSS,
  Orange – PSS,
  Green – Timing (timing with accelerator to Target Wheel, time-stamp to all data through Control Box)

## Slide 8
Status, Accelerator Products
  Source – RFQ agreed
  LEBT – MEBT agreed
Status, Accelerator Support
  WP.3 NCFE clear, agreed
  WP.4 Spoke discussed
  WP.5 Elliptical SRF discussed
  WP.6 HEBT and Magnets discussed
  WP.2 Accelerator Physics clear
  WP.7 Beam Diagnostics clear
  WP.8 RF clear, agreed
  WP.10 Test Stands clear
  WP.11 Cryogenics clear, agreed
  WP.12 Vacuum clear, agreed
Scope and responsibilities, Accelerator

## Slide 9: Interfaces with CF
GROUP 1: Cooling water, Compressed Air & Deionized water
  Cooling Water: Started, going slowly because designers do not have information enough yet. Risk: They want to propose their own SCADA. Trying to get this under control.
  Compressed Air: Not Started
  Deionized Water: Not Started
GROUP 2: HVAC Systems
  HVAC Systems: Going very well, we have al the locations for the accelerator and the interface points. Target and Instruments after summer. We already know that we will not integrate Storm Water Systems and Waste Water Systems
Group 3: Power Supply Systems, Backup Power and UPS Systems
  Power Supply Systems: Going well. Working in the locations and interface points. The interface people with Target and ESS needs still to be defined.
  Backup Power: Not Started.
  UPS Systems: Not Started.
Group 4: Low Voltage Systems
  Low Voltage Systems: Not Started
Group 5: Extra Low Voltage Systems, Access Systems, Fire and Evacuation
  Extra Low Voltage Systems: Not Started.
  Access Systems.: Going well. The scope was well defined in the Paul Wright visit. With this scheme CF access systems most probably will not need to be integrated.
Group 6: Transport Systems
  Transport Systems: Starting very soon
Group 7: Spaces
  Spaces: There was an initial. Not big showstoppers expected in this front.

## Slide 10
Proactive approach yields results
SLAs and ICDs yield clarity
Should be able to meet the Q4 milestones for ICDs.
Conclusions