## Slide 1: ESS Instrument concepts
A 1st look at the proposed chopper system schematics
IT / Neutron Chopper Group
Issue: 30.1.2014
Version: 2.52

## Slide 2
2PA-01-M-210 CRC
BEAM PORT
PA-02 (DC)
GUIDE
GUIDE
14Hz, DX
# 1-2-3 4 5 6 7
PULSE SHAPING
FUNCTION
NOTES
PD/ POWHOW
Status: P0-Proposal
Schematic
PA-02 –M-14
PA-02 (DC)
BAND CONTROL
PPS -1
L 6.10/6.11/6.15 6.25-6.75 8 12,75 70
PA-10-M-28 (PPSc)
BAND CONTROL
BAND CONTROL
14Hz, DX
14Hz, DX
14Hz, DX
210Hz, D750
PA-10-M-28 (PPSc)
PPS -2
SHUTTER
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : RED/ORANGE
Sector: S Beam-port: S10

## Slide 3
BEAM PORT
MONOCHROMATOR
#
FUNCTION
NOTES
PD/ MODI
Status: P0-Proposal
Schematic
GUIDE
L
SHUTTER
HEAVY SHUTTER
EQUIPT ACCESS CLASS : BLACK
EQUIPT ACCESS CLASS : GREEN

## Slide 4
BEAM PORT
PA-02 (DC)
GUIDE
GUIDE
280Hz, D700
# 1 2 3 4 5 6 7
PULSE SHAPING (CT1)
FUNCTION
NOTES
PD/ HEIMDAL
Status: P0-Proposal
Schematic
2PA-02 (FTF)
GUIDE
FRAME OVERLAP (CT3)
L 6,5 7 9 13 78 78,6 S = 169m
PULSE SELECTION (CT2)
PA-02 (DC)
14Hz, D1360
14Hz, D700
PA-02 (DC)
BAND DEFINITION (CC1)
14Hz, D1280
FRAME OVERLAP (CC3)
14Hz, D1280
PA-02 (DC)
FRAME OVERLAP (CC3)
14Hz, D1280
EQUIPT ACCESS CLASS : BLACK
PA-02 (DC)
EQUIPT ACCESS CLASS : TBD

## Slide 5
BEAM PORT
PA-02 (DC)
GUIDE
GUIDE
210Hz, D700
# 1 - 2 3 4 5 6 7
PULSE SHAPING
FUNCTION
NOTES
IdG/ CAMEA
Status: 0-Proposal
Schematic
PA-02 (DC)
PA-02 (DC)
2PA-02 (FTF)
ORDER-SORTING
OPTION ?
FRAME OVERLAP
L 6.5-6.6 8 13 30 83,1 170
2PA-02 (FTF)
FRAME OVERLAP
14Hz, D700
14Hz, D700
BAND DEFINING
14Hz, D700
360Hz, D700
GUIDE
GUIDE
EQUIPT ACCESS CLASS : BLACK
EQUIPT ACCESS CLASS : GREEN*
HxW 98x30 98x50 30x30
EQUIPT ACCESS CLASS: BLACK
Sector: West
Beam port: NA

## Slide 6
BEAM PORT
PA-02 (DC)
GUIDE
GUIDE
210Hz, D700
# 1 - 2 3 4 5 6 7
PULSE SHAPING
FUNCTION
NOTES
IdG/ CAMEA
Status: 0-Proposal
Schematic
PA-02 (DC)
PA-02 (DC)
2PA-02 (FTF)
ORDER-SORTING
OPTION ?
FRAME OVERLAP
L 6.5-6.6 8 13 18 30 83,1 S=170
2PA-02 (FTF)
FRAME OVERLAP
14Hz, D700
14Hz, D700
BAND DEFINING
14Hz, D700
360Hz, D700
GUIDE
GUIDE
EQUIPT ACCESS CLASS : BLACK
EQUIPT ACCESS CLASS : GREEN*
HxW 98x30 98x50 30x30
EQUIPT ACCESS CLASS: BLACK
Sector: West
Beam port: NA
SHUTTER

## Slide 7
# 7-7.05 17.53 20.71 114.9-114.95-115
PULSE SHAPING
FUNCTION
NOTES
CS/ C-SPEC
Phase 0-Concept
Schematic
MONOCHROMATOR
BEAM PORT
PA-02 (DC)
GUIDE
2PA-02 (FTF)
PA-02 (DC)
PA-02 (DC)
GUIDE
BAND WITH
BAND WITH
FRAME OVERLAP
P1/P2
BW1
BW2
FO
M1/M2
2PA-01-M-400 (CR)
GUIDE
Common shielding
SHUTTER
SHUTTER
# 1 2 3 4 5 6 7
EQUIP ACCESS ZONE
BLACK

## Slide 8
Neutrons
BEAM PORT
CS/ TEMPIS FUGIT
PPSc
GUIDE
# 1 2 – 81 ?
PULSE SHAPING
NOT PART OF PROPOSAL
BUT DO THEY NEED THIS?
4 x 20 phased axis,
similar to fermi chopper PE-50
FUNCTION
NOTES
Phase 0-Concept
Schematic
PA-10 (PPSc)
DRCMs
Common shielding
Sector: Beam port: NA
2PA-02 (FTF)

## Slide 9
2PA-02-M-350 (CR)
BEAM PORT
PA-02-M-14 (DC)
GUIDE
GUIDE
# 1 2 3 4 5 6 7 8
BAND WIDTH -BW1
FUNCTION
NOTES
CS/ T-REX
Phase 0-Concept
Schematic
2PA-02-M-252 (CR)
GUIDE
MONOCHROMATIC
PULSE SHAPING
PA-02-M-14 (DC)
BAND WIDTH –BW2
PA-10 –C-14 (PPSc)
PPS
FAN
T0 - OPTION
P1/P2
FAN
M1/M2
COMMON SHIELDING
L 6 20 24
EQUIPT ACCESS CLASS : BLACK
EQUIPT ACCESS CLASS : GREEN
2 x LOS
FAN

## Slide 10
2PA-01-M-350 (CR)
BEAM PORT
GUIDE
GUIDE
# 1-2 3-4 5 6-7 8-9
PULSE SHAPING
FUNCTION
NOTES
CS/ VOR
Phase 0-Concept
Schematic
PA-02 (-M-14)
GUIDE
MONOCHROMATOR
PHASE(D) / CO
RRM
BAND WIDTH
2PA-01-M-350 (CR)
2PA-01-M-!$) (FTF)
2PA-01-M-400(CR)
COMMON SHIELDING
SHUTTER
SHUTTER
POSSIBLE SHUTTER POSITION
POSSIBLE SHUTTER POSITION
L 8 16 16.05
Sector: Beam port: NA

## Slide 11
BEAM PORT
GUIDE
# 1 2 3 4
NOTES
SE/ ESS-NSE (OPTION 1)
Schematic
PA-02 (-M-14)
SHUTTER
PA-02 (-M-14)
PA-02 (-M-14)
PA-02 (-M-14)
RF FLIPPER
POLARIZER
FRAME OVERLAP
FUNCTION
RF FLIPPER
SHUTTER
FRAME OVERLAP
FRAME OVERLAP
FRAME OVERLAP
POLARIZING KINK
L 14 16.7 20.12 23 31
Status: P0-Proposal
Schematic
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : GREEN
Sector: W Beam-port: W12
GUIDE
GUIDE
GUIDE
GUIDE
GUIDE

## Slide 12
BEAM PORT
GUIDE
# 1–2 3 4 5 6 7
NOTES
SE/ ESS-NSE (OPTION 2)
Schematic
PA-02 (-M-14)
SHUTTER
PA-02 (-M-14)
PA-02 (-M-14)
PA-02 (-M-14)
RF FLIPPER
POLARIZER
FRAME OVERLAP
FUNCTION
RF FLIPPER
SHUTTER
FRAME OVERLAP
FRAME OVERLAP
FRAME OVERLAP
POLARIZING KINK
L 6 14 16.7 ? 20.12 23 31
2PA-01-M- 224 (FTF)
*PULSE SHAPING*
PA-02 (-M-14)
*PULSE SELECTION*
OPTION
OPTION
Status: P0-Proposal
Schematic
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : GREEN
Sector: W Beam-port: W12

## Slide 13
BEAM PORT
GUIDE
GUIDE
7-14Hz. D600
# 1 - 2 3 - 4 5 - 6 7- 8
BAND SELECTION
FUNCTION
NOTES
SKADI
2PA-02 (FTF)
GUIDE
L 11 13 17 21 30
2PA-02 (FTF)
2PA-02 (FTF)
BAND SELECTION
BAND SELECTION
7-14Hz. D600
7-14Hz. D600
EQUIPT ACCESS CLASS : BLACK
EQUIPT ACCESS CLASS : ?
2PA-02 (FTF)
Status: P0-Proposal
Schematic
Sector: E
Beam-port: ?

## Slide 14
BEAM PORT
GUIDE
7-14Hz. D600
# 1 - 2 3 - 4 5 - 6
BAND SELECTION
FUNCTION
NOTES
SKADI 2.0
2PA-02 (FTF)
L 11.5 14.5 21 30
2PA-02 (FTF)
BAND SELECTION
BAND SELECTION
7-14Hz. D600
7-14Hz. D600
Common vacuum ?
EQUIPT ACCESS CLASS : BLACK
EQUIPT ACCESS CLASS : ?
2PA-02 (FTF)
Status: P0-Proposal
Schematic
Sector: E
Beam-port: ?
POLARISER
POLARISER
GUIDE CHANGER
GUIDE CHANGER

## Slide 15
BEAM PORT
# 1-2 3-4
BW SELECTION
FUNCTION
NOTES
NMX
GUIDE
2PA-02 (FTF)
14Hz, D700
L 20 50 156
2PA-02 (FTF)
BW SELECTION
14Hz, D700
GUIDE
GUIDE
Status: P0-Proposal
Schematic
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : GREEN
Sector: W
Beam-port: W12

## Slide 16
BEAM PORT
# 1-2 3-4 5 6-7 8-9 10-11 12-13 14-15 16-17 18-19
PPS
FUNCTION
NOTES
IM-ODIN
28Hz, D700
L 6,5 7 9,25 10 11 12 16 20 30 40 60
2PA-02 (FTF)
BAND WIDTH
GUIDE
GUIDE
PA-10 (PPSc)
2PA-02 (FTF)
2PA-02 (FTF)
2PA-02 (UO)
2PA-02 (UO)
PULSE SHAPING
PULSE SHAPING
56Hz, D700
BAND WIDTH
56Hz, D700
3,5-14Hz, D700
3,5-14Hz, D700
2PA-02 (FTF)
2PA-02 (FTF)
2PA-02 (FTF)
SUB FRAME OVERLAP
SUB FRAME OVERLAP
SUB FRAME OVERLAP
SUB FRAME OVERLAP
14-42Hz, D700-2000
14-42Hz, D700-2000
2PA-02 (FTF)
SUB FRAME OVERLAP
14-42Hz, D700-2000
14-42Hz, D700-2000
14-42Hz, D700-2000
GUIDE
GUIDE
GUIDE
GUIDE
GUIDE
GUIDE
Status: P0-Proposal
Schematic
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : GREEN
Sector: S Beam-port: S12

## Slide 17
BEAM PORT
7-14Hz, D700
# 1 2
PULSE SHAPING
FUNCTION
NOTES
SANS-LOKI
Phase 0-Concept
Schematic
GUIDE
2PA-02 (FTF)
PULSE SHAPING
7-14Hz, D700
L 6.5-6.7

## Slide 18
BEAM PORT
PA-02 (DC)
14Hz, D700
# 1 2 3 4 5
FUNCTION
NOTES
SANS/ Compact SANS
Phase: 0-Proposal
Schematic
PA-02 (DC)
PA-02 (DC)
GUIDE
RESOLUTION IMPROVMENT
FRAME OVERLAP
L 6,5 7 9,5 10 12 16
PA-02 (DC)
14Hz, D700
PA-02 (DC)
GUIDE
GUIDE
FRAME OVERLAP
RESOLUTION IMPROVMENT
RESOLUTION IMPROVMENT
42Hz, D700
28Hz, D700
28Hz, D700
EQUIPT ACCESS CLASS : BLACK
Sector:
Beam port: NA
Beam 20x20mm

## Slide 19
BEAM PORT
PA-02 (DC)
GUIDE
168Hz, D700
# 1-2 3 4 5 – 6 7 - 8 9 10 - 11
PULSE SHAPING
FUNCTION
NOTES
BEER
Phase 0-Concept
Schematic
PA-02 (DC)
2PA-02 (FTF)
GUIDE
PULSE MULTIPLEXING
WAVELENGHT DEFINITION
PA-02 (DC)
2PA-02 (UO)
2PA-02 (UO)
2PA-02 (FTF)
PULSE SHAPING
PULSE SHAPING
PULSE SHAPING
WAVELENGHT DEFINITION
WAVELENGHT DEFINITION
WAVELENGHT DEFINITION
PULSE MULTIPLEXING
PULSE MULTIPLEXING
168Hz, D700
168Hz, D700
168Hz, D700
42-280Hz, D700
42-280Hz, D700
42-70Hz, D700
7-14Hz, D700
63-70Hz, D700
14Hz, D700
7Hz, D700
L 6,5 6,9 7,7 8,3 9 9,5 79,5 155
EQUIPT ACCESS CLASS : BLACK
EQUIPT ACCESS CLASS : GREEN
COMMON BUNKER
2xLOS

## Slide 20
BEAM PORT
GUIDE
14Hz, D700
# 1
FUNCTION
NOTES
RF/ ESTIA
Schematic
PA-02 (DC)
GUIDE
FRAME OVERLAP
L 16,2 52
EQUIPT ACCESS CLASS : BLACK
Status: P0-Proposal
Sector: E Beam-port: ?
Mid point of 1st S guide

## Slide 21
BEAM PORT
GUIDE
GUIDE
# 1 2 3 4 5 6 7 8 9
PULSE SHAPING
HR OPTION
FUNCTION
NOTES
RF/ THOR
PA-02 (DC)
GUIDE
BASIC 2
L 6 6.25 – 7.05 7.5 12 12,5 17.5 19 30.4 31 52,9
PA-02 (DC)
BASIC 1
(BASIC1) 14Hz, D800
FRAME OVERLAP
FRAME OVERLAP
FRAME OVERLAP
HR OPTION
PA-02 (DC)
PA-02 (DC)
(PS1) 112Hz, D700
(PS2) 112Hz, D700 *MOBILE*
(FO1) 112Hz, D700
(FO2) 56Hz, D800
(BASIC2) 14Hz, D800
Status: P0-Proposal
Schematic
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : GREEN
Sector: E Beam-port: ?
ATTENTION: CHOPPER INSTALLED TO SIDE OF GUIDE.
PA-02 (DC)
(FO3) 28Hz, D800
FRAME OVERLAP
PA-02 (DC)
GUIDE
(FO4) 14Hz, D800
FRAME OVERLAP
BASIC 3
(BASIC2) 14Hz, D800

## Slide 22
BEAM PORT
GUIDE
7-14Hz, D1500
# 1-2 3 -4 5 6-7 8 9-10 11
WAVELENGTH BAND DEFINING
FUNCTION
NOTES
RF/ FREIA v1.0
Phase 0-Concept
GUIDE
FRAME OVERLAP
L 6,5 6,7/7,0 8,5 10 11,1 15 15,6 25
2PA-02 (FTF)
PA-02 (DC)
2PA-02 (FTF)
PA-02 (DC)
2PA-02 (FTF)
PA-02 (DC)
GUIDE
GUIDE
GUIDE
WAVELENGTH BAND DEFINING
WAVELENGTH BAND DEFINING
FRAME OVERLAP
FRAME OVERLAP
PULSE SHAPING
7-14Hz, D1500
7-14Hz, D1500
56Hz, D1500
56Hz, D1500
42Hz, D1500
28Hz, D2000
2PA-02 (FTF)
GUIDE

## Slide 23
BEAM PORT
7-14Hz, D700
# 1-2 3 -4 5 6-7 8 9-10 11
WAVELENGTH BAND DEFINING
FUNCTION
NOTES
RF/ FREIA v2.0
GUIDE
FRAME OVERLAP
L 6.5/6.6 7.1/7.5 8,5 10/10.1 11.1 15 15,6 25
2PA-02 (FTF)
PA-02 (DC)
2PA-02 (FTF)
PA-02 (DC)
GUIDE
GUIDE
GUIDE
WAVELENGTH BAND DEFINING
WAVELENGTH BAND DEFINING
FRAME OVERLAP
FRAME OVERLAP
PULSE SHAPING
7-14Hz, D1300
7-14Hz, D1300
56Hz, D1300
56Hz, D1300
42Hz, D1300
28Hz, D1500
EQUIPT ACCESS CLASS : ORANGE
EQUIPT ACCESS CLASS : GREEN
GUIDE
2PA-02 (UO)
2PA-02 (FTF)
PA-02 (DC)
GUIDE
GUIDE
Status: P0-Proposal
Schematic
Sector: E/N Beam-port: ?

## Slide 24
BEAM PORT
PA-02 (DC)
GUIDE
14Hz, D700
# 1-2 3 4 5 6-7
BAND SELECTION
FUNCTION
NOTES
Vertical sample Reflectometer
PA-02 (DC)
PA-02 (DC)
2PA-02 (FTF)
GUIDE
FRAME OVERLAP
L 13/13/ 13 15 19 25/25 34
2PA-02 (FTF)
GUIDE
GUIDE
(F01) 140Hz, D700
(FO2) 14Hz, D700
FRAME OVERLAP
FRAME OVERLAP
Status: P0-Proposal
Schematic
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : GREEN
Sector: E Beam-port: ?
FRAME OVERLAP
(FO3) 14Hz, D700
(FO4) 14Hz, D700

## Slide 25
BEAM PORT
GUIDE
(Ch 5) 14Hz, D1200
# 1 2-3 4-5 6 7 8-9
BAND SELECTION
FUNCTION
NOTES
Vertical sample Reflectometer v2
GUIDE
FRAME OVERLAP
L 10 13/13.2 13.5/13.6 15 19 25/25.2 34
GUIDE
GUIDE
(F01) 2x 140Hz, D700
(FO2) 14Hz, D1200
FRAME OVERLAP
FRAME OVERLAP
Status: P0-Proposal
Schematic
EQUIP ACCESS ZONE
CLASS : BLACK
EQUIP ACCESS ZONE
CLASS : GREEN
Sector: E Beam-port: ?
FRAME OVERLAP
(FO3) 14Hz, D1200
(FO4) 14Hz, D1200
GUIDE
GUIDE
(Ch 1) 14Hz, D1200
2PA-02 (UO)
Guide height 20cm
PA-02 (DC)
PA-02 (DC)
PA-02 (DC)
2PA-02 (FTF)
2PA-02 (FTF)

## Slide 27
22 Instruments = 150 – 160 axis
LOW
SPEED
(50-70)
PA-02 (-M-14)
(15-35)
INTERMEDIATE
SPEED
PA-02 (-M-14)
HIGH
SPEED
(27)
2PA-02 (UO)
LARGE
ROTOR
(30)
2PA-02 (FTF)
(3 -5)
FAN
PPSc
(4-8)
PA-10 (PPSc)

## Slide 28: ‘Tendency’
No ‘Fermi’ Choppers
  Except Tempis fugit ‘rotating mono array’
The ‘Fan Chopper’
  Several groups now expressing interest…
Requests for 3m rotors is declining
Request for a ‘compact’ PPS chopper
Requests for ‘movable’ choppers
  Variable separation
  Out of beam