## Slide 1: A Neutron Source Facility for Energy Dependent Detector Characterization
julius.scherzinger@nuclear.lu.se
PhD student at
Lund University, Sweden
European Spallation Source

## Slide 2: Overview
Low cost neutron irradiation facility for detector characterization
First results establishing viability of method:
  blind irradiation using a mixed field
  neutron “tagging”

## Slide 3: AmBe source

## Slide 7
GEANT4 simulation, courtesy of J. Annand, University of Glasgow

## Slide 8: Scintillator Properties
Mapping
  Pulse Shape Discrimination (PSD)
    Pulse Shape (PS)
    Figure-of-Merit (FOM)
  Proton Light Yield
    Quenching (MeVee/MeV<1)
    Non linearity

## Slide 9: Scintillator
ET 9821 KB
  3 inch
  borosilicate glass
NE-213
Optical coupled
  dry fitted
  light guide
Aluminum Cell
  10 cm X 7.5 cm
  sandblasted and painted

## Slide 10: Scintillator
Hamamatsu R580
  2 inch
  borosilicate glass
4He
  179 bar
Optical coupled
  dry fitted
Active Volume
  1.05 l
R. Jebali et al., "Response comparison between a 4He-based fast neutron detector and a NE-213 liquid scintillator reference cell ”, to be submitted to Nucl. Inst. and Meth. A

## Slide 11
recoil proton (neutron)
recoil electron (γ)
Short Gate 60 ns
Long Gate 500 ns

## Slide 12
FWHM
FWHM
Δm
𝛅1
𝛅2
Integrated PS
Threshold 0.58 MeVee
FOM = 1.03
FOM = Δm/(𝛅1+𝛅2)
neutrons
γ

## Slide 13
FWHM
FWHM
Δm
𝛅1
𝛅2
Integrated PS
Threshold 0.58 MeVee
FOM = 1.03
FOM = Δm/(𝛅1+𝛅2)
neutrons
γ

## Slide 14
FWHM
FWHM
Δm
𝛅1
𝛅2
Integrated PS
Threshold 0.58 MeVee
FOM = 1.03
FOM = Δm/(𝛅1+𝛅2)
neutrons
γ

## Slide 15
FWHM
FWHM
Δm
𝛅1
𝛅2
Integrated PS
Threshold 0.58 MeVee
FOM = 1.03
FOM = Δm/(𝛅1+𝛅2)
neutrons
γ

## Slide 16
FWHM
FWHM
Δm
𝛅1
𝛅2
Integrated PS
Threshold 0.58 MeVee
FOM = 1.03
FOM = Δm/(𝛅1+𝛅2)
neutrons
γ

## Slide 17
FWHM
FWHM
Δm
𝛅1
𝛅2
Integrated PS
Threshold 0.58 MeVee
FOM = 1.03
FOM = Δm/(𝛅1+𝛅2)
neutrons
γ

## Slide 18
PS @ 1 MeVee
PS @ 2 MeVee
PS @ 3 MeVee
PS @ 4 MeVee
neutrons
γ
neutrons
neutrons
neutrons
γ
γ
γ

## Slide 19
neutrons
γ

## Slide 20
neutrons
γ

## Slide 21
neutrons
γ

## Slide 22
neutrons
γ

## Slide 23
neutrons
γ

## Slide 24: “Tagged” Neutrons
J. Scherzinger et al.,"A source-based fast-neutron facility for precision irradiations”,
arXiv:1405.2686[physics.ins-det] (2014), submitted to Nucl. Inst. and Meth. A

## Slide 27
(4.43 MeV)
~60%

## Slide 28
(4.43 MeV)
~60%

## Slide 31
E.A. Lorch, Int. J. Appl. Radiat. Is. 24 (1973) 585.
K.W. Geiger, C.K. Hargrove Nucl. Phys. 53 (1964) 204.
A.D. Vijaya, A. Kumar, Nucl. Instrum. and Meth. 111 (1973) 435.
L. Van der Zwan Can. J. Phys. 46 (1968) 1527.
F. De Guarrini, R. Malaroda Nucl. Instr. and Meth. 92 (1971) 277.
This Work
Calculations

## Slide 32
Proton Light Yield
Incident Neutrons

## Slide 33
Proton Light Yield
Incident Neutrons
4.8 MeV

## Slide 34
Threshold
Multi Scattering
Lmax

## Slide 35
A. Naqvi et al., Nucl. Inst. and Meth. A 353 (1994) 156–159.
N. Kornilov et al., Nucl. Inst. and Meth. A 599 (2009) 226–233.
This Work

## Slide 36: Conclusion
Fast neutron detection
  Blind irradiation behaves as expected
  Neutron “tagging” technique promising
  NE-213 characterization in good agreement with other groups

## Slide 37: Conclusion
Fast neutron detection
  Blind irradiation behaves as expected
  Neutron “tagging” technique promising
  NE-213 characterization in good agreement with other groups
“High” energy background studies

## Slide 38: SNS “High” Energy Background

## Slide 39: SNS “High” Energy Background

## Slide 40: SNS “High” Energy Background
Chart: n/s
| Arktis Guide | Arktis Detector
CNCS on beam guide shutters colsed | 0.067605 | 0.034265
CNCS on beam guide secondary shutter closed | 0.38291 | 0.16648
CNCS on beam guide shutters opened | 0.53075 | 0.2826
 | 0.016
 | 0.06
 | 0.086
Preliminary

## Slide 41: Outlook
Upgrading existing equipment
  Flash ADC; to complement QDCs
  Wide-Range TDC; 10 ms drift times
  3He tube
  Moderator/Shielding
    Cd
    PE

## Slide 42: Outlook
Upgrading existing equipment
  Flash ADC; to complement QDCs
  Wide-Range TDC; 10 ms drift times
  3He tube
  Moderator/Shielding
    Cd
    PE
“Tagged” thermal neutrons

## Slide 43
Thanks to
John Annand, Ramsey Jebali
Magnus Lundin, Anders Hansson, Håkan Svensson
Kalliopi Kanaki, Richard Hall-Wilton
Kevin Fissum