| European Spallation Source CTL and CDL thermo-mechanical calculations – Appendix 2 Detail layout of the He supply process pipe model |  |
| --- | --- |
| Type of document | Technical document |
| EES Contact Person | Jaroslaw FYDRYCH |
| WUT references | WrUT_CTL_CDL R 3.0 |
| Publication date | 06.06.2017 |

| Written by | Checked by | Approved by |
| --- | --- | --- |
| Janusz SKRZYPACZ Przemysław JASZAK Jaroslaw POLINSKI | Jaroslaw POLINSKI Maciej CHOROWSKI | Maciej CHOROWSKI |
| Signature: | Signature: | Signature: |

Figure 1 Rendered model of the He supply line

Figure 2 Rendered model of the He supply line – the close-up jumper connection section

Figure 3 Model of the He supply line – node numbers and localization

Figure 4 Model of the He supply line – node numbers and localization

Figure 5 Model of the He supply line – node numbers and localization

Figure 6 Model of the He supply line – node numbers and localization

The coordinates of the all model nodes are presented below are in accordance with coordinate system presented in the figures 1-6. Origin of the coordinate system is located in the model first node.

Table 1 He supply pipe – the coordinates of the model nodes

| Node | X [mm] | Y [mm] | Z [mm] |
| --- | --- | --- | --- |
| 10 | 0 | 0 | 0 |
| 18 | 300 | 0 | 0 |
| 19 | 600 | 0 | 0 |
| 20 | 1100 | 0 | 0 |
| 21 | 3400 | 0 | 0 |
| 22 | 5700 | 0 | 0 |
| 23 | 6220 | 0 | 0 |
| 24 | 6685 | 0 | 0 |
| 27 | 6885 | 0 | 0 |
| 28 | 7350 | 0 | 0 |
| 29 | 7650 | 0 | 0 |
| 30 | 8050 | 0 | 0 |
| 90 | 8350 | 0 | 0 |
| 100 | 8850 | 0 | 0 |
| 110 | 11000 | 0 | 0 |
| 120 | 13150 | 0 | 0 |
| 125 | 13670 | 0 | 0 |
| 130 | 14800 | 0 | 0 |
| 140 | 15100 | 0 | 0 |
| 7000A | 13670 | 0 | -298 |
| 7000 | 13670 | 0 | -368 |
| 7000B | 13670 | -70 | -368 |
| 7005A | 13670 | -193 | -368 |
| 7005 | 13670 | -263 | -368 |
| 7005B | 13670 | -263 | -298 |
| 7010 | 13670 | -263 | -173 |
| 7015 | 13670 | -263 | 77 |
| 7016 | 13670 | -263 | 327 |
| 7017 | 13670 | -263 | 577 |
| 7025 | 13670 | -263 | 697 |
| 7020 | 13670 | -243 | -173 |
| 7030A | 13670 | -213 | -173 |
| 7030 | 13670 | -143 | -173 |
| 7030B | 13670 | -143 | -103 |
| 7035A | 13670 | -143 | 232 |
| 7035 | 13670 | -143 | 372 |
| 7035B | 13687.7 | -4.1245 | 372 |
| 7040A | 13704.8 | 129.556 | 372 |
| 7040 | 13708 | 155 | 372 |
| 7040B | 13708 | 155 | 397.65 |
| 7045 | 13708 | 155 | 412 |
| 7050 | 13708 | 155 | 1112 |
| 7055A | 13708 | 155 | 1351 |
| 7055 | 13708 | 155 | 1421 |
| 7055B | 13708 | 225 | 1421 |
| 7060 | 13708 | 355 | 1421 |
| 7070 | 13708 | 1070 | 1421 |
| 7080 | 13688 | 155 | 412 |
| 7085 | 13673 | 155 | 412 |
| 7090A | 13458.9 | 117.179 | 412 |
| 7090 | 13390 | 105 | 412 |
| 7090B | 13390 | 105 | 482 |
| 7095A | 13390 | 105 | 672 |
| 7095 | 13390 | 105 | 742 |
| 7095B | 13350.9 | 163.071 | 742 |
| 7100 | 13215 | 365 | 742 |
| 7110A | 13215 | 365 | 642 |
| 7110 | 13215 | 365 | 572 |
| 7110B | 13145 | 365 | 572 |
| 7115 | 12945 | 365 | 572 |
| 7120 | 12945 | 365 | 682 |
| 7125 | 12945 | 365 | 812 |
| 7275 | 13708 | 1320 | 1421 |
| 7280A | 13708 | 1494.35 | 1421 |
| 7280 | 13708 | 1520 | 1421 |
| 7280B | 13708 | 1520 | 1395.35 |
| 7284 | 13708 | 1520 | 1121 |
| 7285 | 13708 | 1520 | 1001 |
| 7290 | 13708 | 1520 | 916 |
| 7295A | 13708 | 1520 | 661.65 |
| 7295 | 13708 | 1520 | 636 |
| 7295B | 13731.8 | 1529.53 | 636 |
| 7300A | 13809.2 | 1560.47 | 636 |
| 7300 | 13833 | 1570 | 636 |
| 7300B | 13833 | 1570 | 610.35 |
| 7305 | 13833 | 1570 | 556 |
| 290 | 15500 | 0 | 0 |
| 299 | 15800 | 0 | 0 |
| 300 | 16300 | 0 | 0 |
| 310 | 18450 | 0 | 0 |
| 320 | 20600 | 0 | 0 |
| 330 | 21120 | 0 | 0 |
| 340 | 22250 | 0 | 0 |
| 350 | 22550 | 0 | 0 |
| 360 | 22950 | 0 | 0 |
| 369 | 23250 | 0 | 0 |
| 370 | 23750 | 0 | 0 |
| 380 | 25900 | 0 | 0 |
| 390 | 28050 | 0 | 0 |
| 400 | 28570 | 0 | 0 |
| 410 | 29700 | 0 | 0 |
| 420 | 30000 | 0 | 0 |
| 2000 | 31100 | 0 | 0 |
| 2001 | 31300 | 0 | 0 |
| 2002 | 31910 | 0 | 0 |
| 2003 | 32060 | 0 | 0 |
| 2005A | 32585 | 0 | 0 |
| 2005 | 32760 | 0 | 0 |
| 2005B | 32760 | -175 | 0 |
| 2006 | 32760 | -700 | 0 |
| 2007 | 32760 | -850 | 0 |
| 2008 | 32760 | -1460 | 0 |
| 2009 | 32760 | -1610 | 0 |
| 2018 | 32760 | -2810 | 0 |
| 2019 | 32760 | -4310 | 0 |
| 2020 | 32760 | -4510 | 0 |
| 2039 | 32760 | -5120 | 0 |
| 2040 | 32760 | -5430 | 0 |
| 2041 | 32760 | -5960 | 0 |
| 2042 | 33660 | -5960 | 0 |
| 2045 | 35260 | -5960 | 0 |
| 2050 | 35460 | -5960 | 0 |
| 2060 | 35860 | -5960 | 0 |
| 2061 | 36060 | -5960 | 0 |
| 2062 | 36560 | -5960 | 0 |
| 2063 | 39860 | -5960 | 0 |
| 2081 | 40060 | -5960 | 0 |
| 2085 | 40670 | -5960 | 0 |
| 2090 | 40820 | -5960 | 0 |
| 2100A | 41345 | -5960 | 0 |
| 2100 | 41520 | -5960 | 0 |
| 2100B | 41520 | -6135 | 0 |
| 2150 | 41520 | -6660 | 0 |
| 2151 | 41520 | -6810 | 0 |
| 2152 | 41520 | -7420 | 0 |
| 2153 | 41520 | -7570 | 0 |
| 2154 | 41520 | -9070 | 0 |
| 2155 | 41520 | -9270 | 0 |
| 2210 | 41520 | -9580 | 0 |
| 2300 | 41520 | -9780 | 0 |
| 2301 | 41520 | -10280 | 0 |
| 2302 | 41520 | -12330 | 0 |
| 2303 | 41520 | -14930 | 0 |
| 2304 | 41520 | -15130 | 0 |
| 2310 | 41520 | -15440 | 0 |
| 2311 | 41520 | -15640 | 0 |
| 2312 | 41520 | -16140 | 0 |
| 2313 | 41520 | -18190 | 0 |
| 2314 | 41520 | -20790 | 0 |
| 2315 | 41520 | -20990 | 0 |
| 2316 | 41520 | -21300 | 0 |
| 2400 | 41520 | -21500 | 0 |
| 2401 | 41520 | -22000 | 0 |
| 2405 | 41520 | -24050 | 0 |
| 2406 | 41520 | -26650 | 0 |
| 2411 | 41520 | -26850 | 0 |
| 2412 | 41520 | -27460 | 0 |
| 2413 | 41520 | -27610 | 0 |
| 2420A | 41520 | -28185 | 0 |
| 2420 | 41520 | -28360 | 0 |
| 2420B | 41695 | -28360 | 0 |
| 2421 | 42270 | -28360 | 0 |
| 2422 | 42420 | -28360 | 0 |
| 2423 | 43030 | -28360 | 0 |
| 2424 | 43180 | -28360 | 0 |
| 2425 | 44920 | -28360 | 0 |
| 2502 | 46920 | -28360 | 0 |
| 2507 | 47120 | -28360 | 0 |
| 2508 | 47730 | -28360 | 0 |
| 2509 | 47880 | -28360 | 0 |
| 2600A | 48305 | -28360 | 0 |
| 2600 | 48480 | -28360 | 0 |
| 2600B | 48480 | -28360 | 175 |
| 2601 | 48480 | -28360 | 600 |
| 2603 | 48480 | -28360 | 1210 |
| 2604 | 48480 | -28360 | 1360 |
| 2608 | 48480 | -28360 | 2860 |
| 2701 | 48480 | -28360 | 3060 |
| 2702 | 48480 | -28360 | 3360 |
| 2703 | 48480 | -28360 | 3560 |
| 2704 | 48480 | -28360 | 4060 |
| 2705 | 48480 | -28360 | 6060 |
| 2720 | 48480 | -28360 | 8360 |
| 2721 | 48480 | -28360 | 8560 |
| 2724 | 48480 | -28360 | 9170 |
| 2760A | 48480 | -28360 | 9745 |
| 2760 | 48480 | -28360 | 9920 |
| 2760B | 48655 | -28360 | 9920 |
| 2870 | 48980 | -28360 | 9920 |
| 2871 | 49430 | -28360 | 9920 |
| 2802 | 50040 | -28360 | 9920 |
| 2803 | 50190 | -28360 | 9920 |
| 2806 | 51440 | -28360 | 9920 |
| 2898 | 51640 | -28360 | 9920 |
| 2899 | 52250 | -28360 | 9920 |
| 2900A | 53025 | -28360 | 9920 |
| 2900 | 53200 | -28360 | 9920 |
| 2900B | 53200 | -28360 | 9745 |
| 2901 | 53200 | -28360 | 9370 |
| 2902 | 53200 | -28360 | 8760 |
| 2903 | 53200 | -28360 | 8610 |
| 2904 | 53200 | -28360 | 7610 |
| 3000 | 53200 | -28360 | 6960 |
| 4000 | 33660 | -5560 | 0 |
| 4020 | 33660 | -5460 | 0 |
| 8000A | 21120 | 0 | -298 |
| 8000 | 21120 | 0 | -368 |
| 8000B | 21120 | -70 | -368 |
| 8005A | 21120 | -193 | -368 |
| 8005 | 21120 | -263 | -368 |
| 8005B | 21120 | -263 | -298 |
| 8010 | 21120 | -263 | -173 |
| 8015 | 21120 | -263 | 77 |
| 8016 | 21120 | -263 | 327 |
| 8017 | 21120 | -263 | 577 |
| 8025 | 21120 | -263 | 697 |
| 8020 | 21120 | -243 | -173 |
| 8030A | 21120 | -213 | -173 |
| 8030 | 21120 | -143 | -173 |
| 8030B | 21120 | -143 | -103 |
| 8035A | 21120 | -143 | 232 |
| 8035 | 21120 | -143 | 372 |
| 8035B | 21137.7 | -4.1245 | 372 |
| 8040A | 21154.8 | 129.556 | 372 |
| 8040 | 21158 | 155 | 372 |
| 8040B | 21158 | 155 | 397.65 |
| 8045 | 21158 | 155 | 412 |
| 8050 | 21158 | 155 | 1112 |
| 8055A | 21158 | 155 | 1351 |
| 8055 | 21158 | 155 | 1421 |
| 8055B | 21158 | 225 | 1421 |
| 8060 | 21158 | 355 | 1421 |
| 8070 | 21158 | 1070 | 1421 |
| 8080 | 21138 | 155 | 412 |
| 8085 | 21123 | 155 | 412 |
| 8090A | 20908.9 | 117.179 | 412 |
| 8090 | 20840 | 105 | 412 |
| 8090B | 20840 | 105 | 482 |
| 8095A | 20840 | 105 | 672 |
| 8095 | 20840 | 105 | 742 |
| 8095B | 20800.9 | 163.071 | 742 |
| 8100 | 20665 | 365 | 742 |
| 8110A | 20665 | 365 | 642 |
| 8110 | 20665 | 365 | 572 |
| 8110B | 20595 | 365 | 572 |
| 8115 | 20395 | 365 | 572 |
| 8120 | 20395 | 365 | 682 |
| 8125 | 20395 | 365 | 812 |
| 8275 | 21158 | 1320 | 1421 |
| 8280A | 21158 | 1494.35 | 1421 |
| 8280 | 21158 | 1520 | 1421 |
| 8280B | 21158 | 1520 | 1395.35 |
| 8284 | 21158 | 1520 | 1121 |
| 8285 | 21158 | 1520 | 1001 |
| 8290 | 21158 | 1520 | 916 |
| 8295A | 21158 | 1520 | 661.65 |
| 8295 | 21158 | 1520 | 636 |
| 8295B | 21181.8 | 1529.53 | 636 |
| 8300A | 21259.2 | 1560.47 | 636 |
| 8300 | 21283 | 1570 | 636 |
| 8300B | 21283 | 1570 | 610.35 |
| 8305 | 21283 | 1570 | 556 |
| 9000A | 28570 | 0 | -298 |
| 9000 | 28570 | 0 | -368 |
| 9000B | 28570 | -70 | -368 |
| 9005A | 28570 | -193 | -368 |
| 9005 | 28570 | -263 | -368 |
| 9005B | 28570 | -263 | -298 |
| 9010 | 28570 | -263 | -173 |
| 9015 | 28570 | -263 | 77 |
| 9016 | 28570 | -263 | 327 |
| 9017 | 28570 | -263 | 577 |
| 9025 | 28570 | -263 | 697 |
| 9020 | 28570 | -243 | -173 |
| 9030A | 28570 | -213 | -173 |
| 9030 | 28570 | -143 | -173 |
| 9030B | 28570 | -143 | -103 |
| 9035A | 28570 | -143 | 232 |
| 9035 | 28570 | -143 | 372 |
| 9035B | 28587.7 | -4.12459 | 372 |
| 9040A | 28604.8 | 129.556 | 372 |
| 9040 | 28608 | 155 | 372 |
| 9040B | 28608 | 155 | 397.65 |
| 9045 | 28608 | 155 | 412 |
| 9050 | 28608 | 155 | 1112 |
| 9055A | 28608 | 155 | 1351 |
| 9055 | 28608 | 155 | 1421 |
| 9055B | 28608 | 225 | 1421 |
| 9060 | 28608 | 355 | 1421 |
| 9070 | 28608 | 1070 | 1421 |
| 9080 | 28588 | 155 | 412 |
| 9085 | 28573 | 155 | 412 |
| 9090A | 28358.9 | 117.179 | 412 |
| 9090 | 28290 | 105 | 412 |
| 9090B | 28290 | 105 | 482 |
| 9095A | 28290 | 105 | 672 |
| 9095 | 28290 | 105 | 742 |
| 9095B | 28250.9 | 163.071 | 742 |
| 9100 | 28115 | 365 | 742 |
| 9110A | 28115 | 365 | 642 |
| 9110 | 28115 | 365 | 572 |
| 9110B | 28045 | 365 | 572 |
| 9115 | 27845 | 365 | 572 |
| 9120 | 27845 | 365 | 682 |
| 9125 | 27845 | 365 | 812 |
| 9275 | 28608 | 1320 | 1421 |
| 9280A | 28608 | 1494.35 | 1421 |
| 9280 | 28608 | 1520 | 1421 |
| 9280B | 28608 | 1520 | 1395.35 |
| 9284 | 28608 | 1520 | 1121 |
| 9285 | 28608 | 1520 | 1001 |
| 9290 | 28608 | 1520 | 916 |
| 9295A | 28608 | 1520 | 661.65 |
| 9295 | 28608 | 1520 | 636 |
| 9295B | 28631.8 | 1529.53 | 636 |
| 9300A | 28709.2 | 1560.47 | 636 |
| 9300 | 28733 | 1570 | 636 |
| 9300B | 28733 | 1570 | 610.35 |
| 9305 | 28733 | 1570 | 556 |