| European Spallation Source CTL and CDL thermo-mechanical calculations – Appendix 3 Detail layout of the TS supply process pipe model |  |
| --- | --- |
| Type of document | Technical document |
| EES Contact Person | Jaroslaw FYDRYCH |
| WUT references | WrUT_CTL_CDL R 3.0 |
| Publication date | 06.06.2017 |

| Written by | Checked by | Approved by |
| --- | --- | --- |
| Janusz SKRZYPACZ Przemysław JASZAK Jaroslaw POLINSKI | Jaroslaw POLINSKI Maciej CHOROWSKI | Maciej CHOROWSKI |
| Signature: | Signature: | Signature: |

Figure 1 Rendered model of the TS supply line

Figure 2 Rendered model of the TS supply line – the close-up jumper connection section

Figure 3 Model of the TS supply line – node numbers and localization

Figure 4 Model of the TS supply line – node numbers and localization

Figure 5 Model of the TS supply line – node numbers and localization

Figure 6 Model of the TS supply line – node numbers and localization

The coordinates of the all model nodes are presented below are in accordance with coordinate system presented in the figures 1-6. Origin of the coordinate system is located in the model first node.

Table 1 TS supply pipe – the coordinates of the model nodes

| Node | X [mm] | Y [mm] | Z [mm] |
| --- | --- | --- | --- |
| 10 | 0 | 0 | 0 |
| 18 | 300 | 0 | 0 |
| 19 | 600 | 0 | 0 |
| 20 | 1100 | 0 | 0 |
| 21 | 3400 | 0 | 0 |
| 22 | 5700 | 0 | 0 |
| 23 | 6220 | 0 | 0 |
| 24 | 6685 | 0 | 0 |
| 27 | 6885 | 0 | 0 |
| 28 | 7350 | 0 | 0 |
| 29 | 7650 | 0 | 0 |
| 30 | 8050 | 0 | 0 |
| 90 | 8350 | 0 | 0 |
| 100 | 8850 | 0 | 0 |
| 110 | 11000 | 0 | 0 |
| 120 | 13150 | 0 | 0 |
| 125 | 13670 | 0 | 0 |
| 130 | 14800 | 0 | 0 |
| 140 | 15100 | 0 | 0 |
| 7050A | 13670 | 0 | -340 |
| 7050 | 13670 | 0 | -410 |
| 7050B | 13670 | -70 | -410 |
| 7051A | 13670 | -310 | -410 |
| 7051 | 13670 | -380 | -410 |
| 7051B | 13670 | -380 | -340 |
| 7052 | 13670 | -380 | -215 |
| 7053A | 13720 | -380 | -215 |
| 7053 | 13790 | -380 | -215 |
| 7053B | 13790 | -380 | -145 |
| 7058 | 13790 | -380 | 280 |
| 7060A | 13922.9 | -285.545 | 280 |
| 7060 | 13980 | -245 | 280 |
| 7060B | 13980 | -245 | 350 |
| 7065 | 13980 | -245 | 1070 |
| 7066A | 13980 | -245 | 1450 |
| 7066 | 13980 | -245 | 1520 |
| 7066B | 13980 | -175 | 1520 |
| 7067 | 13980 | 89 | 1520 |
| 7110 | 13980 | 839 | 1520 |
| 7069A | 13790 | -380 | 310 |
| 7069 | 13790 | -380 | 380 |
| 7069B | 13743.9 | -327.32 | 380 |
| 7070A | 13626.1 | -192.68 | 380 |
| 7070 | 13580 | -140 | 380 |
| 7070B | 13580 | -140 | 450 |
| 7073A | 13580 | -140 | 640 |
| 7073 | 13580 | -140 | 710 |
| 7073B | 13510 | -140 | 710 |
| 7077A | 13475 | -140 | 710 |
| 7077 | 13405 | -140 | 710 |
| 7077B | 13405 | -140 | 640 |
| 7180A | 13405 | -140 | 570 |
| 7180 | 13405 | -140 | 500 |
| 7180B | 13335 | -140 | 500 |
| 7182A | 13305 | -140 | 500 |
| 7182 | 13235 | -140 | 500 |
| 7182B | 13235 | -140 | 570 |
| 7185 | 13235 | -140 | 660 |
| 7188 | 13235 | -140 | 793 |
| 7200 | 13135 | -140 | 660 |
| 7210 | 13135 | 190 | 660 |
| 7220A | 13135 | -585 | 660 |
| 7220 | 13135 | -655 | 660 |
| 7220B | 13135 | -655 | 730 |
| 7230 | 13135 | -655 | 1660 |
| 7111 | 13980 | 1089 | 1520 |
| 7112A | 13980 | 1268.45 | 1520 |
| 7112 | 13980 | 1289 | 1520 |
| 7112B | 13980 | 1289 | 1499.45 |
| 7113 | 13980 | 1289 | 1220 |
| 7115 | 13980 | 1289 | 1100 |
| 7116 | 13980 | 1289 | 1015 |
| 7117A | 13980 | 1289 | 755.55 |
| 7117 | 13980 | 1289 | 735 |
| 7117B | 14000.6 | 1289 | 735 |
| 7118A | 14084.5 | 1289 | 735 |
| 7118 | 14105 | 1289 | 735 |
| 7118B | 14105 | 1269.82 | 727.623 |
| 7119 | 14105 | 1159 | 685 |
| 7120 | 14105 | 1109 | 645 |
| 7121 | 14105 | 1089 | 625 |
| 7122 | 13990 | 1089 | 625 |
| 7250 | 13670 | -380 | 35 |
| 7255 | 13670 | -380 | 285 |
| 7260 | 13670 | -380 | 535 |
| 7265 | 13670 | -380 | 655 |
| 290 | 15500 | 0 | 0 |
| 299 | 15800 | 0 | 0 |
| 300 | 16300 | 0 | 0 |
| 310 | 18450 | 0 | 0 |
| 320 | 20600 | 0 | 0 |
| 330 | 21120 | 0 | 0 |
| 340 | 22250 | 0 | 0 |
| 350 | 22550 | 0 | 0 |
| 360 | 22950 | 0 | 0 |
| 369 | 23250 | 0 | 0 |
| 370 | 23750 | 0 | 0 |
| 380 | 25900 | 0 | 0 |
| 390 | 28050 | 0 | 0 |
| 400 | 28570 | 0 | 0 |
| 410 | 29700 | 0 | 0 |
| 420 | 30000 | 0 | 0 |
| 2000 | 31100 | 0 | 0 |
| 2001 | 31300 | 0 | 0 |
| 2002 | 31910 | 0 | 0 |
| 2003 | 32060 | 0 | 0 |
| 2005A | 32625 | 0 | 0 |
| 2005 | 32760 | 0 | 0 |
| 2005B | 32760 | -135 | 0 |
| 2006 | 32760 | -700 | 0 |
| 2007 | 32760 | -850 | 0 |
| 2008 | 32760 | -1460 | 0 |
| 2009 | 32760 | -1610 | 0 |
| 2018 | 32760 | -2810 | 0 |
| 2019 | 32760 | -4310 | 0 |
| 2020 | 32760 | -4510 | 0 |
| 2039 | 32760 | -5120 | 0 |
| 2040 | 32760 | -5430 | 0 |
| 2041 | 32760 | -5960 | 0 |
| 2042 | 33660 | -5960 | 0 |
| 2045 | 35260 | -5960 | 0 |
| 2050 | 35460 | -5960 | 0 |
| 2060 | 35860 | -5960 | 0 |
| 2061 | 36060 | -5960 | 0 |
| 2062 | 36560 | -5960 | 0 |
| 2063 | 39860 | -5960 | 0 |
| 2081 | 40060 | -5960 | 0 |
| 2085 | 40670 | -5960 | 0 |
| 2090 | 40820 | -5960 | 0 |
| 2100A | 41385 | -5960 | 0 |
| 2100 | 41520 | -5960 | 0 |
| 2100B | 41520 | -6095 | 0 |
| 2150 | 41520 | -6660 | 0 |
| 2151 | 41520 | -6810 | 0 |
| 2152 | 41520 | -7420 | 0 |
| 2153 | 41520 | -7570 | 0 |
| 2154 | 41520 | -9070 | 0 |
| 2155 | 41520 | -9270 | 0 |
| 2210 | 41520 | -9580 | 0 |
| 2300 | 41520 | -9780 | 0 |
| 2301 | 41520 | -10280 | 0 |
| 2302 | 41520 | -12330 | 0 |
| 2303 | 41520 | -14930 | 0 |
| 2304 | 41520 | -15130 | 0 |
| 2310 | 41520 | -15440 | 0 |
| 2311 | 41520 | -15640 | 0 |
| 2312 | 41520 | -16140 | 0 |
| 2313 | 41520 | -18190 | 0 |
| 2314 | 41520 | -20790 | 0 |
| 2315 | 41520 | -20990 | 0 |
| 2316 | 41520 | -21300 | 0 |
| 2400 | 41520 | -21500 | 0 |
| 2401 | 41520 | -22000 | 0 |
| 2405 | 41520 | -24050 | 0 |
| 2406 | 41520 | -26650 | 0 |
| 2411 | 41520 | -26850 | 0 |
| 2412 | 41520 | -27460 | 0 |
| 2413 | 41520 | -27610 | 0 |
| 2420A | 41520 | -28225 | 0 |
| 2420 | 41520 | -28360 | 0 |
| 2420B | 41655 | -28360 | 0 |
| 2421 | 42270 | -28360 | 0 |
| 2422 | 42420 | -28360 | 0 |
| 2423 | 43030 | -28360 | 0 |
| 2424 | 43180 | -28360 | 0 |
| 2425 | 44920 | -28360 | 0 |
| 2502 | 46920 | -28360 | 0 |
| 2507 | 47120 | -28360 | 0 |
| 2508 | 47730 | -28360 | 0 |
| 2509 | 47880 | -28360 | 0 |
| 2600A | 48345 | -28360 | 0 |
| 2600 | 48480 | -28360 | 0 |
| 2600B | 48480 | -28360 | 135 |
| 2601 | 48480 | -28360 | 600 |
| 2603 | 48480 | -28360 | 1210 |
| 2604 | 48480 | -28360 | 1360 |
| 2608 | 48480 | -28360 | 2860 |
| 2701 | 48480 | -28360 | 3060 |
| 2702 | 48480 | -28360 | 3360 |
| 2703 | 48480 | -28360 | 3560 |
| 2704 | 48480 | -28360 | 4060 |
| 2705 | 48480 | -28360 | 6060 |
| 2720 | 48480 | -28360 | 8360 |
| 2721 | 48480 | -28360 | 8560 |
| 2724 | 48480 | -28360 | 9170 |
| 2760A | 48480 | -28360 | 9785 |
| 2760 | 48480 | -28360 | 9920 |
| 2760B | 48615 | -28360 | 9920 |
| 2870 | 48980 | -28360 | 9920 |
| 2871 | 49430 | -28360 | 9920 |
| 2802 | 50040 | -28360 | 9920 |
| 2803 | 50190 | -28360 | 9920 |
| 2806 | 51440 | -28360 | 9920 |
| 2898 | 51640 | -28360 | 9920 |
| 2899 | 52250 | -28360 | 9920 |
| 2900A | 53065 | -28360 | 9920 |
| 2900 | 53200 | -28360 | 9920 |
| 2900B | 53200 | -28360 | 9785 |
| 2901 | 53200 | -28360 | 9370 |
| 2902 | 53200 | -28360 | 8760 |
| 2903 | 53200 | -28360 | 8610 |
| 2904 | 53200 | -28360 | 7610 |
| 3000 | 53200 | -28360 | 6960 |
| 4000 | 33660 | -5560 | 0 |
| 4020 | 33660 | -5460 | 0 |
| 8050A | 21120 | 0 | -340 |
| 8050 | 21120 | 0 | -410 |
| 8050B | 21120 | -70 | -410 |
| 8051A | 21120 | -310 | -410 |
| 8051 | 21120 | -380 | -410 |
| 8051B | 21120 | -380 | -340 |
| 8052 | 21120 | -380 | -215 |
| 8053A | 21170 | -380 | -215 |
| 8053 | 21240 | -380 | -215 |
| 8053B | 21240 | -380 | -145 |
| 8058 | 21240 | -380 | 280 |
| 8060A | 21372.9 | -285.545 | 280 |
| 8060 | 21430 | -245 | 280 |
| 8060B | 21430 | -245 | 350 |
| 8065 | 21430 | -245 | 1070 |
| 8066A | 21430 | -245 | 1450 |
| 8066 | 21430 | -245 | 1520 |
| 8066B | 21430 | -175 | 1520 |
| 8067 | 21430 | 89 | 1520 |
| 8110 | 21430 | 839 | 1520 |
| 8069A | 21240 | -380 | 310 |
| 8069 | 21240 | -380 | 380 |
| 8069B | 21193.9 | -327.32 | 380 |
| 8070A | 21076.1 | -192.68 | 380 |
| 8070 | 21030 | -140 | 380 |
| 8070B | 21030 | -140 | 450 |
| 8073A | 21030 | -140 | 640 |
| 8073 | 21030 | -140 | 710 |
| 8073B | 20960 | -140 | 710 |
| 8077A | 20925 | -140 | 710 |
| 8077 | 20855 | -140 | 710 |
| 8077B | 20855 | -140 | 640 |
| 8180A | 20855 | -140 | 570 |
| 8180 | 20855 | -140 | 500 |
| 8180B | 20785 | -140 | 500 |
| 8182A | 20755 | -140 | 500 |
| 8182 | 20685 | -140 | 500 |
| 8182B | 20685 | -140 | 570 |
| 8185 | 20685 | -140 | 660 |
| 8188 | 20685 | -140 | 793 |
| 8200 | 20585 | -140 | 660 |
| 8210 | 20585 | 190 | 660 |
| 8220A | 20585 | -585 | 660 |
| 8220 | 20585 | -655 | 660 |
| 8220B | 20585 | -655 | 730 |
| 8230 | 20585 | -655 | 1660 |
| 8111 | 21430 | 1089 | 1520 |
| 8112A | 21430 | 1268.45 | 1520 |
| 8112 | 21430 | 1289 | 1520 |
| 8112B | 21430 | 1289 | 1499.45 |
| 8113 | 21430 | 1289 | 1220 |
| 8115 | 21430 | 1289 | 1100 |
| 8116 | 21430 | 1289 | 1015 |
| 8117A | 21430 | 1289 | 755.55 |
| 8117 | 21430 | 1289 | 735 |
| 8117B | 21450.6 | 1289 | 735 |
| 8118A | 21534.5 | 1289 | 735 |
| 8118 | 21555 | 1289 | 735 |
| 8118B | 21555 | 1269.82 | 727.623 |
| 8119 | 21555 | 1159 | 685 |
| 8120 | 21555 | 1109 | 645 |
| 8121 | 21555 | 1089 | 625 |
| 8122 | 21440 | 1089 | 625 |
| 8250 | 21120 | -380 | 35 |
| 8255 | 21120 | -380 | 285 |
| 8260 | 21120 | -380 | 535 |
| 8265 | 21120 | -380 | 655 |
| 9050A | 28570 | 0 | -340 |
| 9050 | 28570 | 0 | -410 |
| 9050B | 28570 | -70 | -410 |
| 9051A | 28570 | -310 | -410 |
| 9051 | 28570 | -380 | -410 |
| 9051B | 28570 | -380 | -340 |
| 9052 | 28570 | -380 | -215 |
| 9053A | 28620 | -380 | -215 |
| 9053 | 28690 | -380 | -215 |
| 9053B | 28690 | -380 | -145 |
| 9058 | 28690 | -380 | 280 |
| 9060A | 28822.9 | -285.544 | 280 |
| 9060 | 28880 | -245 | 280 |
| 9060B | 28880 | -245 | 350 |
| 9065 | 28880 | -245 | 1070 |
| 9066A | 28880 | -245 | 1450 |
| 9066 | 28880 | -245 | 1520 |
| 9066B | 28880 | -175 | 1520 |
| 9067 | 28880 | 89 | 1520 |
| 9110 | 28880 | 839 | 1520 |
| 9069A | 28690 | -380 | 310 |
| 9069 | 28690 | -380 | 380 |
| 9069B | 28643.9 | -327.32 | 380 |
| 9070A | 28526.1 | -192.681 | 380 |
| 9070 | 28480 | -140 | 380 |
| 9070B | 28480 | -140 | 450 |
| 9073A | 28480 | -140 | 640 |
| 9073 | 28480 | -140 | 710 |
| 9073B | 28410 | -140 | 710 |
| 9077A | 28375 | -140 | 710 |
| 9077 | 28305 | -140 | 710 |
| 9077B | 28305 | -140 | 640 |
| 9180A | 28305 | -140 | 570 |
| 9180 | 28305 | -140 | 500 |
| 9180B | 28235 | -140 | 500 |
| 9182A | 28205 | -140 | 500 |
| 9182 | 28135 | -140 | 500 |
| 9182B | 28135 | -140 | 570 |
| 9185 | 28135 | -140 | 660 |
| 9188 | 28135 | -140 | 793 |
| 9200 | 28035 | -140 | 660 |
| 9210 | 28035 | 190 | 660 |
| 9220A | 28035 | -585 | 660 |
| 9220 | 28035 | -655 | 660 |
| 9220B | 28035 | -655 | 730 |
| 9230 | 28035 | -655 | 1660 |
| 9111 | 28880 | 1089 | 1520 |
| 9112A | 28880 | 1268.45 | 1520 |
| 9112 | 28880 | 1289 | 1520 |
| 9112B | 28880 | 1289 | 1499.45 |
| 9113 | 28880 | 1289 | 1220 |
| 9115 | 28880 | 1289 | 1100 |
| 9116 | 28880 | 1289 | 1015 |
| 9117A | 28880 | 1289 | 755.55 |
| 9117 | 28880 | 1289 | 735 |
| 9117B | 28900.6 | 1289 | 735 |
| 9118A | 28984.5 | 1289 | 735 |
| 9118 | 29005 | 1289 | 735 |
| 9118B | 29005 | 1269.82 | 727.623 |
| 9119 | 29005 | 1159 | 685 |
| 9120 | 29005 | 1109 | 645 |
| 9121 | 29005 | 1089 | 625 |
| 9122 | 28890 | 1089 | 625 |
| 9250 | 28570 | -380 | 35 |
| 9255 | 28570 | -380 | 285 |
| 9260 | 28570 | -380 | 535 |
| 9265 | 28570 | -380 | 655 |