| European Spallation Source Test Stand thermo-mechanical calculations – Appendix TS3 Detail layout of the CTL-TS TS supply process pipe model |  |
| --- | --- |
| Type of document | Technical document |
| EES Contact Person | Jaroslaw FYDRYCH |
| WUT references | WrUT_CTL_CDL R 3.0 |
| Publication date | 06.06.2017 |

| Written by | Checked by | Approved by |
| --- | --- | --- |
| Janusz SKRZYPACZ Przemysław JASZAK Jaroslaw POLINSKI | Jaroslaw POLINSKI Maciej CHOROWSKI | Maciej CHOROWSKI |
| Signature: | Signature: | Signature: |

Figure 1 Rendered model of the TS supply line

Figure 2 Rendered model of the TS supply line – the close-up jumper connection section

Figure 3 Model of the TS supply line – node numbers and localization

Figure 4 Model of the TS supply line – node numbers and localization

Figure 5 Model of the TS supply line – node numbers and localization

The coordinates of the all model nodes are presented below are in accordance with coordinate system presented in the figures 1-5. Origin of the coordinate system is located in the model first node.

Table 1 TS supply pipe – the coordinates of the model nodes

| Node | X [mm] | Y [mm] | Z [mm] |
| --- | --- | --- | --- |
| 10 | 0 | 0 | 0 |
| 12 | 0 | 0 | 100 |
| 15 | 0 | 0 | 350 |
| 17 | 0 | 0 | 550 |
| 20 | 0 | 0 | 750 |
| 25 | 0 | 0 | 1390 |
| 30 | 0 | 0 | 2090 |
| 50A | 0 | 0 | 2762 |
| 50 | 0 | 0 | 2790 |
| 50B | 0 | 28 | 2790 |
| 55 | 0 | 440 | 2790 |
| 60 | 0 | 840 | 2790 |
| 70 | 0 | 1240 | 2790 |
| 80A | 0 | 1652 | 2790 |
| 80 | 0 | 1680 | 2790 |
| 80B | 28 | 1680 | 2790 |
| 90 | 500 | 1680 | 2790 |
| 100 | 1500 | 1680 | 2790 |
| 320 | 1560 | 1680 | 2790 |
| 325 | 1810 | 1680 | 2790 |
| 330 | 2020 | 1680 | 2790 |
| 335 | 2280 | 1680 | 2790 |
| 340 | 2867 | 1680 | 2790 |
| 345 | 4467 | 1680 | 2790 |
| 350 | 6067 | 1680 | 2790 |
| 355 | 7667 | 1680 | 2790 |
| 360 | 9267 | 1680 | 2790 |
| 420 | 9327 | 1680 | 2790 |
| 425 | 9577 | 1680 | 2790 |
| 430 | 9787 | 1680 | 2790 |
| 435 | 10047 | 1680 | 2790 |
| 440 | 10634 | 1680 | 2790 |
| 445 | 12234 | 1680 | 2790 |
| 450 | 13834 | 1680 | 2790 |
| 455 | 15434 | 1680 | 2790 |
| 460 | 17104 | 1680 | 2790 |
| 470 | 17574 | 1680 | 2790 |
| 500A | 17946 | 1680 | 2790 |
| 500 | 17974 | 1680 | 2790 |
| 500B | 17974 | 1680 | 2762 |
| 501A | 17974 | 1680 | 2579.35 |
| 501 | 17974 | 1680 | 2575 |
| 501B | 17974.9 | 1679.07 | 2570.86 |
| 505A | 18018.1 | 1635.93 | 2379.14 |
| 505 | 18019 | 1635 | 2375 |
| 505B | 18019 | 1635 | 2370.65 |
| 510 | 18019 | 1635 | 2035 |
| 550 | 18019 | 1635 | 1535 |
| 560 | 18019 | 1635 | 1035 |
| 570A | 18019 | 1635 | 213 |
| 570 | 18019 | 1635 | 185 |
| 570B | 18019 | 1663 | 185 |
| 580 | 18019 | 2505 | 185 |
| 600A | 18019 | 2977 | 185 |
| 600 | 18019 | 3005 | 185 |
| 600B | 18047 | 3005 | 185 |
| 605 | 18735 | 3005 | 185 |
| 610 | 19600 | 3005 | 185 |
| 620 | 19660 | 3005 | 185 |
| 625 | 19910 | 3005 | 185 |
| 630 | 20110 | 3005 | 185 |
| 635 | 20370 | 3005 | 185 |
| 650 | 21958 | 3005 | 185 |
| 655 | 23408 | 3005 | 185 |
| 660 | 25353 | 3005 | 185 |
| 670 | 25413 | 3005 | 185 |
| 675 | 25663 | 3005 | 185 |
| 680 | 25863 | 3005 | 185 |
| 685 | 26123 | 3005 | 185 |
| 695 | 27711 | 3005 | 185 |
| 696 | 29161 | 3005 | 185 |
| 698 | 31106 | 3005 | 185 |
| 699 | 32006 | 3005 | 185 |
| 700A | 32694 | 3005 | 185 |
| 700 | 32722 | 3005 | 185 |
| 700B | 32722 | 3033 | 185 |
| 750 | 32722 | 3805 | 185 |
| 760 | 32722 | 4475 | 185 |
| 770 | 32722 | 5145 | 185 |
| 800A | 32722 | 5917 | 185 |
| 800 | 32722 | 5945 | 185 |
| 800B | 32722 | 5945 | 157 |
| 820 | 32722 | 5945 | -315 |
| 850 | 32722 | 5945 | -685 |
| 880 | 32722 | 5945 | -1055 |
| 900A | 32722 | 5945 | -1527 |
| 900 | 32722 | 5945 | -1555 |
| 900B | 32722 | 5973 | -1555 |
| 920 | 32722 | 6695 | -1555 |
| 950 | 32722 | 7445 | -1555 |
| 980 | 32722 | 8195 | -1555 |
| 1000A | 32722 | 8917 | -1555 |
| 1000 | 32722 | 8945 | -1555 |
| 1000B | 32750 | 8945 | -1555 |
| 1100 | 33422 | 8945 | -1555 |
| 1200 | 34287 | 8945 | -1555 |
| 1250 | 34347 | 8945 | -1555 |
| 1300 | 34597 | 8945 | -1555 |
| 1350 | 34797 | 8945 | -1555 |
| 1400 | 35057 | 8945 | -1555 |
| 1450 | 36707 | 8945 | -1555 |
| 1500 | 38357 | 8945 | -1555 |
| 3900 | 39057 | 8945 | -1555 |
| 9000A | 39347 | 8945 | -1555 |
| 9000 | 39417 | 8945 | -1555 |
| 9000B | 39417 | 8945 | -1625 |
| 9120A | 39417 | 8945 | -2025 |
| 9120 | 39417 | 8945 | -2095 |
| 9120B | 39417 | 8875 | -2095 |
| 9130 | 39417 | 8865 | -2095 |
| 9132 | 39417 | 8845 | -2095 |
| 9134 | 39417 | 8825 | -2095 |
| 9140A | 39417 | 8685 | -2095 |
| 9140 | 39417 | 8615 | -2095 |
| 9140B | 39417 | 8615 | -2025 |
| 9150 | 39417 | 8615 | -1900 |
| 9154 | 39417 | 8615 | -1650 |
| 9156 | 39417 | 8615 | -1400 |
| 9158 | 39417 | 8615 | -1150 |
| 9160 | 39417 | 8615 | -1030 |
| 9500A | 39467 | 8615 | -1900 |
| 9500 | 39537 | 8615 | -1900 |
| 9500B | 39537 | 8615 | -1830 |
| 9505 | 39537 | 8615 | -1449 |
| 9510A | 39665.5 | 8708.74 | -1449 |
| 9510 | 39722 | 8750 | -1449 |
| 9510B | 39722 | 8750 | -1379 |
| 9515 | 39722 | 8750 | -659 |
| 9350A | 39722 | 8750 | -374 |
| 9350 | 39722 | 8750 | -209 |
| 9350B | 39722 | 8915 | -209 |
| 9360 | 39722 | 9075 | -209 |
| 9370 | 39722 | 9698 | -209 |
| 9380 | 39722 | 9948 | -209 |
| 9390A | 39722 | 10122.2 | -209 |
| 9390 | 39722 | 10148 | -209 |
| 9390B | 39722 | 10148 | -234.8 |
| 9400 | 39722 | 10148 | -509 |
| 9410 | 39722 | 10148 | -629 |
| 9420 | 39722 | 10148 | -814 |
| 9425 | 39722 | 10148 | -904 |
| 9430A | 39722 | 10148 | -968.2 |
| 9430 | 39722 | 10148 | -994 |
| 9430B | 39747.8 | 10148 | -994 |
| 9440A | 39821.2 | 10148 | -994 |
| 9440 | 39847 | 10148 | -994 |
| 9440B | 39847 | 10123.9 | -1003.26 |
| 9450 | 39847 | 10018 | -1044 |
| 9460 | 39847 | 9968 | -1084 |
| 9470A | 39847 | 9966.24 | -1085.76 |
| 9470 | 39847 | 9948 | -1104 |
| 9470B | 39821.2 | 9948 | -1104 |
| 9480 | 39732 | 9948 | -1104 |
| 9600A | 39537 | 8615 | -1429 |
| 9600 | 39537 | 8615 | -1359 |
| 9600B | 39489.2 | 8666.13 | -1359 |
| 9610A | 39369.8 | 8793.86 | -1359 |
| 9610 | 39322 | 8845 | -1359 |
| 9610B | 39322 | 8845 | -1289 |
| 9620A | 39322 | 8845 | -1099 |
| 9620 | 39322 | 8845 | -1029 |
| 9620B | 39252 | 8845 | -1029 |
| 9630A | 39217 | 8845 | -1029 |
| 9630 | 39147 | 8845 | -1029 |
| 9630B | 39147 | 8845 | -1099 |
| 9640A | 39147 | 8845 | -1169 |
| 9640 | 39147 | 8845 | -1239 |
| 9640B | 39077 | 8845 | -1239 |
| 9650A | 39047 | 8845 | -1239 |
| 9650 | 38977 | 8845 | -1239 |
| 9650B | 38977 | 8845 | -1169 |
| 9660 | 38977 | 8845 | -1079 |
| 9670 | 38977 | 8845 | -939 |
| 9690A | 39728.5 | 8825 | -2095 |
| 9690 | 39742 | 8825 | -2095 |
| 9690B | 39754.5 | 8830.01 | -2095 |
| 9695A | 39778.7 | 8839.66 | -2095 |
| 9695 | 39792 | 8845 | -2095 |
| 9695B | 39802.2 | 8855.16 | -2095 |
| 9700A | 39976.5 | 9029.5 | -2095 |
| 9700 | 40026 | 9079 | -2095 |
| 9700B | 40026 | 9079 | -2025 |
| 9710 | 40026 | 9079 | -1900 |
| 9720 | 40026 | 9079 | -1650 |
| 9730 | 40026 | 9079 | -1400 |
| 9740 | 40026 | 9079 | -1150 |
| 9750 | 40026 | 9079 | -1030 |