| European Spallation Source Test Stand thermo-mechanical calculations – Appendix TS4 Detail layout of the CDS-TS TS return process pipe model |  |
| --- | --- |
| Type of document | Technical document |
| EES Contact Person | Jaroslaw FYDRYCH |
| WUT references | WrUT_CTL_CDL R 3.0 |
| Publication date | 06.06.2017 |

| Written by | Checked by | Approved by |
| --- | --- | --- |
| Janusz SKRZYPACZ Przemysław JASZAK Jaroslaw POLINSKI | Jaroslaw POLINSKI Maciej CHOROWSKI | Maciej CHOROWSKI |
| Signature: | Signature: | Signature: |

Figure 1 Rendered model of the TS return line

Figure 2 Rendered model of the TS return line – the close-up jumper connection and splitting box sections

Figure 3 Model of the TS return line –node numbers and localization

Figure 4 Model of the TS return line –node numbers and localization

Figure 5 Model of the TS return line –node numbers and localization

Figure 6 Model of the TS return line –node numbers and localization

The coordinates of the all model nodes are presented below are in accordance with coordinate system presented in the figures 1-6. Origin of the coordinate system is located in the model first node.

Table 1 TS return pipe – the coordinates of the model nodes

| Node | X [mm] | Y [mm] | Z [mm] |
| --- | --- | --- | --- |
| 10 | 0 | 0 | 0 |
| 12 | 0 | 0 | 100 |
| 15 | 0 | 0 | 350 |
| 17 | 0 | 0 | 550 |
| 20 | 0 | 0 | 750 |
| 25 | 0 | 0 | 1390 |
| 30 | 0 | 0 | 2090 |
| 50A | 0 | 0 | 2762 |
| 50 | 0 | 0 | 2790 |
| 50B | 0 | 28 | 2790 |
| 55 | 0 | 440 | 2790 |
| 60 | 0 | 840 | 2790 |
| 70 | 0 | 1240 | 2790 |
| 80A | 0 | 1652 | 2790 |
| 80 | 0 | 1680 | 2790 |
| 80B | 28 | 1680 | 2790 |
| 90 | 500 | 1680 | 2790 |
| 100 | 1500 | 1680 | 2790 |
| 320 | 1560 | 1680 | 2790 |
| 325 | 1810 | 1680 | 2790 |
| 330 | 2020 | 1680 | 2790 |
| 335 | 2280 | 1680 | 2790 |
| 340 | 2867 | 1680 | 2790 |
| 345 | 4467 | 1680 | 2790 |
| 350 | 6067 | 1680 | 2790 |
| 355 | 7667 | 1680 | 2790 |
| 360 | 9267 | 1680 | 2790 |
| 420 | 9327 | 1680 | 2790 |
| 425 | 9577 | 1680 | 2790 |
| 430 | 9787 | 1680 | 2790 |
| 435 | 10047 | 1680 | 2790 |
| 440 | 10634 | 1680 | 2790 |
| 445 | 12234 | 1680 | 2790 |
| 450 | 13834 | 1680 | 2790 |
| 455 | 15434 | 1680 | 2790 |
| 460 | 17104 | 1680 | 2790 |
| 470 | 17574 | 1680 | 2790 |
| 500A | 17946 | 1680 | 2790 |
| 500 | 17974 | 1680 | 2790 |
| 500B | 17974 | 1680 | 2762 |
| 501A | 17974 | 1680 | 2579.35 |
| 501 | 17974 | 1680 | 2575 |
| 501B | 17974.9 | 1679.07 | 2570.86 |
| 505A | 18018.1 | 1635.93 | 2379.14 |
| 505 | 18019 | 1635 | 2375 |
| 505B | 18019 | 1635 | 2370.65 |
| 510 | 18019 | 1635 | 2035 |
| 550 | 18019 | 1635 | 1535 |
| 560 | 18019 | 1635 | 1035 |
| 570A | 18019 | 1635 | 213 |
| 570 | 18019 | 1635 | 185 |
| 570B | 18019 | 1663 | 185 |
| 580 | 18019 | 2505 | 185 |
| 600A | 18019 | 2977 | 185 |
| 600 | 18019 | 3005 | 185 |
| 600B | 18047 | 3005 | 185 |
| 605 | 18735 | 3005 | 185 |
| 610 | 19600 | 3005 | 185 |
| 620 | 19660 | 3005 | 185 |
| 625 | 19910 | 3005 | 185 |
| 630 | 20110 | 3005 | 185 |
| 635 | 20370 | 3005 | 185 |
| 650 | 21958 | 3005 | 185 |
| 655 | 23408 | 3005 | 185 |
| 660 | 25353 | 3005 | 185 |
| 670 | 25413 | 3005 | 185 |
| 675 | 25663 | 3005 | 185 |
| 680 | 25863 | 3005 | 185 |
| 685 | 26123 | 3005 | 185 |
| 695 | 27711 | 3005 | 185 |
| 696 | 29161 | 3005 | 185 |
| 698 | 31106 | 3005 | 185 |
| 699 | 32006 | 3005 | 185 |
| 700A | 32694 | 3005 | 185 |
| 700 | 32722 | 3005 | 185 |
| 700B | 32722 | 3033 | 185 |
| 750 | 32722 | 3805 | 185 |
| 760 | 32722 | 4475 | 185 |
| 770 | 32722 | 5145 | 185 |
| 800A | 32722 | 5917 | 185 |
| 800 | 32722 | 5945 | 185 |
| 800B | 32722 | 5945 | 157 |
| 820 | 32722 | 5945 | -315 |
| 850 | 32722 | 5945 | -685 |
| 880 | 32722 | 5945 | -1055 |
| 900A | 32722 | 5945 | -1527 |
| 900 | 32722 | 5945 | -1555 |
| 900B | 32722 | 5973 | -1555 |
| 920 | 32722 | 6695 | -1555 |
| 950 | 32722 | 7445 | -1555 |
| 980 | 32722 | 8195 | -1555 |
| 1000A | 32722 | 8917 | -1555 |
| 1000 | 32722 | 8945 | -1555 |
| 1000B | 32750 | 8945 | -1555 |
| 1100 | 33422 | 8945 | -1555 |
| 1200 | 34287 | 8945 | -1555 |
| 1250 | 34347 | 8945 | -1555 |
| 1300 | 34597 | 8945 | -1555 |
| 1350 | 34797 | 8945 | -1555 |
| 1400 | 35057 | 8945 | -1555 |
| 1450 | 36707 | 8945 | -1555 |
| 1500 | 38357 | 8945 | -1555 |
| 3900 | 39057 | 8945 | -1555 |
| 9000A | 39727 | 8945 | -1555 |
| 9000 | 39797 | 8945 | -1555 |
| 9000B | 39797 | 8945 | -1625 |
| 9050A | 39797 | 8945 | -1865 |
| 9050 | 39797 | 8945 | -1935 |
| 9050B | 39859.9 | 8975.7 | -1935 |
| 9060 | 40007 | 9047.5 | -1935 |
| 9070 | 40019.8 | 9053.77 | -1935 |
| 9072 | 40051.8 | 9085.77 | -1935 |
| 9075 | 40083.8 | 9117.77 | -1935 |
| 9076 | 40083.8 | 9117.77 | -1685 |
| 9077 | 40083.8 | 9117.77 | -1435 |
| 9078 | 40083.8 | 9117.77 | -1185 |
| 9079 | 40083.8 | 9117.77 | -1065 |
| 9082A | 40051.8 | 9080.77 | -1935 |
| 9082 | 40051.8 | 9010.77 | -1935 |
| 9082B | 40121.8 | 9010.77 | -1935 |
| 9084A | 40131.8 | 9010.77 | -1935 |
| 9084 | 40201.8 | 9010.77 | -1935 |
| 9084B | 40201.8 | 9080.77 | -1935 |
| 9090 | 40201.8 | 9085.77 | -1935 |
| 9115 | 40171.8 | 9152.77 | -1935 |
| 9116A | 40090.4 | 9254.49 | -1935 |
| 9116 | 40087.8 | 9257.77 | -1935 |
| 9116B | 40084.3 | 9260.05 | -1935 |
| 9117 | 39957.8 | 9341.77 | -1935 |
| 9125 | 39813.8 | 9376.77 | -1935 |
| 9130A | 39633.4 | 9401.46 | -1935 |
| 9130 | 39623.8 | 9402.77 | -1935 |
| 9130B | 39615.7 | 9397.46 | -1935 |
| 9135A | 39454 | 9291.21 | -1935 |
| 9135 | 39448.8 | 9287.77 | -1935 |
| 9135B | 39445.7 | 9282.3 | -1935 |
| 9140A | 39343.9 | 9101.33 | -1935 |
| 9140 | 39340.8 | 9095.77 | -1935 |
| 9140B | 39340.6 | 9089.4 | -1935 |
| 9150 | 39334.8 | 8880.77 | -1935 |
| 9155 | 39424.8 | 8690.77 | -1935 |
| 9160 | 39576.8 | 8569.27 | -1935 |
| 9165A | 39755 | 8528.27 | -1935 |
| 9165 | 39779.8 | 8522.57 | -1935 |
| 9165B | 39804.3 | 8529.4 | -1935 |
| 9170A | 39980.5 | 8578.52 | -1935 |
| 9170 | 40005.8 | 8585.57 | -1935 |
| 9170B | 40024.4 | 8604.14 | -1935 |
| 9175A | 40135.5 | 8715.28 | -1935 |
| 9175 | 40164.8 | 8744.57 | -1935 |
| 9175B | 40164.8 | 8785.99 | -1935 |
| 9176A | 40164.8 | 8904.57 | -1935 |
| 9176 | 40164.8 | 8974.57 | -1935 |
| 9176B | 40094.8 | 8974.57 | -1935 |
| 9180A | 40084.8 | 8974.57 | -1935 |
| 9180 | 40014.8 | 8974.57 | -1935 |
| 9180B | 40014.8 | 8904.57 | -1935 |
| 9200 | 40014.8 | 8674.57 | -1935 |
| 9202 | 40014.8 | 8674.57 | -1685 |
| 9204 | 40014.8 | 8674.57 | -1435 |
| 9206 | 40014.8 | 8674.57 | -1185 |
| 9208 | 40014.8 | 8674.57 | -1065 |
| 9210A | 40014.8 | 8674.57 | -2060 |
| 9210 | 40014.8 | 8674.57 | -2130 |
| 9210B | 39958.4 | 8633.04 | -2130 |
| 9220 | 39919.8 | 8604.57 | -2130 |
| 9230A | 39880.4 | 8575.5 | -2130 |
| 9230 | 39824.8 | 8534.57 | -2130 |
| 9230B | 39824.8 | 8534.57 | -2061 |
| 9240 | 39824.8 | 8534.57 | -2061 |
| 9242 | 39824.8 | 8534.57 | -1866 |
| 9244 | 39824.8 | 8534.57 | -1616 |
| 9246 | 39824.8 | 8534.57 | -1366 |
| 9248 | 39824.8 | 8534.57 | -1116 |
| 9250 | 39824.8 | 8534.57 | -996 |
| 9300A | 39919.8 | 8604.57 | -1370 |
| 9300 | 39919.8 | 8604.57 | -1300 |
| 9300B | 39849.8 | 8604.57 | -1300 |
| 9310A | 39634.8 | 8604.57 | -1300 |
| 9310 | 39564.8 | 8604.57 | -1300 |
| 9310B | 39564.8 | 8674.57 | -1300 |
| 9320 | 39564.8 | 8804.57 | -1300 |
| 9330A | 39564.8 | 9134.57 | -1300 |
| 9330 | 39564.8 | 9204.57 | -1300 |
| 9330B | 39634.8 | 9204.57 | -1300 |
| 9340A | 39716.8 | 9204.57 | -1300 |
| 9340 | 39786.8 | 9204.57 | -1300 |
| 9340B | 39786.8 | 9204.57 | -1230 |
| 9350 | 39786.8 | 9204.57 | -800 |
| 9360A | 39786.8 | 9204.57 | -370 |
| 9360 | 39786.8 | 9204.57 | -300 |
| 9360B | 39786.8 | 9274.57 | -300 |
| 9370 | 39786.8 | 9396.57 | -300 |
| 9380 | 39786.8 | 10026.6 | -300 |
| 9390 | 39786.8 | 10276.6 | -300 |
| 9400A | 39786.8 | 10450.8 | -300 |
| 9400 | 39786.8 | 10476.6 | -300 |
| 9400B | 39786.8 | 10476.6 | -325.8 |
| 9410 | 39786.8 | 10476.6 | -520 |
| 9420 | 39786.8 | 10476.6 | -780 |
| 9430 | 39786.8 | 10476.6 | -865 |
| 9435 | 39786.8 | 10476.6 | -1005 |
| 9440A | 39786.8 | 10476.6 | -1119.2 |
| 9440 | 39786.8 | 10476.6 | -1145 |
| 9440B | 39812.6 | 10476.6 | -1145 |
| 9450A | 39881 | 10476.6 | -1145 |
| 9450 | 39906.8 | 10476.6 | -1145 |
| 9450B | 39906.8 | 10451.6 | -1151.65 |
| 9460A | 39906.8 | 10184.9 | -1222.77 |
| 9460 | 39906.8 | 10176.6 | -1225 |
| 9460B | 39906.8 | 10171.2 | -1231.8 |
| 9470A | 39906.8 | 10002.1 | -1447.99 |
| 9470 | 39906.8 | 9996.57 | -1455 |
| 9470B | 39906.8 | 9996.57 | -1463.9 |
| 9480 | 39906.8 | 9996.57 | -1505 |
| 9490 | 39906.8 | 9996.57 | -1585 |
| 9500A | 39906.8 | 9996.57 | -1709.2 |
| 9500 | 39906.8 | 9996.57 | -1735 |
| 9500B | 39881 | 9996.57 | -1735 |
| 9510 | 39806.8 | 9996.57 | -1735 |
| 9600A | 39374.8 | 8804.57 | -1300 |
| 9600 | 39304.8 | 8804.57 | -1300 |
| 9600B | 39304.8 | 8804.57 | -1230 |
| 9610 | 39304.8 | 8804.57 | -1120 |