## Slide 1: Powering
Viatcheslav Grishin (ESS)
BI-half day 2020

## Slide 2: The Electrical Safety organizational structure at ESS and at AD
(*) – valid for the Normal Conducting Linac (NCL) only
Category/roles of personnel in terms of electrical safety:
EOL’s;
ESL’s;
Skilled person;
Instructed person;
skilled person: person with relevant education, knowledge and experience to enable him or her to analyze risks and to avoid hazards which electricity could create
instructed person: person adequately advised by skilled persons to enable him or her to avoid dangers which electricity may create
EOL ESS
(Owen Buchan)
EOL AD(*)
(Carlos Martins)
EOL ICS
(??)
EOL TARGET
(??)
EOL NSS
(??)
ESL AD-WP3-6(*)
(Emmanouil Trachanas)
ESL AD-WP8(*)
(Morten Jensen)
ESL AD-WP17(*)
(Göran Göransson)
ESL AD-WP7(*)
(Slava Grishin)
ESL AD-WP12(*)
(?)
Authorized persons
Henrique, Edvard, Clement
Authorized persons
Authorized persons
Authorized persons
ESL - The nominated person in control of a work activity: is the person who has the task of being directly responsible for electrical works as assigned
EOL - The nominated person in control of an Electrical Installation : is the person who has the task of being directly responsible for the whole electrical installation as assigned
BCM and FC - power ON

## Slide 3: The sequence for energising the racks
Self Inspection report : Edvard, Clement, Henrique and approved by Slava
Quality inspection of the rack - Quality report : Stefan Arvidsson
RAMS , Work request and Energisation request : System Leaders and Slava
In 2020: Carlos and Owen to give their green light for energisation
Racks to be powered in Feb90:
BPM
Motion Control
NPM
DPL

## Slide 4: Self Inspection report
 | Item | Compliance (NOTE 1) | Comments (NOTE 3)
1 | Insulation of live parts |  | 
2 | Barriers |  | 
3 | Enclosures |  | 
Protection against direct contact
 | Equipment | Selection (NOTE 2) | Erection (NOTE 1) | Comments (NOTE 3)
1 | Cables |  |  | 
2 | Wiring accessories |  |  | 
3 | Conduits |  |  | 
4 | Trunking |  |  | 
5 | Distribution equipment |  |  | 
6 | Protective devices |  |  | 
B. Equipment

## Slide 5: Self Inspection report
 | Item | Presence | Correct Location | Correct Wording | Comments (NOTE 3)
1 | Labelling of protective devices, switches and terminals |  |  |  | 
2 | Warning notices |  |  |  | 
3 | Danger notices |  |  |  | 
4 | Identification of conductors |  |  |  | 
5 | Isolation devices |  |  |  | 
6 | Switching devices |  |  |  | 
7 | Diagrams and schedules |  |  |  | 
C. Identification
 | Enter type of test that has been performed | Protocol No:
1 | >>Continuity Test<< | 
2 | >>Insulation Test<< | 
3 |  | 
4 |  | 
5 |  | 
Test protocol

## Slide 6: Work Order50803Powering of BPM BD FEB90 rack

## Slide 7: Work Order50803Powering of BPM BD FEB90 rack