## Slide 1: GEANT4 simulations for the Jalousie detectors for ESS
PRESENTED BY IRINA STEFANESCU

## Slide 2: The Jalousie detector technology
Made in Germany by CDT
Based on the B-10 technology
3D – position sensitive detectors
Heidelberg
At least 5 variants of the Jalousie technology will be used at ESS by DREAM, MAGIC and HEIMDAL.

## Slide 3: The DREAM Jalousie detectors

## Slide 4: The generic Jalousie detector
Segmented cathode
Boron layers
Anode wires
The basic detector unit is a cassette consisting of 2 wire counters sharing a segmented cathode.
The Boron layer is applied on the inner sides of the cassette housing and on one or both sides of the cathode.
Nwires X Nstrips voxels with trapezoidal-like shape
n beam
10°

## Slide 5: The HEIMDAL Jalousie detector
The simulation work on the Jalousie detector technology started 3 years ago with the simulation of the HEIMDAL detector.
GEANT4 model of the HEIMDAL detector cassette consisting of trapezoidal gas voxels

## Slide 6: Simulation of the DREAM detectors
Simulation work on the DREAM detectors started at the end of 2019
Last year the GEANT4 model of the EndCap detector was fully implemented and validated by using the experimental results obtained at V20 with the first EndCap sector delievered by CDT.
GEANT4
X
Y
-Z
GEANT4 model of the DREAM EndCap detector

## Slide 7: Simulation of the DREAM detectors
This year will be dedicated to the implementation of the Mantel detector in GEANT4 (almost there) and validation/testing of the full system.
GEANT4
CATIA design
Current status: testing and validation of the model
Mantel
EndCap

## Slide 8: Detector simulations are very useful
Calculate the detection efficiency/uniformity of DREAM EndCap detector
Calculate the spatial resolution of the HEIMDAL detector
I. Stefanescu et al., JINST14 P10020, 2019
Help make design choices
Troubleshooting
Estimate performance parameters that are difficult or impossible to access experimentally

## Slide 9: Detector simulations are very useful
Combine GEANT4 and McStas simulations to generate realistic diffraction spectra to help developing refinement tools (work with Celine Durniak from DRAM and Mathias Mørch from AU).
Use simulated data to test the DREAM data flow through the EFU (work with Morten JC and Morten HS from ECDC).
Use the GEANT4 voxel coordinates to build the
DREAM detector image in Mantid/NeXus
(work with Mathew Jones from ECDC).

## Slide 10: Detector simulations are very useful
I am doing similar work for the HEIMDAL detector (now generating realistic diffraction spectra to build/test refinement tools)
I can do, time permitting, similar work for MAGIC if there is interest from the instrument team
Similar work could be done for all instruments while waiting for the real data to become available  also ongoing for Loki

## Slide 11: Finish presentation