## Slide 1: Sample Environment
Sample Environment List Established and WU developed
Loki Specific (in baseline)
  Sample Changer ambient >= 50 samples
  Sample Changer -20C < T < 150C >= 50 samples
  Flow cell with HPLC pumps
  Rotating sample holders for sedimenting samples
  Quartz (hellma) cells
SANS Specific – shared with SKADI (not in baseline)
  Humidity Chamber
  Rheometer
  Couette Shear cell
  Plate-plate shear cell
  2T electromagnet
  1T electromagnet
  2D low-field magnet (coils)

## Slide 2: Sample Handling
Wide variety of samples on SANS
Masses in 100 mg to 10 g range
Containment and handling of each sample based on assessement during proposal review
ESS Procedures will be followed once developed

## Slide 3: Data analysis software for SANS
SASView is the preferred data analysis software
  Widely used and supported by many facilities (SNS, NIST, ISIS, ILL, ESS)
  Andrew Jackson is on SASView management board
Requirement and design document completed end of 2015
Software completed and tested 6 months before Cold Commissioning.
First requirement document drafted already – high level requirements
Automated and real-time data analysis requirement determines where major effort will be spent:
  Modularizing SASView and making interoperable
  API and Scriptable Command Line Interface
  Sufficiently fast routines for real-time data analysis