## Slide 1
ISIS Target Station 2 project
Lessons learned
Robert McGreevy

## Slide 2
ISIS TS2 Phase I project – on time and on budget

## Slide 3
and looking good ...

## Slide 4
ISIS TS2 – basic principles
Low power (48 kW)
tantalum clad tungsten target
small edge cooled target, higher density
closer moderators, innovative design
Low frequency (10 Hz)
100 ms time frame
cold neutrons, high resolution
Optimisation
target, moderators, instruments

## Slide 5
SANS2D
OFFSPEC
POLREF
INTER
WISH
NIMROD
LET
It works - Phase 1 instruments are outstanding!
Sean Langridge – TS2 Instruments, 18:30 Wednesday

## Slide 6
1 + 1 > 2

## Slide 7
A top team – experience and dedication

## Slide 8
Space – is worth every cent(imetre) ...

## Slide 9
Target, reflector, moderator design/optimisation
Notes: Moderation in the target causes extra absorbtion

## Slide 10
David Jenkins – TS2 Target/moderators, 18:10 Wednesday
Target, reflector, moderator design/optimisation
Notes: The

## Slide 11
Target, reflector, moderator design/optimisation
Notes: Moderation in the target causes extra absorbtion

## Slide 12
Target, reflector, moderator design/optimisation
Notes: 400 – 500 runs per day
Will maximize the performance of the target station, but sometimes you will not understand the results.
Either trust the code or spend some time thinking about what it is actually doing.

## Slide 13
Neutron transport
Monte-Carlo transport codes
Radiation damage
Monte-Carlo transport codes
Stress/ strain
Finite element analysis
Hydro- dynamics
Heat transport
Target, reflector, moderator design/optimisation

## Slide 14
Target, reflector, moderator performance
Flux high (as predicted) 
 Background low (lower than expected)
Peak widths broader than predicted 

## Slide 15
Target, reflector, moderator performance

## Slide 16
Performance optimisation
v
Robust/reliable engineering

## Slide 17
Pushing materials to their limits
in a
High radiation environment

## Slide 18
Extracted proton beam - space and suppliers

## Slide 19
Procurement and tendering – specify carefully

## Slide 20
Steel and shutters

## Slide 21
Instruments
Standardisation
Performance cost/benefit
Component suppliers
Software – start yesterday
Risk management
Phase them

## Slide 22
Project management – it’s done for a reason
Risk management
Stakeholder management
Early specification
Design reviews/change control
Involve operations staff in design/installation
DesignConstructionCommissioningOperation

## Slide 23
Separate budgets

## Slide 24
In-kind contributions

## Slide 25
Communication