## Slide 1
Multi-Blade detector status
Francesco Piscitelli
2021/10/12

## Slide 2
wires X
Ti substrate
neutrons
θ
strips Y
10B4C
q = 5 degrees
A unit
cathode strips
anode wires
holding frame
10B4C substrate
32 Wires
A unit
Unit
front
neutrons
130mm
100mm
Unit
back
Multi-Blade
sample
neutrons
MWPC

## Slide 3
260mm
130mm
Multi-Blade
AMOR 14 units
Estia 48 units
FREIA 32 units
ALL IDENTICAL
prototypes
Final unit

## Slide 4
Final unit
FRONT
BACK
cathode strips
anode wires
Ti blade coated with 10B4C
U-frame
260mm

## Slide 5
MB300L
MB18
260mm
130mm
6-unit full length detector
9-unit detector
(half length)
Estia and FREIA
use the same 260mm units:
48 for Estia, 32 for FREIA, 14 for AMOR
48-unit detector

## Slide 6
Multi-Blade: TOOLING is complete and tested on MB300L
cathode strips
parts
A unit
6-unit detector
Gluing machine KV-1
Wiring machine K-7
Oven clamp

## Slide 7
MB300L
MB18
MB18 permanently installed at AMOR since Sept 2020 for the commissioning of the beam line and for friendly user operations.
MB300L Tested at AMOR
AMOR reflectometer @ PSI
Many thanks to
Jochen Stahn
for the support

## Slide 8
Tower
MB18
MB18

## Slide 9
532mm
330mm
~340mm
This is the front end electronics, there is a box with fans to encapsulate them
neutrons
14 UNIT DETECTOR FOR AMOR, SAME UNITS AS ESTIA AND FREIA, SAME ELECTRONICS
BLADES
Installation Dec 2021

## Slide 10
SCATTERING ISSUE AT EDGE

## Slide 11
wires X
substrate
neutrons
θ
strips Y
10B4C
A cassette (unit)
Scattering happening at the PCB below the edge
It is happening only under very specific circumstances
No clear evidence that this effect will cause a visible
effect on the scientific output of a measurement

## Slide 12
wires X
substrate
neutrons
θ
strips Y
10B4C
A cassette (unit)
Solution 1: GdOx at edge
THIS DID NOT WORK!
Solution 2: Blades edge at 2.5deg instead of 5deg
5.0∘
5.0∘
2.5∘
neutrons
Scattered neutrons
All aspects matching the requirements and scientific measurements performed,
Last issue solved this year
OLD BLADE
NEW BLADE

## Slide 13
5.0∘
Centre of blade
4.0∘
5.75∘
5.0∘
5.5∘
Explicitly wrong lower incl.
1 deg off
Nominal
Explicitly wrong higher inclination
No clear evidence that this effect will cause a visible
effect on the scientific output of a measurement
OLD BLADE

## Slide 14
Solution 2: Blades edge at 2.5deg instead of 5deg
2.5∘
Ti
Ti
Ti
NEW BLADE

## Slide 15
Edge 5.0∘
OLD BLADE
NEW BLADE
Edge 2.5∘

## Slide 16
FINAL ELECTRONICS
(C-spec, T-rex, NMX, Estia and FREIA)

## Slide 17
half blade
(contains only wires,
no strips)
half blade
(contains only strips,
no wires)
wires
substrate
=
strips
10B4C
A blade assembly (unit)
1 2 3 4 … 12 13 14 15
1 2 3 … 12 13 14
cassette
blade assembly
…
detector
wires
strips
Master back-end
(12 rings)
R0
R11
R10
R1
R2
Beam
Monitors
0
hybrids
1
2
13
12
FEA 0
3
…
FEA 1
FEA 6
…
Ring 0
Hybrid
VMM 0
VMM 1
AMOR
N = 14
FEA = Front-End Assister
Hybrid = one board
with 2 VMMs = 128ch
One cassette 96ch
(32 of hybrid unused)

## Slide 18: Test of whole readout chain
  Team effort of detector group and DMSC
  3 hybrids connected to two assisters, data taken with EFU and Grafana
  Whole readout chain working, end-end data seen through the DAQ systems with VMM Front-End
  Perfectionating performance and debugging small issues at the moment
Stared Summer 2021

## Slide 19
Backup

## Slide 20: ESS Readout Architecture
…
…
…
…
…
…
…
…
…
ICS
DMSC
MFE
MFE
MFE
Steven Alcock, Detector Group, 29th September 2021
Backend Master
MFE
ADC
ADC
ADC
MFE
ADC
ADC
ADC
MFE
ADC
ADC
ADC
Internal Routing and Aggregation
DMSC (science data)
ICS (timing/slow control)
Detector Channels
FEA
FEE
FEA
FEE
FEA
FEE
FEA
FEE
FEA
FEE
FEA
FEE
FEA
FEE
FEA
FEE
FEA
FEE

## Slide 21: Master Module Production
Steven Alcock, Detector Group, 29th September 2021
The Backend Master design, procurement, and documentation is essentially finalised.
We have five units that are almost identical to the final product, all of which are in active use at ESS and partner sites.

## Slide 22: VMM Update
Steven Alcock, Detector Group, 29th September 2021
The VMM3A is the primary choice for the MultiBlade, MultiGrid and NMX detectors in order to satisfy high channel count requirements (see Dorothea Pfeiffer’s talk).
Significant development already undertaken by CERN RD51 to readout and control this ASIC, but targeting the SRS readout system.
The RD51 Hybrid PCB is not readily compatible with the ESS Readout System.
What, then, is the easiest way of leveraging this work for ESS?

## Slide 23: VMM Assister Board
Steven Alcock, Detector Group, 29th September 2021
Use a commercially-available development board to provide “glue logic” into the ESS backend.
Avoids potentially expensive and risky modifications to VMM Hybrid (both hardware and firmware).
Does not preclude the use of custom solutions in the future with smaller size/weight/power.
Early indications are that this will work well – see Dorothea’s talk.

## Slide 24: Readout chain
Detector
Wire and/or grid channels
Connector/adapter
RD51 hybrid
VMM
VMM
FPGA
Power
Kintex 7
FMC to HDMI
card, max.
5 hybrids
FMC to SFP+
card
Frontend Assister card (FEA)
FEA
FEA
LVDS - HDMI cable
2 x 400 Mbit/s (data/config)
Fibre 2 x 6 Gbit/s (data/config)
Backend
Master
module
Ring 1
Ring 12
DAQ software Event Formation Unit (EFU) at DMSC
2x 100 Gbit/s Ethernet (data)
ICS
Ethernet (config)
Master frontends
(MFE)
MFE
MFE
MFE
MFE
Ring n
Switch
1 to n EFUs
1 GB UDP
Slow control

## Slide 25: FEA for RD51 hybrid
  Adapter card connects two RD51 hybrids to the FMC connector of the Kintex KC705 evaluation board
  SRS FEC Virtex6 firmware ported to FEA Kintex 7, and integration into assister firmware finished
  Data transmission via rings, 1 GB UDP kept for debugging purposes
  Slow control still uses individual 1 GB port on the assister, together with the well established SRS slow control tool up to 8 assisters can be controlled
  Inkind partner university of Talinn is implementing the ESS slow control that sends configuration via the master module
Integration of RD51 hybrid into ESS readout

## Slide 26
Went for orange box solution
neutrons
Electronics VMM
This is not there!
MB side view
Tower
Can lift and pivot

## Slide 29
neutrons
VMMs hybrids
Electronics VMM: enclosure around the VMMs
blades
14 cassettes = 14 VMMs hybrids
In two rows 7 odd and 7 even

## Slide 30: Readout chain
Detector
Wire and/or grid channels
Connector/adapter
RD51 hybrid
VMM
VMM
FPGA
Power
Kintex 7
FMC to HDMI
card, max.
5 hybrids
FMC to SFP+
card
Frontend Assister card (FEA)
FEA
FEA
LVDS - HDMI cable
2 x 400 Mbit/s (data/config)
Fibre 2 x 6 Gbit/s (data/config)
Backend
Master
module
Ring 1
Ring 12
DAQ software Event Formation Unit (EFU) at DMSC
2x 100 Gbit/s Ethernet (data)
ICS
Ethernet (config)
Master frontends
(MFE)
MFE
MFE
MFE
MFE
Ring n
Switch
1 to n EFUs
1 GB UDP
Slow control

## Slide 31: FEA for RD51 hybrid
  Adapter card connects two RD51 hybrids to the FMC connector of the Kintex KC705 evaluation board
  SRS FEC Virtex6 firmware ported to FEA Kintex 7, and integration into assister firmware finished
  Data transmission via rings, 1 GB UDP kept for debugging purposes
  Slow control still uses individual 1 GB port on the assister, together with the well established SRS slow control tool up to 8 assisters can be controlled
  Inkind partner university of Talinn is implementing the ESS slow control that sends configuration via the master module
Integration of RD51 hybrid into ESS readout

## Slide 32: Test of whole readout chain
  Team effort of detector group and DMSC
  3 hybrids connected to two assisters, data taken with EFU and Grafana
  Whole readout chain working, end-end data seen through the DAQ systems with VMM Front-End
  Perfectionating performance and debugging small issues at the moment
Stared Summer 2021

## Slide 33: Test of whole readout chain
Charge injected into two different channels on two different hybrids on two different rings
Low time difference between channels
Time calibration of VMMs will further improve the time jitter
Timestamps, jitter and resolution