## Slide 1: Beam Instrumentation to Protect a Superconducting Linac
Thomas Shea
SLHiPP
2015-03-19

## Slide 2: Outline
Protection
Beam Instrumentation for Machine Protection
  Beam Current Monitors (BCM)
  Beam Loss Monitors (BLM)
Outlook

## Slide 3: Protection
Irradiation management
Activation (maintenance, ALARA)
Component degradation
  DPA (average current density)
  integrated dose (secondary shower)
  surface effects (SRF cavity degradation)
    per pulse
    integrated
Prompt damage
  slow heating (>thermal time constant)
  Impulse (<thermal time constant)
  rapid fatigue (some finite number of pulses)

## Slide 4: Layout and Latency in ESS Linac
Spokes
Medium Beta
High Beta
BCM
BCM
BCM
BCM
Master
concentrator
concentrator
concentrator
2 µs
1 µs
few µs
beam
> 100 loss monitors distributed along linac

## Slide 5: Current Monitor for ESS Linac
Hooman Hassanzadegan
Droop correction over long pulse
Initial integration demonstrated
EPICS
Timing system
Data on demand
Control room screen

## Slide 6: SNS Differential Current: difference in locations
6
due to a Warm Linac RF drop
Alert on small window difference
Alert on pulse-to-pulse downstream
Alert on pulse-to-pulse upstream
Alert to MPS
Waveforms:
Upstream (Blue)
Downstream (Green)
Difference after short sliding window (Red)
Alert was given in <1.5 µs (could be faster with lower thresholds and still avoid false alerts)
DBCM waveforms
Blokland

## Slide 7: SNS Differential Current: difference in time
Example of slow drop in current from pulse-to-pulse
Analyzed to be due to RF Fill problem [2,3]
Pre-mortem Analysis!
Alert on pulse-to-pulse downstream
Alert to MPS
Waveforms for errant AND previous beam pulse:
Upstream
Downstream
Difference
DBCM waveforms
Blokland

## Slide 8: SNS Differential Current: difference in time
More dramatic pulse to pulse difference
Chopper issue in front end. Downstream, no loss monitor trip
Blokland

## Slide 9: Example Current Monitor Issue: Effect of Magnetic Field
Jenna Crisp

## Slide 10: Beam Loss Simulation In ESS Medium Beta
Angle: 3 mrad (upwards, in the direction of the beam)
Location: top of the beampipe, longitudinal locations marked on the picture attached
Loss character: 500 MeV point loss preserving 1W/m loss limit (all the losses from quads+cryomodule focused in one point; in this case, point loss of 7.5 W)
Monte Carlo simulation with MARS
Michal Jarosz

## Slide 11: Protons from Point Loss ESS Medium Beta
particles/cm^2/s
Michal Jarosz

## Slide 12: Loss Monitor Placement ESS Warm Unit
Michal Jarosz
T. Grandsaert
Protection: full coverage - position insensitivity
Diagnostics: position sensitivity
Ion chambers:
LHC-style
a few µs to detect 10% beam loss (including electronics)

## Slide 13: Example Loss Monitor Issue: Background from Cavities at SNS
Zhukov - ORNL

## Slide 14: Configuration Management
PCIe link to µP
Memory Interface
Diagnostic
functions
RTM
Protection
Threshold and comparison
Secure
Memory
Interface
Instrumentation Electronics
Interlocks
data
configuration
From Timing
6
1
Interlock interface
BAR 1
BAR 2
2 functions, 1 device:
Interlock
  Tight configuration control
  Low latency
Diagnostics
  Agile deployment to support commissioning and operations
  Data-on-demand (event-driven data acquisition) and other high-level functionality
M. Donna

## Slide 15: Outlook
Diverse and redundant loss detection systems
Robust protection against fast and slow beam loss
For cavity protection, how do we set performance requirements for detection of errant beam?