## Slide 2: Soft Matter, Surface/Interfaces, In-situ & physical- chemistry
Some more updates
PRESENTED BY Caroline curfs

## Slide 3: Agenda
1 Humidity chamber
2 Electrochemistry on behalf of Alice
3 Laser Pump and Probe
4 Gas handling

## Slide 4: Humidity chamber
2 projects:
  IK from Estonia
    Production on going after feedback from Tobias
    4 samples in transmission
    Humidifier arrived but not tested and integration not started
  Flexiprob (Peter Müller-Buschbaum et al.)
    Drawings available
    For GISANS
Collaboration initiated with Stefan Carlsson from MAX IV

## Slide 5: Electrochemistry
2 cell projects
with DREAM not started
with Estonia (IK)
  All purpose cell
  Specifications finalised
  in construction but on hold until Alice is back
Cryostat
  To be purchased before end of the year 2022 by Alex
Potentiostat
  Control integration started
  Has been used at MAX IV for experiments
Sub-headline to strengthen the headline above
Gas in-
& outlet
Temperature
Sensor
Reference Electrode
Working Electrode
Counter Electrode

## Slide 6: Laser Pump & Probe
    IK from Estonia
    One system already working and being used
    Drawings reviewed by Tobias
    ESS system in construction: available Q4/22
Laser
Laser beam
Irradiated sample

## Slide 7: Gas handling
    2 systems arrived : one for the SULF lab and one for instrument
    Adsorption possible
    Questions:
      How should we work with this equipment? In-situ ?
      How far integration should go?
      Which kind of cells would be useful?

## Slide 8: Finish presentation