## Slide 1: Test beamline (TBL) @ESS 03 May 2022
STAP Meeting- Imaging and Engineering
Gabor Laszlo
Nicolas Breton
Thawatchart ChulapakorNess.eu
Robin Woracek

## Slide 2: Test beamline (TBL)
What do we actually want to do?
How do we want to do it?
Overview of Layout
Spectrum & Shielding
Imaging of Moderator & Pulse Shape Characterization
Feedback & Discussion

## Slide 3: What do we actually want to do?
Verify that the project has successfully delivered beam on target, and to characterize the pulsed neutron beam emitted from the moderator (time structure, spatial distribution, energy dependence etc.)
Characterize the moderator for the purpose of calibration of neutron beam instruments, to provide data to inform the development detectors and data processing systems
Serve in development of key neutron technologies, such as optical components, choppers and detector systems (through TBL upgrade path)
To provide valuable data for moderator development over the operating life of the ESS.
Upgradeable to view lower moderator & extendable for more applications
Build the TBL as cheap as possible
S. Kennedy, ESS TBL Preliminary Design Review 23 May 2017

## Slide 4: What do we actually want to do?
F. Mezei: “Okay, we have this cylindrical volume moderator of this diameter and this height—let’s look at all possible sizes. And then with enough computing power, we figured it out. It was a real surprise how far the optimal moderator shape and dimensions fell from the common practice.”
As you may know, the moderator was optimized to ‘theoretically’ yield unprecedented brightness by shrinking its height:
Then, also ESS is the first long pulse spallation source and has a rotating target.
Even without these novelties, we need a place where we can measure if we actually produce neutrons when we first start! Compare JPRAC has built BL10/NOBORU for this purpose.
Kai, Tetsuya, et al. "Coupled hydrogen moderator optimization with ortho/para hydrogen ratio." NIMA 523.3 (2004): 398-414.
Mezei, Ferenc, et al. "Low dimensional neutron moderators for enhanced source brightness." Journal of Neutron Research 17.2 (2014): 101-105.

## Slide 5: What do we actually want to do?
We want to do the same as done at JPARC: Pinhole imaging of moderator
  Energy resolution by simple ToF (account for wavelength selection due to gravity)
  Also: Study effect of target rotation (asynchronize proton beam), power, energy, current, frequency, pulse length, raster
We also want to measure the pulse shape itself. But how?
Two main options by monochromatizing the beam
  Using ‘pinhole in time of flight’
  Using diffraction (e.g. monochromator)
ESS moderator
Both done on V20
Also: effect of proton rastering in single pulse: ripples

## Slide 6: What do we actually want to do?
Moderator
MARK-I: initial moderator
MARK-II: (neutronically optimized moderator)
Notes: The difference between the two moderators is the structure of the cold moderator.
Tthe focal points shift inward by 2cm at each side for MARK-II from MARKI.
Therefore, the focal point for instruments will not be optimized for the first moderator system.
his has no consequence for the thermal moderator, but it implies a large reduction in cold neutron brightness
Although the proton energy will be increased from 570MeV to 800MeV, soon after the BOT, ESS may stay at the configuration with MARK-I moderator with 800MeV for a while.

## Slide 7: What do we actually want to do?
Target - Moderator

## Slide 8
What do we actually want to do?
Moderator and Detector Position

## Slide 9: Test beamline (TBL)
What do we actually want to do?
How do we want to do it?
Overview of Layout
Spectrum & Shielding
Imaging of Moderator & Pulse Shape Characterization
Feedback & Discussion

## Slide 10: How we want to do it?
Schematic: Pinhole Imaging of the moderator
Moderator

## Slide 11: How we want to do it?
Schematic: natural resolution ToF diagram
Source
Distance (17m)
0
71.4
Time (milisec)
1978 m/sec
+1cm
0cm
-1cm
Chopper design cannot be used as Frame Overlap chopper (but frame overlap will be ‘cut’ by gravity
Notes: Roughly a delta lambda of 0.7A
No great resolution, but enough for moderator characterization

## Slide 12: How we want to do it?
Schematic: Study wavelength/energy ranges with spatial resolution
Source
Distance (17m)
0
71.4
Time (milisec)
Chopper

## Slide 13
Source
Distance (17m)
0
Time (milisec)
Chopper
Schematic: Pulse shape by ‘pinhole in time of flight’

## Slide 14: How we want to do it?
Schematic: Pulse shape by Diffraction
Cd Pinholes (10mm)
PCG Monochromaor
3He Detector (4tubes)
No spatial image of the moderator (could ‘scan’)
Could this allow to see the ripples (in single pulse)?

## Slide 15: Test beamline (TBL)
What do we actually want to do?
How do we want to do it?
Overview of Layout
Spectrum & Shielding
Imaging of Moderator & Pulse Shape Characterization
Feedback & Discussion

## Slide 16: Overview
Location in Facility: W11 (North Sector)

## Slide 17: Overview
Layout
Moderator
Bunker area
 | Component Name
2 | Bridge Beam Guide (BBGOA)
3 | Flight Tube 1
4 | Fixed Collimator
5,6,7 | Chopper and Adjustable Collimator
8 | Flight Tube 2
15 | 2 Filter stages
9 | Heavy Shutter
10 | Bunker Wall Feedthrough
11 | Detector
12 | Beam Stop
13 | Experimental Cave
14 | Control Hutch
Cave
Bunker wall
Heavy Collimator
2
3
4
5,6,7
10
13
8
9
11
12
14
15

## Slide 18: Overview
MAIN COMPONENTS : DESCRIPTION , POSITION & PROPERTIES OVERVIEW
Nr | Component Name | Distance from TCS | Properties
1. | Monolith Insert | 2.7m-5.5m (2.8m) | Penetration (Assymmetric! With 2mm gap around beam): 206mmx47mm->110mmx34mm (Hz x V) ESS-0178279 - Monolith interface
2. | Bridge Beam Guide (No Optics) | 5.5m-6m (0.5m) | ID150mm / Vacuum atmosphere / Pressure loss visual monitoring
3. | Flight Tube 1. | 6m-7.4m (1.4m) | ID100mm / 5mm B4C attenuator outside
4. | Stationary Collimator | 7.4m-8.2m (0.8m) | 56mmx30mm-28mmx24mm (Hz x V) /5mm larger (around) than the beam / Copper with lead shielding upstream
5. | Adjustable Collimator | 8.3m-8.5m (0.2m) | 310mmx260mm (Hz x V), Ø16>Ø3mm / Initial composition: Fe+Pb+Mirrobor+Pb+Fe / MR304-2000-00-DE-B.pdf MR304-2230-00-DE-B.pdf
6. | Pinhole | 8.5m | 1mm thick Cd, Ø0.5mm, Ø1mm, Ø1.5mm, Ø2mm MR304-2220-00-DE-B.pdf
7. | Double Disk Chopper | 8.6m | D=500mm, 2000RPM MR Chopper general .pdf MR304-3000-00-DE-B.pdf
8. | Flight Tube 2. | 8.7m-9.5m (0.8m) | ID120mm /5mm B4C attenuator inside
15. | 2 Filter stages | Modify Flight Tube 2 | Two stages for combining Bi, Sapphire, Pb, Cd, W, Be, Perforated B4C plates, Polymethyl methacrylate
9. | Heavy Shutter | 9.5m-11.3m (1.8m) | Attenuator: 170mmx140mmx1520mm / B4C+Copper+ HDPE+B4C
10. | Bunker Wall Insert | 11.5-15m (3.5m) | Steel insert. Penetration: (Assymmetric! With 2mm gap around beam): 110mmx25.5mm ->229mmx56mm (Hz x V)
11. | Detector | 17m | Area: 300mmx300mm
12. | Beam Stop | 17.5m | 
Notes: perforated B4C plates, Bi, Pb, Cd, W, Be and Polymethyl methacrylate (some of them in different thicknesses).

## Slide 19: Overview
Layout

## Slide 20: Overview
Layout In-Bunker

## Slide 21: Overview
Layout
Fixed Collimator
Double Disk Chopper and Adjustable Collimator
Heavy Shutter
Position of Filter Stage
(not yet designed)
Detector

## Slide 22: Overview
Layout Cave

## Slide 23: Test beamline (TBL)
What do we actually want to do?
How do we want to do it?
Overview of Layout
Spectrum & Shielding
Imaging of Moderator & Pulse Shape Characterization
Feedback & Discussion

## Slide 24: Spectrum at detector position
PHITS/MCNP
Notes: Green and red: 10mm vs 3mm

## Slide 25: Cave shielding simulations
PHITS/MCNP
Heavy door
Weakest shielding element is Heavy door (200mm)
BEAM
BEAM STOP
Now: Change to sandwich:
200mm steel
40mm B4C + 120mm steel + 40mm B4C
Currently finalizing shielding simulations. Cave to be installed in Fall 2022.
Notes: There is like a small labyrtith
We hope that the change of the door will allow us to get approval for 10mm even at 5MW. Otherwise, we need a special permit for lower power.

## Slide 26: Neutron flux at detector position
McStas
Integrated neutron flux (n/cm2/s)
3mm pinhole: 4x106 n/cm2/s
10mm pinhole: 4x107 n/cm2/s
During ramp up
Up to Year | < 1 | 1.5 | 2.5 | 3.5 | 4.5
Beamenergy | ~570 MeV | ~570 MeV | ~570 MeV | ~570 MeV | ~800 MeV
Power | 0.1 MW | 0.3 MW | 0.57 MW | 1.25 MW | 2 MW
Neutron Flux 3mm | 5.28E+04 | 1.58E+05 | 3.01E+05 | 7.59E+05 | 1.45E+06
Neutron Flux 10mm | 5.28E+05 | 1.58E+06 | 3.01E+06 | 7.59E+06 | 1.45E+07
Notes: So the flux with 10mm pinhole is about that of RADEN at JPARC or BT2 at NIST.
Compare to the ODIN flux about 1.20E+09
If we want to do regular neutron imaging, then the L/D will still be way better than needed for any imaging with 850.
What is importnat however, that we will not have this flux in the beginning of course. And we need to perform the main TBL tasks with much lower fluxes, round about what you see in this table.

## Slide 27: Test beamline (TBL)
What do we actually want to do?
How do we want to do it?
Overview of Layout
Spectrum & Shielding
Imaging of Moderator & Pulse Shape Characterization
Feedback & Discussion

## Slide 28: Pinhole Imaging of the moderator
McStas
Δλ flight path ̴̴ 0.7Å

## Slide 29: Pinhole Imaging of the moderator
By natural resolution ToF or by Chopper
0.015µs
nGEM
Scintillator- CMOS
‘cut’ prompt pulse by 100Hz full frame?
Multiblade in prep. (see separate presentation on indico FYI)
Notes: CMOS can be inttagretd./ But need to cut

## Slide 30: Pulse shape measurements
by ‘pinhole in time of flight’ or diffraction
‘pinhole time of flight’
→ seems challenging
diffraction

## Slide 31: Test beamline (TBL)
What do we actually want to do?
How do we want to do it?
Overview of Layout
Spectrum & Shielding
Imaging of Moderator & Pulse Shape Characterziation
Feedback & Discussion

## Slide 32: Seeking feedback/experience reated to
Detector strategy (‘prompt pulse’)
Any advice concerning the planned filter stage(s) is welcome
‘Pinhole’ sizes
Current shielding simulations will allow only 3mm pinhole option (at 5MW). Comment on plan to enlarge the pinhole.
Do you see any shortcomings in the current planning? What are they?

## Slide 33: Thank you!
Notes: So thank you very much for tuning in.
I would like to remind you of the other seminars and that you can watch the recordings.
I am open to any questions and you can also email me anytime.

## Slide 34
EXTRA SLIDES

## Slide 35: Overview
Chopper
Double-Disk Chopper
5 degree windows
- Chopper 1 has two 5deg windows
Chopper 2 has three 5deg windows
distance between the disks is 30mm
Operation modes
both parked open
1 parked, 1 rotates
co-rotating with 1x5deg, 2x5deg
co-rotating with <5deg

## Slide 36: Possible TBL detector: Multiblade

## Slide 37
Overview
TBL Cave