## Slide 1: Update on Work Package 12 Beam Transport Modules (LWUs) - UK-A-6
Dr Paul Aden STFC Daresbury Laboratory
ESS TAC, Lund, 15th October 2015

## Slide 2: STFC
UK Astronomy Technology Centre
Edinburgh, Scotland
Polaris House
Swindon, Wiltshire
Chilbolton Observatory
Stockbridge, Hampshire
Daresbury Laboratory
Sci-Tech Daresbury Warrington, Cheshire
Rutherford Appleton Laboratory
Harwell Didcot, Oxfordshire
Boulby Underground Laboratory
North Yorkshire

## Slide 3: STFC, Daresbury Laboratory

## Slide 4: 3 Onsite Accelerators
EMMA
ALICE
VELA

## Slide 5: CLARA - under construction

## Slide 6: Vacuum Test Facilities
Delivered to ESS July 2015

## Slide 7: Vacuum Test Facilities
Delivered to ESS July 2015
Notes: Particle test facility to ESS will be a ‘particle free’ accelerator and this.
Outgassing system to provide in vacuum material characterisation

## Slide 8: BTM WP Scope
To design, procurement and assemble;
  2 Prototypes
  3 Test Chambers
  75 LWUs
  52 Beam pipe modules
  2 Differential pumping systems
  2 mobile installation cleanrooms
Notes: Over the next four years we have been asked to delivery …

## Slide 9: Scope of work update
Particle control only on 52/75 LWUs
BPM work package
  Only electrical centre measurement
  It has been requested that BPMs are supplied on contract loan from DESY
Scope of work has been passed to ESS BI & Vacuum groups for final verification.
  Awaiting feedback from BI – BPM design decisions
Notes: Upto hebt

## Slide 10: Overview In/Out
In
  Girder design & procurement
  Chamber design (within given parameters) & procurement
  Vacuum design & procurement
  Survey & Alignment
  Particulate Control
Out
  BPM Procurement & Design
  BCM Design
  Bolt in diagnostics
  Magnet Design & Procurement
  Installation & Onsite testing
Full excluded / included list in stfc document tdl-1224-meng-spec-0005

## Slide 11: Warm Linac Units
STFC CAD Model for Elliptical LWU Prototype

## Slide 12: Warm Linac Units
Aluminium slotted girder
BPM on entrance & exit
Semi–kinematic
girder adjustment
Pedestals
Quadrupole Magnets
Fiducials, laser tracker alignment
-50µm Accuracy
Built in lifting points
‘Particle Free’ Chamber
- ISO 5 or better

## Slide 13: Design
Based on many years experience developing accelerator modules
Slotted girders allows for versatility
Optimised for ground vibrations
Fiducial mounts for survey and alignment
  ±50µm alignment to local girder network
Girder adjustment ±25mm
Magnet/Chamber adjustment ±25mm
Large space between pedestals for access/egress

## Slide 14: Design
Vacuum Requirements:
  1 x 10-9 mbar
  UHV Cleanliness
  Particle free to ISO 5 or better
Vacuum requirements within STFC Vacuum Specs & inc.
  Cleaning
  Baking
  RGA Scanning
  Particle counting
STFC Vacuum Specs: ASTEC-VAC-QCD-SPC001-008
Notes: Well defined UHV specs

## Slide 15: Differential Pumping Sections
Design work not yet started on LEDP & HEDP
Pumping ratio to be 100:1 (1 x 10-9 mbar on cryo side)
Early concepts;
Notes: Similar to previous work at stfc

## Slide 16: Mobile Installation Cleanrooms

## Slide 17: Assembly locations & Facilities
Engineering technology centre
Notes: Engineering technology centre

## Slide 18: ETC Build Area
Soft wall cleanrooms
& Assembly Area
Notes: Large Volume Assembly area with overhead crane, softwall cleanroooms, ISO 4 Cleanrooms, large vacuum laboratory,

## Slide 19: Vacuum Laboratory
Cleaning vacuum components to UHV standards with aqueous and solvent base systems
Pre clean with Auto Wash (industrial dish washer)
Solvent cleaning with HFE 72 DE capability 0.3 m cube, 3 m long chambers possible.
A demin water plant > 2 x Auto washers,
Alkali degrease bath, Power wash bay.
3 x Solvent cleaning HFE72DE Slurry blaster,
Drying cabinet, Cranes.

## Slide 20: Vacuum Laboratory
4 x ovens to 250oC
vacuum furnace to 1100oC
Air oven to 150oC
Leak detection & test facilities.

## Slide 21: Cleanrooms
Change area
6m2 - ISO 7
Outer area
80m2 - ISO 6
Inner area
12m2 - ISO 3
(at rest)

## Slide 22: Low particulate experience on ALICE
ALICE Cathode in
ISO 4 Cleanroom

## Slide 23: ALICE Softwall Mobile Cleanrooms
Notes: Very similar to those required for ESS

## Slide 24: ETC Floor Plan
Electrical
Lab.
Vacuum Laboratory
Precision Machining Centre
CMM
CAM
Meeting
Room
Reception
Magnet Test
ISO 3,4,5
Cleanrooms
Survey
& Alignment
UHV Cleaning
Ovens
23 m
30 m
40 m
15 m
21 m
92 m
30 Tonne Crane coverage
Large Systems Assembly Area
ISO 4 Soft wall
Clean Room

## Slide 25: On-going Similar builds at Daresbury
Extreme Light Infrastructure – Nuclear Physics Facility
Delivery to Romania – over 18months period from 04/16
21 Modules
21 Racks
ELI - NP
Notes: And Also 4 CLARA modules,
PSUs, Vacuum equipment, No Diagnostics, No RF.,
Racks include - PSUs, control, instrumentation, with EPICs,
Everything can be operated without overall control system

## Slide 26: New Temperature Controlled Survey Alignment Room
Temperature Range 20 - 26°C
Stability ± 1°C over the full area of the room
A fixed 3D survey network
Capacity to align 6 BTM modules in the room
4 x Steel Survey Pillars
Filled with Sand
ALICE @ Daresbury
11 x Floor mounted nests
Survey & Alignment Room
Notes: rj

## Slide 27: Challenges & Risks
Time Scales
Particulate Control
Production bottle necks
Mechanical Design
Interfacing with various in kind contributors
Delivering to DL
  Magnet deliveries
  BPM deliveries
  External deliveries
Design for reliability
  Reduce possibility for leaks

## Slide 28: Solutions
Time Scales
  Careful Planning
  Scheduling regular design reviews
  Change control documentation
  Monitoring and controlling progress against milestones and deliverables
  Risk management
Particulate Control
  Previous Experience, ALICE, DICC etc.
  Agrees Procedures
  Develop Quality Assurance
  BSI 9001:2008 Quality Control

## Slide 29: Solutions
Mechanical Design
  Prototype essential
  Draw on previous experience
Production bottle necks
  Increased Staffing
  Thorough project planning & management
Interfacing with various in kind contributors (IKC)
  STFC to be included in ESS / IKC design reviews
  Close contact with IKC
  BSI 9001:2008 Quality Control

## Slide 30: Schedule
BTM Assembly
2015 | 2016 | 2017 | 2018 | 2019 | 2020
BP Assembly
Prototypes
LWU Assembly
Differential Pumping System 2
Installation Cleanrooms
Differential Pumping System 1

## Slide 31: Schedule
Prototype
  FDR 10/11/15
  Procurement to start 12/11/15
  Build to start 10/2/16
Production Units
  PDR 10/11/15
  Procurement to start 12/11/15
  Beam pipe build to start 8/8/16
  LWU Build to Start 1/2/17
Notes: Prototype 2 - FDR 14/7/16

## Slide 32: Schedule
10th PDR November 2015 – Production Units
BPM Type / Delivery Dates
BPM design?
  Welded or flanged
  Prototype must have flanged design
  Both types will fit in the space envelope
    For most but not all LWUs
    Welded is the only option for 5 spoke units.
Final Magnet Design not until December 15
  Problem for prototype

## Slide 33: Schedule
Beam Pipe Production to start August 16
LWU production to start January 17
  Dictated by first magnet shipment (Feb 17)
Important that Magnet deadlines don’t slip
Important that timescales can be given for BPMs

## Slide 34: Conclusions
Experienced staff
Unique facilities and assembly areas
Proven track record
International delivery
STFC Management Framework
  BSI 9001:2008 Quality Control
Agreed vacuum processing procedures with ESS
Currently evaluating measures to reduce time scales
Notes: Vac processing – UHV cleaning, particle control

## Slide 35: Thank You
ESS TAC, Dr Paul Aden, 14-10-15