## Slide 2: Doing right from the start?
Challenges in implementing efficient maintenance planning at ESS
AMMW 2023
PRESENTED BY Michael Sjöholm, ESS, Design & Engineering Division

## Slide 3: Greenfield project
2014, June
2022, June
We still have the possibility to do right…
Notes: June, 2014

## Slide 4: Greenfield project
Good tools
Good structures
Good data
Great people
Getting rid of papers and excel planning
Visualising planned activities manned with resources in the system
3rd party suppliers seamlessly accessing and working with ESS data
Applying condition based maintenance based on input from the facility
Visualising information for easy user access
Continuously following up on performance using KPIs
Workorder workflow supporting ESS safety culture
We still have the possibility to do right…

## Slide 5: Greenfield project
PLM platform by ENOVIA, from Dassault (”CHESS”)
Asset management by HxGN EAM
Functional breakdown of systems
Product data & construction data delivered from the project
… but every decision we make takes us further from the perfect solution
LIMITATIONS
We still have the possibility to do right…
Notes: June, 2014
Organisation is 10y old, but continously moving to new phases

## Slide 6: Transition phase for facility infrastructure
Between civil construction project and O&M
2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 -
TRANSITION PHASE
Construction project
Facility
Operation & Maintenance
Build an organisation for facility O&M
Plan maintenance based on strategy
Implement the tools and routines
Structure data in tools
Huge amount of data
Architectural & Structural
Process cooling system
HVAC
Electrical and I&C
Transport
Landscape
Peak: 200+ designers, 800 contractors
First buildings ready
Facility Management Division
Re-org  Operation & Infrastructure Directorate
EAM Live
Staff: 15+5+4
RESOURCES

## Slide 7: High ambitions for Building Information
Autodesk Excellence Awards 2019 winner

## Slide 8: Challenges
Obstacles when implementing maintenance planning
   Maintaining the data
  Change of structure (BSAB96 for the civil construction Project)
  Quality issue
Organisation & procedures
Large amount of data
Immature organisation
Implementing the tool introduces roles & checkpoints
When to introduce control in the system, creating treshold for users?
Lack of maintenance strategy
Poor alignment between strategy and decisions
Lack of resources, central vs decentralised
Rules and routines limitating access
Lack of interest from organisation (focus on installation / commissiong
Resources and rules

## Slide 9: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation

## Slide 10: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation
Using JIRA kanban to plan the implementation work
JIRA provides transparency
Still re-active
Difficult to package the work
Need to plan for quality issues

## Slide 11: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation
Creating ownership of the data by having the users prepare it
Difficult to facilitate
Tool administration is only one part of the work - knowledge in documentation is needed
No routines for how to use the system
Technicians busy with operation

## Slide 12: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation
Getting people into the system
Using existing routines and tools (e.g. inspection protocols from the sub-contractor)
Lowering the treshold
Gaining experience from the system

## Slide 13: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation
Stop treating all systems equally – ambition for system implementation based on needs
Criticality
Safety
Complexity
Costs
Strategy
Not clear how to transfer this to system implementation

## Slide 14: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation
Start using the system to see the capability of it
Stop expecting to get everything right from the start
Learning from the experience and adapting implementation
Move forward, avoid getting stuck on technical details
Get buy-in from the organiation
Gain experience
Time-consuming

## Slide 15: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation
Avoiding ”creating a monster”
Limiting the amount of Assets created – possible to add in the future
Taking baby steps
Focusing on Workorders and Schedules
Limit the administration of today

## Slide 16: Approach for implementation
6 guiding principals when we implement facility maintenance
Involving system owners in the implementation
Using ”low hanging fruit” to present good examples
Applying a graded approach to system implementation
Launching pilots to test and show examples
Pro-active planning, prioritising and bulking work
Lowering the treshold – start with light implementation
JIRA provides transparency
Quality issues time consuming
Criticality?
Complexity?
Strategy?
Technicians don’t want to prepare the data
Gets users into the system, increase the acceptance
Avoid technical details
Gain experience
Limiting the amount of assets,
”baby-steps”,
Focus workorders & ”Schedules”

## Slide 17: Success stories to share
Examples that give me energy
  Yearly maintenance through monthly visits by subcontractor (1/10 units maintained per visit)
  EAM manage the planning
  Subcontractor uses handheld units for accessing the workorder and adding data
PMS_220ACC_ Maintenance_
Accelerator Rack Cooling_55D_ Monthly
”Pull effect” from the organisation
Approached by the System Owner asking for support to implement EAM

## Slide 18: Finish presentation