## Slide 1: Ethane measurements at the JULIC Neutron Platform
M. EL BARBARI, JCNS-HBS 17 April 2024

## Slide 2
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 3
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 4
Introduction
Materials | Hydrogen Atom Density (atoms/cm³)
Polyethylene (HDPE) | 8.07 × 10²²
Liquid Hydrogen | 4.18 × 10²²
Liquid Methane | 6.31 × 10²²
Solid Methane | 6.91 × 10²²
Liquid Ethane | 6.56 × 10²²
Solid Ethane | 7.45 × 10²²
Solid ammonia | 8.66 × 10²²

## Slide 5
Introduction
Ethane
Crystalline form  60-70 K
Metastable phase  30-55 K
Amorphous phase  < 30 K
Boiling point: 184.52 K
Melting point: 89.88 K
Materials | Hydrogen Atom Density (atoms/cm³)
Polyethylene (HDPE) | 8.07 × 10²²
Liquid Hydrogen | 4.18 × 10²²
Liquid Methane | 6.31 × 10²²
Solid Methane | 6.91 × 10²²
Liquid Ethane | 6.56 × 10²²
Solid Ethane | 7.45 × 10²²
Solid ammonia | 8.66 × 10²²

## Slide 6
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 7
Experimental setup
Moderator assembly
The cryogenic moderator vessel is contained within a cylindrical vacuum vessel 4.5 cm in length and an outer diameter of 2.2 cm.
The moderator vessel connected to a completely evacuated guideline of 6.5 meters, coated with nickel (58Ni). At the end of the guide, we find an assembly of detectors.
The ethane moderator is placed at the beamline number 2 at BigKarl in the JULIC neutron platform.

## Slide 8
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 9
Results
Ethane’s measurements
Neutron spectrum emitted at 6.5m from the ethane cold neutron moderator in separate-on-time tests with different thermal contributions.
temperatures of 170K, 135K, and 100K representing the liquid state, 70K for the solid state and crystalline phase, 50K for the second phase characterized by a metastable state, and subsequently 25K, 15K, and 10K for the amorphous phase of solid ethane.

## Slide 10
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 11
Correction processing
Thermal contribution / normalization to monitor
The thermal flux contribution to the overall cold neutron spectra is influenced by the ratio of the cylindrical moderator's surface area (Ø 2.2 cm) to that of the rectangular guide (3.0 cm, 5.0 cm).
Sg-Sc/Sg = 0.747

## Slide 12
Correction processing
Thermal contribution / normalization to monitor
The thermal flux contribution to the overall cold neutron spectra is influenced by the ratio of the cylindrical moderator's surface area (Ø 2.2 cm) to that of the rectangular guide (3.0 cm, 5.0 cm).
Sg-Sc/Sg = 0.747
Normalization to the monitor

## Slide 13
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 14
Neutron temperature extraction
Maxwellian distribution fitting
The normalized Maxwell wavelength distribution is characterized by the following function
M(λ,T) = 2 a2 λ-5 exp(-a/ λ2)
‘a’ is a parameter calculated as 950.52/T, determined by the wavelength and temperature of a 25 meV neutron.

## Slide 15
Neutron temperature extraction
Maxwellian distribution fitting
the trend of the neutron temperature shows a decreasing value of temperature proportional to the decreasing of the moderator temperature.

## Slide 16
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 17
Cross section generation
100 K
100 K
135 K
170 K
XS (barn)
E (eV)
Solid ethane 70 K – 50 K – 15 K
70 K
50 K
15 K

## Slide 18
Cross section generation
100 K
100 K
135 K
170 K
XS (barn)
E (eV)
Liquid ethane 100 K – 135 K – 170 K

## Slide 19
Topics
Introduction
Experimental setup
Results
Correction processing
Neutron temperature extraction
Cross section generation
PHITS simulations and outlook

## Slide 20
PHITS simulations and outlook
23 – 24 March 2023
PHITS simulations to compare with the experimental results and also.

## Slide 21
Thank you!

## Slide 22
HBS Team
J. Baggemann
Th. Brückel
J. Chen
T. Claudio-Weber
T. Cronert (†)
Q. Ding
P.-E. Doege
M. El Barbari
T. Gutberlet
J. Li
K. Lieutenant
Z. Ma
D. Maharaj
E. Mauerhofer
N. Ophoven
U. Rücker
N. Schmidt
A. Schwab
E. Vezhlev
J. Voigt
P. Zakalek
- Design, verification,
instrumentation
ZEA-1:
Y. Bessler
R. Hanslik
R. Achten
F. Löchte
M. Strothmann
- Engineering
IKP-4:
O. Felden
R. Gebel
A. Lehrach
M. Rimmler
R. Similon
- Nuclear physics
INM-5:
B. Neumaier
- Radio isotopes
S. Böhm
R. Nabbi
- Nuclear simul.
Ch.Haberstroh
M. Klaus
S. Eisenhut
C. Lange
- Liquid H2, AKR-2
H. Podlech
O. Meusel
- Accelerator
W. Barth
- Accelerator
/ HIM
@hbsneutron
https://hbs.fz-juelich.de/
J. Fenske
- Instrumentation