## Slide 1: McStas instrument simulations, status and potential for ESS
Mads Bertelsen, Peter K. Willendrup, Thomas Kittelmann, Torben Nielsen
PRESENTED BY Mads Bertelsen

## Slide 2: Instrument simulations
  Simulations
    McStas: Monte Carlo Ray-tracing
    NCrystal: Thermal neutron scattering kernels
Modelling group @ DMSC
Peter Willendrup
Mads Bertelsen
Thomas Kittelmann
Torben Nielsen

## Slide 3: Instrument simulations
  Monte Carlo ray-tracing simulation
  Specialized for neutron scattering
  Started 1998 at RISØ
  2 Full time developers at DMSC
McStas overview
Peter Willendrup
Mads Bertelsen

## Slide 4: Instrument simulations
  Large component library
  Beamline components / Samples / …
McStas components

## Slide 5: Instrument simulations
  Accepted and trusted in community
  More than 400 citations of main papers
  Used to design many ESS instruments
McStas community
McStas (i): Introduction, use, and basic principles for ray-tracing simulations,
P. K. Willendrup and K. Lefmann, Journal of Neutron Research (2019)

## Slide 6: Instrument simulations
McStas schools
+ e-learning + Local schools + University courses

## Slide 7: Instrument simulations
Map of usage

## Slide 8: Instrument simulations
  User can assemble sample materials
  Multiple scattering in complex geometry
McStas Union components
Incoherent_process
Powder_process
Incoherent_process
Single_crystal_process
Incoherent_process
Single_crystal_process
Phonon_simple_process
Inelastic sample
Al
Sample

## Slide 9: Instrument simulations
McStas Union components
Using McStas Union components to simulate a magnet sample environment and predicting background with machine learning,
Petroula Karacosta, Master thesis with Kim Lefmann, University of Copenhagen
  User can assemble sample materials
  Multiple scattering in complex geometry

## Slide 10: Instrument simulations
  NCrystal scattering kernel library
    Single crystals, powders, gasses, …
    Stand-alone or as plugin, for example GEANT-4
    Plugs into McStas as:
      Sample component / Union process
NCrystal in McStas
Elastic neutron scattering models for Ncrystal, Thomas Kittelmann and Xiao-Xiao Cai, (2021)
Bragg scattering in Pyrolytic graphite
Thomas Kittelmann
https://github.com/mctools/ncrystal/wiki
https://github.com/mctools/ncrystal-notebooks

## Slide 11: Instrument simulations
  McStasScript, McStas Python API
  Python code structure
  Translate to/from instrument file
McStas in python

## Slide 12: Instrument simulations
  Include Jupyter infrastructure
  GPU support
  Faster and more energy efficient
  Run on:
    Windows / OS X / Linux
    Laptop / GPU / Super-computer
  Conda install
  Easier installation procedure
McStas infrastructure work

## Slide 13: Instrument simulations
  Covers most sample types
  Lack custom S(q, w) for large regions
McStas sample physics

## Slide 14
Current usage

## Slide 15: Instrument simulations
  Can replicate real instruments well
  Powder diffractometers in Israel
Verification
KANDI-II 2.47 Å wavelength
Si
Gr2GaC
KARL Si sample
PG 2.421 Å
Cu 0.98 Å
Verification of the McStas code using two double axis neutron diffractometer,
D. Potashnikov, A. Pesach, O. Rivin, O. Ozeri, Z. Yungrais, M. Bertelsen and E. N. Caspi,
NIMA (2024)
Foil intensity measurements

## Slide 16: Instrument simulations
Measurement
  Can replicate real instruments well
  Refraction effects in multilayer sample
Verification
Simulation
Phase contrast neutron imaging compared to wave propagation- and McStas simulations,
E. B. Naver, M. Bertelsen, M. Østergaard, D. Battaglia, P. K. Willendrup, P. Trtik, S. Schmidt,
H. Birkedal and L. T. Kuhn, Journal of Applied Crystalography (2024)
sample

## Slide 17: Instrument simulations
  Joins beamtimes, simulates what is going on
  Attempts to help with decision making
McStas on beamtime
SENJU @ J-PARC
TimePix 3 detector + battery sample

## Slide 18: Instrument simulations
  Decompose signals
  Sample, Sample holder and Cryostat
Experiment planning
Single-domain stripe order in a high-temperature superconductor,
Simutis, G., Küspert, J., Wang, Q. et al.,
Commun Phys 5, 296 (2022).

## Slide 19
Working together on simulations

## Slide 20: Instrument simulations
  Instrument Data Scientist role
  Makes models of instruments
  Supported by simulation group
Simulations at ESS
Instrument
Instrument
Instrument
Instrument
Instrument
Instrument
IDS
IDS
IDS
Simulation
group

## Slide 21
What can we do together?

## Slide 22: Instrument simulations
Time spent coding
Computing time
Simulation output
  When to use simulations?
  Basic cost / benefit analysis
McStas from future ESS-user perspective

## Slide 23: Instrument simulations
  Instruments models available
  Sample environment models available
  Sample example models available
  Simple method to combine these
How can we decrease costs
Instrument
Instrument
Sample env.
Sample
BIFROST
Proposal 18364
Orange Cryostat
Sample environment
Sample

## Slide 24: Instrument simulations
  Instruments models available
  Sample environment models available
  Sample example models available
  Simple method to combine these
How can we decrease costs
Instrument
Sample environment
Sample

## Slide 25: Instrument simulations
  Grab parameters from data file
  Grab parameters from NICOS
  Perform simulations fast
    In cloud / DMSC servers
    On GPU
How can we decrease costs
Instrument

## Slide 26: Instrument simulations
  Run full workflow with simulated data
  Scipp and Plopp
How can we increase benefits

## Slide 27: Instrument simulations
How can we increase benefits
log(I)
  Not enough to just replicate
  Explain data by decomposing
  Simulated events can have a history
    Filters on history
      Only single scattering in sample
      Only incoherent scattering
      Only neutrons that scattered in detector
Scattering positions from above

## Slide 28: Instrument simulations
How can we increase benefits
  Not enough to just replicate
  Explain data by decomposing
  Simulated events can have a history
    Filters on history
      Only single scattering in sample
      Only incoherent scattering
      Only neutrons that scattered in detector
log(I)
Scattering positions from above

## Slide 29: Instrument simulations
  Search for explanations
  Minimize model – measurement difference
  Provide accuracy of positions / parameters
  Numerical search for most probable:
    Misalignment
    Mirror degradation
    Chopper phase error
    Etc.
How can we increase benefits

## Slide 30: Instrument simulations
  Dream of situation where simulations become a natural part of a beamtime
  Simulations can provide insight into expected data
    Planning experiments
    Decision-making during experiment
    Analysis after experiment
  Needs to be a collaboration between:
    Simulation group Instrument Data Scientists Instrument Scientists Users
Conclusion

## Slide 31: Thanks for your attention

## Slide 33: This is a title for a PowerPoint presentation
Optional subtitle
PRESENTED BY <NAME NAMESON>

## Slide 34: Agenda
1 First subject
2 The second issue
3 Third thing to address
4 The fourth action point
5 The fifth matter
6 Discussion point six
7 Topic number seven

## Slide 35
Chapter slide or
a breaker slide
2

## Slide 36: Presentation headline
This is Text Level 1 Lorem ipsum dolor sit amet, consectetuer adipiscing elit, sed diam nonummy nibh
Lorem ipsum dolor sit amet, consectetuer adipiscing elit, sed diam nonummy nibh eusimod tincidunt ut laoreet dolore magna aliquam erat volutpat.
  Press ”tab” for Level 2
  Duis autem vel eum iriure dolor in hendrerit in vulputate velit esse
Press ”Shift + tab” for Level 1 once again
Sub-headline to strengthen the headline above

## Slide 37: Presentation headline
This is Text Level 1 Lorem ipsum dolor sit amet, consectetuer adipiscing elit, sed diam nonummy nibh
  Press ”tab” for Level 2
  Duis autem vel eum iriure dolor in hendrerit in vulputate velit esse
Press ”Shift + tab” for Level 1 once again
Sub-headline to strengthen the headline above

## Slide 38: Presentation headline
Sub-headline to strengthen the headline above

## Slide 39: Image title

## Slide 40: Example with chart
Sub-headline to strengthen the headline above
Chart: 
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6
Värden | 3 | 5 | 6 | 4 | 3 | 5

## Slide 41: Example with chart
Sub-headline to strengthen the headline above
Chart: 
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5
Value 1 | 0.165 | 0.65 | 0.9 | 0.33 | 0.5
Value 2 | 0.2 | 0.55 | 0.8 | 0.15 | 0.6
Value 3 | 0.25 | 0.6 | 0.6 | 0.25 | 0.7
Value 4 | 0.35 | 0.5 | 0.75 | 0.3 | 0.6

## Slide 42: Example with coloured table
Column A | Column B | Column C | Column D | Column E
Row 1 | Data | Data | Data | Data
Row 2 | Data | Data | Data | Data
Row 3 | Data | Data | Data | Data
Row 4 | Data | Data | Data | Data
Row 5 | Data | Data | Data | Data
Row 6 | Data | Data | Data | Data
Row 7 | Data | Data | Data | Data
Row 8 | Data | Data | Data | Data
Row 9 | Data | Data | Data | Data
Sub-headline to strengthen the headline above