## Slide 1
Source
Monolith
Straight guide
Elliptical guide
Beam geometry being evaluated

## Slide 2: Straight guide m=3.25 omega=0.9, followed by elliptical guide with entrance and exit dimensions 0.2mx0.2m
*Refers to how large a percentage of the total intensity is contributed by neutrons with wavelength 8.85 Å to 8.95 Å
** flux is calculated by taking the intensity at 8.9Å divided by the distance between bins and then by area 0.2m*0.2m
M-value | 2.50 | 3.00 | 3.25 | 4.00 | 
Rotation [deg] | 2.4 | 1.15 | 1.15 |  | 
Percentage 8.85-8.95* [%] | 1.8 | 1.8 | 1.7 |  | 
Percentage 8.8-9.0 [%] | 3.5 | 3.5 | 3.5 |  | 
Flux @ 8.9 Å** [n/s/cm^2/Å] | 2.82e7 | 2.92e7 | 2.88e7 |  | 
Normalised flux @ 8.9 Å [n/s/cm^2/Å/MW] | 5.64e6 | 5.84e6 | 5.76e6 |  | 
Divergence | Slide 5 | Slide 4 | Slide 3 |  | 
DISCLAIMER: OPTIMISATION STILL ON GOING, VERY PRELIMINARY

## Slide 3
Rotation is 1.15 degrees

## Slide 4
Rotation is 1.15 degrees

## Slide 5
Rotation is 2.4 degrees

## Slide 6
Red outline is the area the flux was calculated over
Black outline is the size of one target