## Slide 1: Neutron Lifetime Measurement with Pulsed Cold Beam in Superfluid Helium
Jan 17,2025, ESS, Lund Sweden
W. Yao1, W. Anthony2, S. Baeßler1,2, V. Cianciolo1, T. Ito3, S. Penttila1, J. Ramsey1, A. Saunders1
1. Oak Ridge National Lab. 2.University of Virginia 3.Los Alamos National Lab.

## Slide 2: Neutron Lifetime and “Neutron Lifetime Puzzle”
Two methods to measure free neutron lifetime:
Bottle method: measure the number of remaining neutrons in a bottle after a time window.
Beam method: measure the number of neutron decays in a time window.
10 s discrepancy between these two methods.
Free neutron lifetime is an important parameter for:
Big bang nucleosynthesis and the early universe.
Testing the consistency of the V-A structure of weak interaction in the Standard Model.
….
Nature Vol 598 28 October 2021
Current PDG value for 8 bottle measurements
878.4±0.5 Sec
Most recent bottle experiment UCNtau
(sys) Sec
arxiv.org/abs/2409.05560 9 Sept 2024
NIST Beam measurement:
887.7 ± 1.2 (stat) ± 1.9 (sys) Sec
Most resent Beam Experiment at J-PARC:
(sys) Sec
arxiv.org/abs/2412.19519 27 Dec 2024

## Slide 3: Bottle Measurement vs. Beam Measurement
Unknown number of neutrons with
“fuzes” set at a lifetime .
Bottle Measurement
Beam Measurement
Neutron decay:
Another known neutron events:

## Slide 4
Cold Neutron Beam Decay in Superfluid Helium
A new neutron lifetime experiment with cold neutron beam decay in superfluid helium-4
Wanchun Wei, J. Phys. G: Nucl. Part. Phys. 47 (2020) 125101
Free Fly
Collimated Neutron Beam Decay Measurement
Pre-Measurement

## Slide 5
Extracting Neutron Lifetime
Beta decay:
3He capture:
Precise Neutron Lifetime Measurement Using Pulsed Neutron Beams at J-PARC
N. Sumi, et. al.
arXiv:2102.09758v1 [hep-ex] 19 Feb 2021
is a constant.
For the ratio to be close to 1, the 3He concentration: 4.44x10-11 (equivalent to 9.59x1017/m3)

## Slide 6
Signatures of Energetic Charged Particles in Superfluid Liquid Helium
Beta decay:
3He capture:
16 eV UV photons
16 eV UV photons
~32%
~10%
16 eV photons
  Prompt photons (within ns)
  Time delayed photons (with a time constant of 13 s)
Rotons/Phonons
Infrared radiation

## Slide 7
Scintillation Spectrum:
Scintillation Spectrum
Number of capture events with photons.
: Average number of photons detected in a capture event.
: kinetic energy released by proton and triton in a capture event.
Number of beta decay events with photons.
: Average number of photons detected in a beta decay event.
: kinetic energy released in a beta decay event.
Fierz interference term
Fermi function
Assuming 32% of the energy of recoil electrons goes to produce UV photon.
Assuming 10% of proton/triton energy released in a neutron-3He capture event goes to produce UV photons.

## Slide 8: Neutron Scattering in Superfluid Helium at Low Temperature
, 1 solution for each
, 2 solutions for each (UCN production via super thermal effect.)
, 2 solutions of for each
, no solution. (neutron wave vector >velocity < 239 m/s)
()=
Neutrons with and longer won’t scatter inside superfluid helium.
The Landau dispersion relation for superfluid He.

## Slide 9
UV Photon Detection
For illustration, not a real model!!!
Neutron Window
Neutron Collimator
Photon Detector Array
Dilution Refrigerator (or 3He Pot)
Thermal Link
Stainless Steel Helium Cell
Fiber Feedthrough
Neutron Cluster
Neutron Window
Optical Couplers
Optical Couplers
Optical Fiber Bundle

## Slide 10: Conversion of UV Photon to Green Photon
16 eV UV photon
450 nm photon
Trapped in Fiber
Fiber/SiPM interface
SiPM Detection
Hamamatsu 13360-75
5000
2500
275
11%
53%
Total:2.6%
145
131
# of Photon
Capture Event
Maximum # of Photon
Beta Decay Event
15000
7500
825
437
393
100% (50%)
D.A. Loomis, V. Cianciolo and E. Leggett
Simulations of the nEDM@SNS light collection system efficiency
J. Instrumentation, Vol 17, April 2022
90%

## Slide 11
Neutron 3He Capture Time Constant & 3He Concentration
thermal neutron,
barn (0.13%)
Δ
3He concentration: 4.44x10-6 (beta vs capture: 10-5)
: 8.8 ms (for 17 neutrons, 2-meter travel distance.)

## Slide 12
3He Concentration
Natural helium: 10-6-10-7
Start with isotopic pure helium (McClintock purification, 10-14)
Absolute number of 3He: 1016 to 1021 atoms.
Residual 3He measurement:
Hendry, P. & McClintock, P., Continuous flow apparatus for preparing isotopically pure 4He. Cryogenics, 27(March ), p. 131, 1987.
: 3He concentration, heating flux W/m2, : m, : K
=1mw/mm2, / ~10-30 within in several mm.
Heat flush purification

## Slide 13
Background Scintillation in Superfluid Helium Cell
Neutron related scintillations:
a, e: prompt γ-ray when neutrons passing the window(s) Compton scattering
c: neutrons induced scintillation from decay and 3He capture
Not neutron related scintillations:
Radioactive backgrounds
Cosmic rays

## Slide 14
Using SNS nEDM Cryostat
-- Cryostat and other Components from SNS nEDM
3He Gas Handling for Dilution Refrigerator
Large Pump Stack for 4He and 3He
SiPM Light Collection Module
Cold Neutron Guide
Cryostat
Neutron Shutter
Existing Equipment
Equipment to be built

## Slide 15
Using nEDM Cryostat
-- HSHV Cryostat
Dilution Refrigerator
Experimental Cell
Neutron Beam
4K Shield

## Slide 16
Cold Neutron Beam at SNS FnPB-BL13B
Flux at 10x12 cm2 beam port: 2x106 /MW cm2 s Å (4.8x108/s Å)
2MW, 60 Hz.
17Å neutron (232 m/s)
Shutter open: synchronized with 60 hz proton pulse
4% of the beam flux.
Accumulate 106 beta decay events in 2 days (just for estimation purpose).
Down stream of Nab, the beam becomes 7x6 cm2. Nab, PNab, ….
N. Fomin et al. NIM A 773 (2015) 45–51
For a 17Å neutron, the probability of decay when travels 1 m: 4.9x10-6

## Slide 17
Cold Neutron Beam ANNI (ESS), PF1B (ILL), ….
ANNI:
Beam Port: 11 x 7 cm2
At 17 Å : 1 x 108/ cm2 s Å
PF1B:
Beam Port: 20 x 6 cm2
At 17 Å : 6 x 107/ cm2 s Å

## Slide 18: Summary
This work was funded by the US Department of Energy (DOE) Office of Nuclear Physics under contract DE-AC05-00OR22725 with UT-Battelle, LLC
Superfluid Helium as a Medium for Probing Neutron Beta Decay
Superfluid helium won’t scatter cold neutrons with . This will substantially reduce the background.
Superfluid helium is extremely pure, with no radioactive contamination.
Helium is transparent to 16 eV UV photons.
Thousands of UV photons produced during an event result in hundreds of visible photons that are detectable by photon sensors.
Scintillation spectra can be constructed based on the number of visible photons detected.
The cryogenic technology for this experiment is well-established.

## Slide 19: Photon Detection
 | Wavelength | QE (%, max) | DCR (cps) | Jitter |  | Max Count Rate (cps)
Conventional Single-Photon Detectors |  |  |  |  |  | 
PMT (visible) | 400-900 nm | 40 | 100 | 300 ps | 300 ps | 10x106
PMT (IR) | 1000-1600 nm | 2 | 200K | 300 ps | 300 ps | 10x106
Silicon (thick) | 400-1050 nm | 65 | 25 | 400 ps | 400 ps | 10x106
Silicon (thin) | 400-1000 nm | 49 | 25 | 35 ps | 35 ps | 10x106
InGaAs APD | 950-1600 nm | 20 | 75K | 350 ps | 350 ps | 10x103
Superconductors |  |  |  |  |  | 
W-TES (NIST) | UV-2 mm | >98% | <<10-5 | 10-100 ns | 10-100 ns | 100x103
SNSPD: NbN | UV-5 mm | >90% | 100-1000 | ~3ps | ~3ps | 100x106
SNSPD: WSi | UV-5 mm | ~98% | <<10-5 | ~5ps | ~5ps | 100x106
MKID | UV-2 mm | ~30% | low | ~1ms | ~1ms | 100x103
“New” Superconducting Detectors for HEP, Sae Woo Nam (NIST)
Instead of utilizing nEDM’s SiPM system, which operates at room temperature, SNSPD offers an intrinsic low-temperature photon detection solution. These technologies have advanced rapidly in recent years, driven by the progress in quantum computing.

## Slide 20: Distinguish β Decay Event and 3He Capture Event
In axial direction, using a training data set simulated capture events,
1000 event, RMSE: 0.45 cm
5000 event, RMSE: 0.126 cm
Using a training data set
5000 capture events
3500 beta decay events
In radial direction, using a training data set simulated capture events,
5000 event, RMSE: 0.34 cm
Confusion matrix for best event classification model