## Slide 1: SAR4 ICS Software
Status of systems and verification

## Slide 2: Introduction - Control system software scope
Control system software
The control system software scope is applicable to many functions of the integrated control system at ESS and thus does not have a well-defined physical location.
The ICS software portfolio consists of about 25 functions/deliverables critical for the function, reliability and efficiency of the facility.
In total the scope contains ~958 kLoC with ~798 kELoC

## Slide 3: Type of Software Work Activity
Definitions
  Development
    A new requirement is needed for operation, currently not in scope of the current tools.
    Funding has been acquired and allocated and resources assigned to implement it
  Maintenance
    A functionality is in operation. No increase in functionality is forseen
    The service must be kept up to date in line with the eco-system and tool chain
  Support
    A functioning system requires changes or addition functionality as needed by operations. Includes debugging
      The scope of the changes and timeline for implementation is matched to available resources
      Prioritisation is managed
  Legacy
    Products that are in use but we will replace or deprecate

## Slide 4: ICS SW Project, High Level
High Level Overview of Effort in 3 Sub-Topics
Configuration and Management Tools
User Interface Applications and Services
Operations Data Services
2027-12-31
End of Construction
Beginning of Operation
Legacy
Support
Maintenance
Support
Maintenance
Support (Physics and Control Room)
Maintenance
Now, 2024
Management / Project (Overhead)

## Slide 5: Operations Software Services
Listed by category
  User Interface Applications and Services
    CS-Studio - Phoebus
      OPI Panel builder, Alarm Service, Save and Restore, Super Cycle, Logbook
    Public Operations Screens, ESSNotify, Sequencer, Fault Tracker
  Operational Data Services
    Archiver, Synchronous Data Service
  Configuration and management tools
    ESS EPICS Environment
    CE-deployment, Channel finder, naming
    Plcfactory, cable

## Slide 6: CSStudio – Continuous Delivery
Current Setup of Workflow
Issues
Backlog
Planning
ToDo
InProgress
Review
Done
DeployToTest
DeployToOps
Validation
Community Review
Product Release
Perceived Progress
Abs(unscaled Time)
Control Room Operators
ICS Software developers
IT DevOps Team
Key:
CS-Studio core developers (external to ESS)
Community Feedback

## Slide 7: CS-Studio, Deployment to MCR
Final steps of workflow to establish a production version in MCR
  Currently used (production) phoebus release decided by operators
  Operators trigger a switch from test to production after verification of changes
  ICS Software team deploy regularly to the MCR test release through work orders
    Details of each test release documented in confluence and tracked in ICS SW CS-Studio Jira board
  Once a new production is established in MCR, a full site roll-out can be applied

## Slide 8: Conclusion
CS-Studio and other services are working and in production
Operational Sequencer is deployed as initial minimal working product
Fault Tracker is a new tool available in test mode
Documentations about the systems available on confluence
  Training courses are available on ESS EPICS and soon, using CS-Studio
Key challenges:
Managing ongoing requests for changes and updates
Balancing community collaboration with ESS needs

## Slide 10: Lines of Code (LOC)
Illustrating the Scale of complexity in modern programming
Individual ability to manage lines of code 10-100k
ICS SW group ~1M
Software Frameworks:
  React – 100k
  Sprintboot 1.2M
  Django 500k
  Small web app 500k
  Mobile app 1M
  Large web app up to 10M
  Enterprise Software up to 50M
  Operating System or Gaming system up to 100M