## Slide 1: M-value considerations

## Slide 2: FOM in the cells @ 5MW
 | n/s 8.8-9.0AA | n/s total | n/s/cm2/AA@8.9A | n/s/cm2 total
A.10 | 7.7E08 | 2.3E09 | 2.55E07 | 1.5E07
A.5 | 7.3E08 | 2.2E09 | 2.45E07 | 1.5E07
B.10 | 7.3E08 | 1.4E09 | 2.45E07 | 9.3E06
B.5 | 7.0E08 | 1.3E09 | 2.35E07 | 8.7E06
C | 8.3E08 | -- | 2.75E07 | --
D | 8.73E08 | 2.65E9 | 2.91E07 | 1.79E07
E | 8.28E08 | 1.6E09 | 2.82E07 | 1.07E07
F | 9.72E08 | -- | 3.24E07 | --
G | 1.26E09 | -- | 4.20E07 | --
H | 1.08E09 | 3.28E09 | 3.60E07 | 2.19E07
I | 1.03E09 | 1.96E09 | 3.60E07 | 1.31E07
K | 9.99E08 | 1.89E09 | 3.52E07 | 1.26E07
A: C-polarizer, m=3 guides, ANNI original chopper settings, PDC1@6.5m and PDC2@26m Results for 10 and 5 slits in bender 1.
B: C-polarizer, m=3 guides, ANNI original chopper settings, PDC1@6.5m and PDC2@42.5m Results for 10 and 5 slits in bender 1.
C: C-polarizer, no choppers, wavelength restricted to 8.8-9.0AA, open choppers
D: Curved with V-shaped polarizer, PDC1@6.5m and PDC2@26m
E: Curved with V-shaped polarizer, PDC1@6.5m and PDC2@42.5m
F: Curved with V-shaped polarizer, wavelength restricted to 8.8-9.0AA, open choppers
G: Theoretical max, straight guide (slits preserved), V-polarizer, wavelength restricted to 8.8-9.0AA, open choppers
H Curved with V-shaped polarizer, 2 benders, PDC1@6.5m and PDC2@26m
I Curved with V-shaped polarizer, 2 benders, PDC1@6.5m and PDC2@42.5m
K Vertical V polarizer, m=5.5 2 benders, PDC1@6.5m and PDC2@42.5m
In the options A-F, H, I line of sight is lost at 11.5 meters (just before the bunker wall)
Chart: Wavelenght, AA
| 7.9749999999999996 | 8.0250000000000004 | 8.0749999999999993 | 8.125 | 8.1750000000000007 | 8.2249999999999996 | 8.2750000000000004 | 8.3249999999999993 | 8.375 | 8.4250000000000007 | 8.4749999999999996 | 8.5250000000000004 | 8.5749999999999993 | 8.625 | 8.6750000000000007 | 8.7249999999999996 | 8.7750000000000004 | 8.8249999999999993 | 8.875 | 8.9250000000000007 | 8.9749999999999996 | 9.0250000000000004 | 9.0749999999999993 | 9.125 | 9.1750000000000007 | 9.2249999999999996 | 9.2750000000000004 | 9.3249999999999993 | 9.375 | 9.4250000000000007 | 9.4749999999999996 | 9.5250000000000004 | 9.5749999999999993 | 9.625 | 9.6750000000000007 | 9.7249999999999996 | 9.7750000000000004 | 9.8249999999999993 | 9.875 | 9.9250000000000007
A | 0 | 0 | 202.2808 | 3943.404 | 27703.0481 | 117212.5474 | 368622.428 | 1001677.812 | 2507254.9427 | 5182714.144 | 8516952.0667 | 11922209.116 | 14907310.5867 | 17760277.0267 | 20618638.52 | 22991753.7867 | 24867602.7733 | 25597283.6933 | 25227993.5733 | 23729560.4933 | 21284252.7867 | 18168345.8 | 14976864.2933 | 11930293.6067 | 9058355.56 | 6316063.42 | 3724823.336 | 1690370.3267 | 392913.0364 | 17719.9907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6753 | 15545.5781 | 320225.0492 | 2029456.732 | 6454071.6413 | 11460831.384 | 16345396.28 | 20905936.0267 | 24236527.76 | 25150281.88 | 23331977.52 | 18550069.36 | 13546463.5733 | 8681104.764 | 4359365.176 | 1033635.4907 | 25934.9088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | 0 | 0 | 245.2929 | 4890.6768 | 34503.7979 | 147304.1404 | 469880.6775 | 1252615.9728 | 3116521.8893 | 6551445.224 | 10790330.9693 | 14542003.6667 | 18480503.2267 | 22097358.6133 | 25295110.7067 | 28297656.8 | 30362728.0267 | 31526320.0533 | 30685616.2667 | 29070573.6 | 25826379.2667 | 22155673.3867 | 18149677.4 | 14560900.6667 | 10911933.6227 | 7592102.9013 | 4526527.212 | 2029508.2427 | 472622.9524 | 23076.1346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.3308 | 18852.3245 | 395178.6524 | 2516873.9827 | 7832119.5413 | 14103309.0267 | 19925573.96 | 25440185.1467 | 29770157.6667 | 30656312.6533 | 28298221.76 | 22577171.5067 | 16405803.0133 | 10604639.1507 | 5238084.0933 | 1268596.2277 | 30414.9404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.9AA | 0 | 40000000 | 0
I | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3107.0455 | 191305.7339 | 1675472.588 | 7133283.6627 | 14504256.04 | 22105295.2267 | 28719739.2267 | 34642078.3867 | 37320472.92 | 35510584.4933 | 29942671.5467 | 22752956.6667 | 15032474.7733 | 8484302.4387 | 2842001.6387 | 212869.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 0 | 0 | 43.4438 | 2083.2644 | 22826.6056 | 114922.3874 | 410204.5575 | 1173867.0959 | 3049653.728 | 6683856.6267 | 11642335.1453 | 16533657.6267 | 21331754.5733 | 26035293.68 | 29723491.08 | 33635778.52 | 36934544.6933 | 38239697.16 | 37362233.4533 | 36108798.2933 | 32368754.2 | 28357214.44 | 23096758.9333 | 18776305.0667 | 14490098.4667 | 10126296.5693 | 6447931.8 | 3175611.4987 | 1014499.4757 | 83317.8902 | 9.0525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
K | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5316.1051 | 170698.8515 | 1649295.8 | 6665721.6107 | 14266493.8933 | 21376349.0533 | 28057928.4133 | 33478657.7733 | 35816598.88 | 34623956.64 | 29264451.28 | 21647422.3467 | 14449537.2133 | 7938392.4987 | 2803814.684 | 193081.6304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 3: Momentum transfer at reflection, 9AA
Use of logging capabilities of neutron states in McStas v2.7
Momentum transfer at reflection is logged in units of Qc for Ni
Sufficient with m=2 everywhere except for the focusing part of the splitter where m=3 is beneficial (the difference is however a few per cent).
R
L
T
B

## Slide 4: Beam profiles -- McStas
Two sets of wavelength monitors for the left and right parts of the splitter + PSD monitors at cells entrance and exit
2% difference in neutron fluxes in left and right cell
1.6E08 n/s escape cells through the cell walls (if scattering off liquid He is neglected)
 | Left cell | Right cell
Total neutrons/s | 9.6E08 | 9.3E08
8.8-9AA neutrons/s | 5.0E08 | 4.9E08

## Slide 5: Beam profiles, empty cells
McStas->mcpl -> PHITS dump file.
A “blackhole” absorber is set at the cell entrance.

## Slide 6: Beam profiles, empty cells

## Slide 7: Beam profile, filled cells
PHITS run with cells filled with He with lHe density of 0.125 g/l (but using available cross sections for 300K)
  Only about 20% of neutrons are reaching the downstream bottom of the cells
Liquid He X-section is around 0.1 bn for 9AA (1meV) Y. Abe, N. Morishima NIMA (2001)
  Results in approx. 526 cm mean free path and 7.5% attenuation due to scattering on 40 cm.

## Slide 8: Momentum transfer at reflection 2-10AA
Reflected weight is weighted by wavelength to represent figures relevant for capture flux transfer.
R
L
T
B

## Slide 9: Polarization issues
Simulation with FOC1 and FOC2 on, splitter is not considered
M-values fixed to m=3 everywhere except for the outer surfaces on the curved parts where it is fixed to 3.5
NPD gamma FOM and polarization next to Vpolarizer, ~4.5m and ~9m away.