## Slide 1: Design and operation of a 1-D para-H2 cold neutron moderator at the JULIC Neutron Platform
U. Rücker, JCNS-HBS ICANS XXV Malmö 13.04.2026

## Slide 2
JULIC Neutron Platform
HBS Target station prototype
Shielding
Ta target
Cold moderators
Intensity * 10-5
8 beamports for ToF instruments
Operation Dec. 2022 – Dec. 2023

## Slide 3
JULIC Neutron Platform
Inside: 1 m² playground for physicists and engineers
Target chamber
Primary beam
measurement
Moderators
Beam extraction

## Slide 4
Moderators
Thermal moderator PE
Reflector 5 cm Pb
2 cold sources
low-temperature He cooled < 10 K e.g. solid CH4
para-H2 closed loop
PE
p-H2
low-temp
Pb

## Slide 5
JULIC Neutron Platform today

## Slide 6
para-H2
Triplet state J=1
M = -1, 0, 1
Singlet state J=0
M = 0
Ground state
J: Nuclear molecular spin
ΔE = 15.1 meV ≙ 175 K
Forbidden transition ortho ↔ para
Lowest energy inelastic neutron interaction: Spin-flip in ortho-H2
from Wikipedia: Spin isomers of hydrogen
from Wikipedia: Ortho- und Parawasserstoff

## Slide 7
para-H2 as cold moderator material
0.023
0.074
0.23
0.74
2.3
7.4
23
74
230
Mean free path [cm]

## Slide 8
1-dimensional moderator
12 cm long
3.6 cm Ø
Feeding with thermal neutrons
across the entire surface shell
 no extinction effects
Extraction along the axis
entire volume contributes
Liquid para-H2 flow
Aim: build a simple and safe device

## Slide 9
Closed-loop para-H2 moderator cryostat
Sealed-in hydrogen volume
(800 bar l at room temperature)
Continuous operation
Liquid hydrogen is moderator
and cooling medium
Infrastructure: 3-ph AC 16 A power cooling water
(computer network)
Idea: 2020
Realization: 2022-23

## Slide 10
Main components
Reservoir (at room temperature)
Main cryostat:
Closed-cycle cryocooler
Circulation pump
Catalyst
Outside the shielding block
Extension:
Moderator vessel
Embedded in the extraction plug

## Slide 11
Schematic

## Slide 12
Main cryostat

## Slide 13
Main cryostat

## Slide 14
Main cryostat

## Slide 15
Main cryostat
Sumitomo SRDK-500B cryocooler
BarberNichols liquid hydrogen pump

## Slide 16
Main cryostat

## Slide 17
Moderator plug

## Slide 18
Moderator plug

## Slide 19
Moderator plug

## Slide 20
Moderator plug

## Slide 21
Moderator plug

## Slide 22
Gas management panel

## Slide 23
Gas management panel
50 l buffer cylinder
Safety valves
Manually operated

## Slide 24
Gas management panel
50 l buffer cylinder
Safety valves
Manually operated

## Slide 25
Complete system installed at the JULIC neutron platform

## Slide 26
It works: Neutrons for HERMES
Continuous operation @ 11 bar, 26 K
for 10 days
Peak shifted 1.8 Å  3.0 Å
Intensity x 2.2 (not optimal)

## Slide 27
Easy operation: Cooldown within 6 hours
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
1000
100
10
1

## Slide 28
Start of cryocooler @ 10:30h
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
1000
100
10
1

## Slide 29
Start of circulation @ 80 K after 1:30 h
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
1000
100
10
1

## Slide 30
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
Density increasing  Flow increasing, cooling of the moderator part after 2:45 h
1000
100
10
1

## Slide 31
Condensation after 3:10 h
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
1000
100
10
1

## Slide 32
Filling of moderator volume after 3:45 h
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
1000
100
10
1

## Slide 33
Moderator full of liquid after 4:10 h
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
1000
100
10
1

## Slide 34
Chart: Cooldown diagram (over 6 hours)
T Coldhead [K]
T Mod In [K]
T Mod Out [K]
Pump speed [rpm]
Gas pressure [bar]
Mass flow
Temperature stable after 5:15 h:
18.8 K moderator temp. 3.5 bar H2 pressure
1000
100
10
1

## Slide 35
Team:
Design (Main cryostat): S. Eisenhut, TU Dresden
Design (Moderator plug): A. Schwab, J. Baggemann, JCNS-HBS
Main components borrowed: Y. Beßler, ZEA-1
Manufacturing, assembly: JCNS workshop, esp. S. Pistel, N. Bernard
Project management: F. Suxdorf, JCNS instrument technology
Commissioning: M. Hannot, R. Rings, E. Rosenthal, ZEA-1
Neutron measurements: M.-A. Paulin, LLB Saclay

## Slide 36
HBS Team
J. Baggemann
Th. Brückel
J. Chen
T. Claudio-Weber
T. Cronert (†)
Q. Ding
P.-E. Doege
M. El Barbari
T. Gutberlet
H. Kleines
J. Li
K. Lieutenant
Z. Ma
E. Mauerhofer
N. Ophoven
I. Pechenitzkiy
U. Rücker
S.A. Sambamurthy
N. Schmidt
A. Schwab
D. Shabani
E. Vezhlev
J. Voigt
P. Zakalek
- Design, verification,
instrumentation
ZEA-1:
Y. Bessler
R. Hanslik
R. Achten
M. Hannot
F. Löchte
E. Rosenthal
R. Rings
- Engineering
IKP-4:
O. Felden
R. Gebel
A. Lehrach
M. Rimmler
- Nuclear physics
INM-5:
B. Neumaier
- Radio isotopes
S. Böhm
R. Nabbi
- Nuclear simul.
Ch.Haberstroh
M. Klaus
S. Eisenhut
C. Lange
- Liquid H2, AKR-2
H. Podlech
O. Meusel
- Accelerator
W. Barth
- Accelerator
/ HIM
@hbsneutron
https://hbs.fz-juelich.de/
J. Fenske
- Instrumentation
Notes: <number>