## Slide 1: The Focussing Reflectometer ESTIA at the ESS
PRESENTED BY Jos Cooper

## Slide 2: Selene Concept

## Slide 3: The ESTIA Instrument
At ESS

## Slide 4: ESTIA as a reflectometer

## Slide 5: ESTIA Instrument
Reflectometers explore Q using either ToF at a fixed angle, or multiple angles at a fixed wavelength
ESTIA uses a Selene guide with an extremely divergent beam, as well as ToF, to look at both simultaneously
θ
λ
θ
λ
https://doi.org/10.1016/j.nima.2016.03.007

## Slide 6: Science Case

## Slide 7: Reflectometry at ESS
FREIA
ESTIA’s sister instrument – FREIA (‘conventional’ reflectometer)
Horizontal sample - free liquid surfaces
Wavelength Frame Multiplication option – variable wavelength resolution
Very large guide, using slit position to define angle
Online 2027

## Slide 8: Science Case
Small samples
    Magnetism, inhomogeneous films, devices,…
In operando measurements
    High flux
High throughput measurements of e.g. biological samples
    Low instruments background
A reflectometer generally wants most of these features but having Selene guides and polarisation built into its heart allows ESTIA to focus its abilities

## Slide 9: Small Samples

## Slide 10: Small Samples
The only required collimation on ESTIA is done at the “virtual source” – the point where we decide what neutrons to bring to the sample point (almost 30m from detector)
Defines the projected beam size!

## Slide 11: Virtual Source
The virtual source:
Low angle
VS. . . . . . Sample
Horizontal
Vertical
VS. . . . . . Sample

## Slide 12: Virtual Source
The virtual source:
VS. . . . . . Sample
Horizontal
Vertical
VS. . . . . . Sample
High angle

## Slide 13: Footprint and Divergence
Virtual Source defines footprint of beam onto sample
Divergence is 1.5 degrees irrespective of footprint
‘Conventional’ slit set near sample point can limit divergence independent of footprint
Divergence range 1.5o  0.005o
  We can tune flux/divergence on a ToF source in seconds

## Slide 14: Footprint and Divergence

## Slide 15: Footprint and Divergence

## Slide 16: Shielding Concept

## Slide 17: Shielding Concept
We know where the beam should be at all points on the beamline, so aggressively shield around it
Elliptical paths naturally eliminate line of sight three times
Lighter shielding everywhere to reduce secondary scattered beam
Predominantly use copper, borated aluminium, B4C and borofloat glass
Cave is slightly borated for good measure
You ‘could’ stand in the cave
with the beam on

## Slide 18: Shielding Concept

## Slide 19: Polarisation

## Slide 20: ESTIA
Polarisation
https://commons.wikimedia.org/w/index.php?curid=81406863

## Slide 21: ESTIA
Two transmission polarisers in series
    Improved polarisation
Part logarithmic spiral and part linear
    Linear covers rays created by coma which are almost parallel
    Pointing backwards to make device shorter
    Both sides coated with m=5 Fe/Si
  Device is almost 1m long
Polarisation

## Slide 22: ESTIA
Polarisation
    Homogeneous polarisation across whole wavelength range
Small samples
    Beam size on sample down to ~1x1mm2
    Maximum size ~10x10mm2
High flux
    ESS will provide huge number of neutrons
    Divergent beam gives 10x flux
Low backgrounds
    Only neutrons which will hit the sample get any where near the cave
Requirements

## Slide 23: Selene Guide Realised

## Slide 24: ESTIA
  Single elliptical section not possible so split up into 15 pieces ~0.45m long
  Each piece has to be individually positioned to ~1um acuracy
  How to hold in place?
  How to position?
  How to check?
Selene Guides

## Slide 25: ESTIA
Selene Guide Mirror Holders
Back side hex-key adjuster
Vertical segment Mount
Mirror vertical
Mirror horizontal
Horizontal segment mount
Drop guard /coil Spring

## Slide 26: ESTIA
Selene Guide Robot
X
Z
Y
Gear wheel drive
Hex-Key Screwer
Emergency wire
Patch Panel
End Switches
Linear encoder
Vertical Stage with linear encoder (from Newmark)
Hard Stop

## Slide 27: ESTIA
Selene Guide Interferometer
Reference plane
Collimator
Reflector
Reference plane
Metrology Rack
https://commons.wikimedia.org/w/index.php?curid=1728260

## Slide 28: Detector

## Slide 29: Detector
Multi-Blade
48 blades
Active area of 480 x 260 mm2
Set in a 4 m radius circle
Ar/CO2 detector gas at a trickle over room pressure
Electronics convert signal to light within detector housing
Borated Al shielded with option for more
Expected max count rate ~10MHz
sample
neutrons
wires X
strips Y
The Multi-Blade Boron-10-based neutron detector for high intensity neutron reflectometry at ESS
Citation F. Piscitelli et al 2017 JINST 12 P03013
DOI 10.1088/1748-0221/12/03/P03013
Multi-Blade detector with VMM3a-ASIC-based readout: installation and commissioning at the reflectometer Amor at PSI
Citation F. Piscitelli et al 2024 JINST 19 P05010
DOI 10.1088/1748-0221/19/05/P05010

## Slide 30: Detector
Multi-Blade

## Slide 31: Conclusions

## Slide 32: ESTIA
Getting ready for you!
At least 15 different work packages to be individually and jointly tested before we get neutrons
    Most systems are in vacuum, have motion and need to be aligned to almost every other component of the beamline
    Working with light until we have neutrons
Currently developing instrument control, data reduction and data analysis software
    NICOS, scipp, and EasyReflectometry

## Slide 33: ESTIA Current Core Team
Nicolae Jos André Felipe Peter Grace Nicoló Artur