## Slide 1
1
Radiation Safety

## Slide 2: H1/H2 Scenarios
Design Basis for Radiation Safety
Summary
From simulation:
Maximum neutron current at bunker wall exit : 5.24x1010 n/s
Maximum neutron current at sample position : 1.0x1010 n/s
15 H1 events identified – 11 taken forward for analysis
7 H2 events identified – 3 taken forward for analysis
# | Cause
H1-1 | Instrument shutter is closed
H1-3 | Chopper 2 is closed
H1-4 | Collimator jaws closed in beam
H1-7 | Gd in beam at sample position
H1-8 | Water in beam at sample position
H1-9 | Fast shutter closed
H1-10 | Steel equipment in beam at sample position
H1-11 | Roof plug removed
H1-12 | Cd in beam at sample position
H1-13 | Cd in scattered beam within detector tank
H1-15 | Boron in beam within detector tank
H2-1 | Full beam on back wall of detector vessel
H2-2 | Strongly isotropic scattering sample left in beam
H2-5 | Misaligned/damaged snout

## Slide 3: Radiation Safety Report
Shielding Analysis
Reference : ESS-0019931, “ESS Procedure for designing shielding for safety”

## Slide 4: Radiation Safety Report
Shielding Analysis

## Slide 5
LoKI Shielding documentation overview
2

## Slide 6: Documentation overview
LoKI Instrument
LoKI Shielding Verification report ESS-5806458
SAT based on Installation documentation
System design description
Design documentation approved in TG3
ESS-4789085 LoKI Radiation safety report
ESS-5248311 LoKI Activation Analysis Report

## Slide 7
Bunker to cave
=ESS.NSS.H01.LOKI.A01.F01
3

## Slide 8: LoKI Bunker to cave shielding
LoKI Instrument
ESS-5723871 LoKI Shielding Bunker to Cave SAT
ESS-5765648 LoKI Shielding Bunker to cave location checklist
ESS-1108661 Sub System design Description for Shielding bunker to cave

## Slide 9: LoKI Bunker to cave shielding
LoKI Instrument
ESS-5723871 LoKI Shielding Bunker to Cave SAT

## Slide 10: Bunker to cave Installation
LoKI Instrument

## Slide 11
Shielding on cave
=ESS.NSS.H01.LOKI.U01.F01
4

## Slide 12: LoKI Shielding on cave
LoKI Instrument
ESS-5768841 LoKI Cave Site Acceptance Test
ESS-5768861 LoKI Cave Installation location Checklist
ESS-1108664 Sub-System design description for End Station

## Slide 13: LoKI Bunker to cave shielding
LoKI Instrument
ESS-5723871 LoKI Shielding Bunker to Cave SAT
ESS-5765648 LoKI Shielding Bunker to cave location checklist
Verification of Gaps between blocks and against main interfaces
Ensure gaps between blocks are less than 10 mm.

## Slide 14: Cave Shielding installation
LoKI Instrument

## Slide 15
5
Radiation Safety Assessment

## Slide 16: Radiation Safety Assessment
Implementation of Safety Functions
LoKI is within the radiation safety envelope of a generic instrument as defined in SSM submissions
All relevant RSFs and WRSFs are satisfied.